BID FOR THE REFURBISHMENT OF RIPPLEMEAD PACKHOUSE (PHASE 1)

###### LOCATION: PEDDIE, EASTERN CAPE

TENDER NO: GDC 001/2025

| CGA-Grower Development Company Grain Building, Agri-hub Office Park, Block B First Floor 477 Witherite Road, The Willows, Pretoria Postnet Suite 426 Private Bag X01, Die Wilgers 0041 Contact (for SCM Enquiries): Name: Ms Yolanda Ntlakaza and Ms Camille Khoza Telephone: 012 003 4209/0822264092 | Directorate: Engineering Services DEPARTMENT OF AGRICULTURE Amathole District Private Bag X 9032 East London, 5200 Contact (for Technical Enquiries): Name: Mr. T. Musara Telephone: 043 706 8709/ 079 495 3934 |
| --- | --- |
| Tenderer …………………………………………………………………………………………. ……………………………………………………………………………………………………… |  |
| CSD Number: . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .. . |  |
| LOGIS Number: . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .. . |  |
| Preference Points Claimed: . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .. . |  |
| Closing date on tender: 18 November 2025 at 16:00 |  |
| Total of the prices inclusive of applicable taxes: R . . . . . . . . . . . . . . . . . . . . . . . . |  |

The Tender

DEPARTMENT OF AGRICULTURE

BID FOR THE REFURBISHMENT OF RIPPLEMEAD PACKHOUSE (PHASE 1)

| Contents |  |
| --- | --- |
| Number | Heading |
| The Tender |  |
| Part T1: Tendering procedures |  |
| T1.1 | Tender Notice and Invitation to Tender |
| T1.2 | Tender Data |
| T1.3 | Standard Conditions of Tender |
| Part T2: Returnable documents |  |
| T2.1 T2.1 | List of Returnable Documents Returnable Schedules |
| The Contract |  |
| Part C1: Agreement and Contract Data |  |
| C1.1 | Form of Offer and Acceptance |
| C1.2 | Contract Data |
| C1.3 | Form of Guarantee |
| Part C2: Pricing data |  |
| C2.1 | Pricing Instructions |
| C2.2 | Activity Schedule or Bills of Quantities |
| Part C3: Scope of Work |  |
| C3.1 | Scope of Work |
| C3.2 | Specifications |
| Part C4: Site information |  |
| C4.1 C4.2 | Site Information Drawings |

PART T1: TENDERING PROCEDURES

DEPARTMENT OF AGRICULTURE

## BID FOR THE REFURBISHMENT OF RIPPLEMEAD PACKHOUSE (PHASE 1)

## T1.1 Tender Notice and Invitation to Tender

| 1. | The DEPARTMENT OF AGRICULTURE, invites tenders for BID FOR THE REFURBISHMENT OF RIPPLEMEAD PACKHOUSE (PHASE 1). The construction works shall include the following: - Cladding Around Machine Area - Demolish and rebuilding of platform for the installation of the machine - Crate/Machine Upgrade. - Removal of a steel column and bracing of the roof. Time of completion for this contract is 16 WEEKS |
| --- | --- |
| 2. | All tenderers must submit proof of valid registration with the CIDB in a CE class of construction works: It is estimated that tenderers must have a CIDB designation of level 4 CE or higher. Bidders exceeding their threshold of CIDB grading by more than 15% in combination with any other contract awarded to the contractor, which will be executed simultaneously, could be regarded as non-responsive. |
| 3. | Tender documents will be available during working hours after 08:00 as of 13/10/2025 until the day before the tenders close, and can be downloaded free of charge from the CGA-GDC website www.cga-gdc.org.za |
| 4. | A compulsory site inspection and clarification meeting will be held on 11 November 2025 at 11:00 at Ripplemead Citrus Packhouse, Peddie. After the Clarification meeting the prospective tenderers will be taken to the site to familiarize themselves with the conditions of the roads and site. No documents will be sold at the site inspection meeting. No late attendance will be entertained. |
| 5. | The completed tender document and any supporting documentation shall be placed in a single sealed envelope clearly marked “BID FOR THE REFURBISHMENT OF RIPPLEMEAD PACKHOUSE (PHASE 1)” and deposited in the tender box at: 477 Witherite Road, Agri-Hub office park – Block B , The Willows Pretoria or send by courier to the same address not later than 16:00 on 18 November 2025 when the tender box will close. Tenderers should ensure that tender documents are delivered timeously to the correct address. If the tender is late, it will not be accepted for consideration. |
| 6. | Tenders will be opened in public immediately after closing time where the name of the tenderer, the financial offer, preference points claimed and proposed period for completion will be read out loud. |
| 7. | All submitted certificates must be valid for 90 days after the Tender Closing Date. |
| 8. | In terms of Preferential Procurement Regulation of 2022, the 80/20 preference point system is applicable. |
| 9. | The Department is targeting specific goals in accordance to the Supply Chain Management Policy 2023 with reference to the Preferential Procurement Regulations 2022 The tenderers must submit verification documentation in proof of the preferential points claimed on SDB 6.1, according to table below: No; Specific Goals; Preference Points allocated out of the 20; Documentation to be submitted by bidders to validate their claim for points. 1; An EME or QSE which is at least 51% owned by black people; 5; - ID Copy - CIPC (Company registration)’ - CSD report (the ownership status of the 2 documents must correspond in order to be awarded points). 2; Located in the Province where the services will be rendered / item delivered.; 2; - Municipal rates account OR - Letter from councilor confirming residence OR - Lease Agreement. 3; An EME or QSE which is at least 51% owned by women; 7; - ID Copy - CIPC (Company registration)’ - CSD report (the ownership status of the 2 documents must correspond in order to be awarded points). 4; An EME or QSE which is at least 51% owned by youth (up to 35 years of age); 4; - ID Copy - CIPC (Company registration)’ - CSD report (the ownership status of the 2 documents must correspond in order to be awarded points). 5; An EME or QSE which is at least 51% owned by people with disability; 2; - ID Copy - CIPC (Company registration) - CSD report (the ownership status of the 2 documents must correspond in order to be awarded points) - Medical certificate - SASSA registration or confirmation of disability from a relevant authority.. A trust, consortium or joint venture must obtain and submit documented proof for each party of such trust, consortium or joint venture. |
| 10. | All tenderers must be registered on the National Treasury Centralized Suppliers Data Base, the CIDB before the closing date of tenders and provide the information. Invalid or non-submission of the following documents will render the Bidder disqualified: - Tax compliance status and company directors of bidders will be verified on CSD for all price quotations and bids. Therefore, Hard copies of Tax Certificate are no more required. - CK documents must be attached in the bid. - Copy of CIDB contractor grading certificate - JV Agreement (if Applicable) - Proof of CSD registration (active & recently updated) |
| 11. | Part of the works cannot be subcontracted without prior approval from the Employer’s Agent. |
| 12. | The tender with the lowest price or any tender offer will not necessarily be accepted. |
| 13. | For a project to the value of R 3.0 million and more, a Bidder/Contractor who is not from the Eastern Cape Province, must sub-contract 25% of the contract value to a Bidder/Contractor within the Eastern Cape Province. |
| 14. | All tenders must be submitted on the official forms – (not to be re-typed). Telephonic, telegraphic, e-mail or facsimile will not be accepted. |
| 15. | Failure to supply all supplementary information, certificates and documentation may result in the tender being rendered non-responsive. |
| 16. | This tender is subject to the General Conditions of Contract (GCC 2015) and, if applicable, any other Special Conditions of Contract (SCC). |
| 17. | Bidders must submit in terms of point 16 above, the following with the bid submission: - CIDB certificate of the subcontractor(s). - Proof of the CSD registration of the subcontractor(s). - Provide details of which items in the bill of quantities will be part of the subcontracting agreement. |
| 18. | NB: Bidders should note that this forms part of a batch of tenders included into the DRDAR infrastructure program within the Eastern Cape; the employer reserves the right not to award more than TWO projects to be executed simultaneously within the province. The department as a procuring entity will conduct a risk assessment based on amounts and nature of the commodity for the final decision vs the bidder’s capacity. |
| 19. | Administrative enquiries should be directed to: Ms Yolanda Ntlakaza or Ms Camille Khoza Tel: 012 003 4209 Email: yolanda@cga-gdc.org.za or camille@cga-gdc.org.za |
| 20. | Technical enquiries should be directed to: Mr. Tapiwanashe Musara Tel: 043 706 8709/ 079 495 3934 Email: Tapiwanashe.Musara@ecagriculture.gov.za |

PART A					SBD 1

INVITATION TO BID

| YOU ARE HEREBY INVITED TO BID FOR REQUIREMENTS OF THE (NAME OF DEPARTMENT OF AGRICULTURE) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BID NUMBER: | GDC 001/2025 |  | CLOSING DATE: |  | 10 NOVEMBER 2025 | CLOSING TIME: |  |  | 16:00 |
| DESCRIPTION | BID FOR THE REFURBISHMENT OF RIPPLEMEAD PACKHOUSE (PHASE 1). |  |  |  |  |  |  |  |  |
| BID RESPONSE DOCUMENTS MAY BE DEPOSITED IN THE BID BOX SITUATED AT (STREET ADDRESS) |  |  |  |  |  |  |  |  |  |
| CGA GROWER DEVELOPMENT COMPANY |  |  |  |  |  |  |  |  |  |
| SUPPLY CHAIN MANAGEMENT OFFICES, 477 Witherite Road, Agri-Hub office park – Block B , The Willows |  |  |  |  |  |  |  |  |  |
| Pretoria |  |  |  |  |  |  |  |  |  |
| BIDDING PROCEDURE ENQUIRIES MAY BE DIRECTED TO |  |  |  | TECHNICAL ENQUIRIES MAY BE DIRECTED TO: |  |  |  |  |  |
| CONTACT PERSON |  | Ms Y Ntlakaza |  | CONTACT PERSON |  |  |  | Mr. Tapiwanashe Musara |  |
| TELEPHONE NUMBER |  | 012 003 4209/082 2264092 |  | TELEPHONE NUMBER |  |  |  | 043 706 8709/ 079 495 3934 |  |
| FACSIMILE NUMBER |  | N/A |  | FACSIMILE NUMBER |  |  |  | N/A |  |
| E-MAIL ADDRESS |  | yolanda@cga-gdc.org.za |  | E-MAIL ADDRESS |  |  |  | Tapiwanashe.Musara@ecagriculture.gov.za |  |
| SUPPLIER INFORMATION |  |  |  |  |  |  |  |  |  |
| NAME OF BIDDER |  |  |  |  |  |  |  |  |  |
| POSTAL ADDRESS |  |  |  |  |  |  |  |  |  |
| STREET ADDRESS |  |  |  |  |  |  |  |  |  |
| TELEPHONE NUMBER |  | CODE |  |  | NUMBER |  |  |  |  |
| CELL PHONE NUMBER |  |  |  |  |  |  |  |  |  |
| FACSIMILE NUMBER |  | CODE |  |  | NUMBER |  |  |  |  |
| E-MAIL ADDRESS |  |  |  |  |  |  |  |  |  |
| VAT REGISTRATION NUMBER |  |  |  |  |  |  |  |  |  |
| SUPPLIER COMPLIANCE STATUS |  | TAX COMPLIANCE SYSTEM PIN: |  | OR | CENTRAL SUPPLIER DATABASE No: | MAAA ____________________________ |  |  |  |
| SPECIFIC GOALS CLAIMED |  | TICK APPLICABLE BOX] Yes No |  | ALL SUPPORTING DOCUMENTATION FOR THE GOALS CLAIMED ATTACHED |  |  | [TICK APPLICABLE BOX] Yes No |  |  |
| [ALL DOCUMENTATION REQUIRED FOR THE CLAIM OF PREFERENCE POINTS AS PER THE SPECIFIC GOALS DETAILED IN THE EVALUATION CRITERIA.] |  |  |  |  |  |  |  |  |  |
| - 1.1 ARE YOU THE ACCREDITED REPRESENTATIVE IN SOUTH AFRICA FOR THE GOODS /SERVICES /WORKS OFFERED? |  | Yes No [IF YES ENCLOSE PROOF] |  | - 1.2 ARE YOU A FOREIGN BASED SUPPLIER FOR THE GOODS /SERVICES /WORKS OFFERED? |  |  | Yes No [IF YES, ANSWER PART B:3 ] |  |  |
| QUESTIONNAIRE TO BIDDING FOREIGN SUPPLIERS |  |  |  |  |  |  |  |  |  |
| IS THE ENTITY A RESIDENT OF THE REPUBLIC OF SOUTH AFRICA (RSA)? YES NO DOES THE ENTITY HAVE A BRANCH IN THE RSA? YES NO DOES THE ENTITY HAVE A PERMANENT ESTABLISHMENT IN THE RSA? YES NO DOES THE ENTITY HAVE ANY SOURCE OF INCOME IN THE RSA? YES NO IS THE ENTITY LIABLE IN THE RSA FOR ANY FORM OF TAXATION? YES NO IF THE ANSWER IS “NO” TO ALL OF THE ABOVE, THEN IT IS NOT A REQUIREMENT TO REGISTER FOR A TAX COMPLIANCE STATUS SYSTEM PIN CODE FROM THE SOUTH AFRICAN REVENUE SERVICE (SARS) AND IF NOT REGISTER AS PER 2.3 BELOW |  |  |  |  |  |  |  |  |  |

PART B

TERMS AND CONDITIONS FOR BIDDING

- BID SUBMISSION:

- BIDS MUST BE DELIVERED BY THE STIPULATED TIME TO THE CORRECT ADDRESS. LATE BIDS WILL NOT BE ACCEPTED FOR CONSIDERATION. - ALL BIDS MUST BE SUBMITTED ON THE OFFICIAL FORMS PROVIDED–(NOT TO BE RE-TYPED) OR IN THE MANNER PRESCRIBED IN THE BID DOCUMENT. - THIS BID IS SUBJECT TO THE PREFERENTIAL PROCUREMENT POLICY FRAMEWORK ACT, 2000 AND THE PREFERENTIAL PROCUREMENT REGULATIONS, 2022, THE 2015 GENERAL CONDITIONS OF CONTRACT (GCC) AND, IF APPLICABLE, ANY OTHER require OF CONTRACT. - THE SUCCESSFUL BIDDER WILL BE REQUIRED TO FILL IN AND SIGN A WRITTEN CONTRACT FORM (SBD7).

- TAX COMPLIANCE REQUIREMENTS

- BIDDERS MUST ENSURE COMPLIANCE WITH THEIR TAX OBLIGATIONS. - BIDDERS ARE REQUIRED TO SUBMIT THEIR UNIQUE PERSONAL IDENTIFICATION NUMBER (PIN) ISSUED BY SARS TO ENABLE THE ORGAN OF STATE TO VERIFY THE TAXPAYER’S PROFILE AND TAX STATUS. - APPLICATION FOR TAX COMPLIANCE STATUS (TCS) PIN MAY BE MADE VIA E-FILING THROUGH THE SARS WEBSITE WWW.SARS.GOV.ZA. - BIDDERS MAY ALSO SUBMIT A PRINTED TCS CERTIFICATE TOGETHER WITH THE BID. - IN BIDS WHERE CONSORTIA / JOINT VENTURES / SUB-CONTRACTORS ARE INVOLVED, EACH PARTY MUST SUBMIT A SEPARATE TCS CERTIFICATE / PIN / CSD NUMBER. - WHERE NO TCS IS AVAILABLE BUT THE BIDDER IS REGISTERED ON THE CENTRAL SUPPLIER DATABASE (CSD), A CSD NUMBER MUST BE PROVIDED. - NO BIDS WILL BE CONSIDERED FROM PERSONS IN THE SERVICE OF THE STATE, COMPANIES WITH DIRECTORS WHO ARE PERSONS IN THE SERVICE OF THE STATE, OR CLOSE CORPORATIONS WITH MEMBERS PERSONS IN THE SERVICE OF THE STATE.”

NB: FAILURE TO PROVIDE / OR COMPLY WITH ANY OF THE ABOVE PARTICULARS MAY RENDER THE BID INVALID.

SIGNATURE OF BIDDER:					……………………………………………

CAPACITY UNDER WHICH THIS BID IS SIGNED:		……………………………………………

(Proof of authority must be submitted e.g. company resolution)

DATE:								…………………………………………...

T 1.2

Tender Data

## BID FOR THE REFURBISHMENT OF RIPPLEMEAD PACKHOUSE (PHASE 1).

## T1.2 Tender Data

The conditions of tender are the Standard Conditions of Tender as contained in Annex C of the CIDB Standard for Uniformity in Construction Procurement (August 2019). (See www.cidb.org.za).

The Standard Conditions of Tender make several references to the Tender Data for details that apply specifically to this tender. The Tender Data shall have precedence in the interpretation of any ambiguity or inconsistency between it and the standard conditions of tender. Each item of data given below is cross-referenced to the clause in the Standard Conditions of Tender to which it mainly applies.

The additional conditions of tender are:

| Clause number |  |  | Tender Data |
| --- | --- | --- | --- |
| F.1.1 |  |  | The employer is the DEPARTMENT OF AGRICULTURE, DEPARTMENT OF AGRICULTURE. |
| F.1.2 |  |  | The tender documents issued by the employer comprise: T1.1 Tender notice and invitation to tender T1.2 Tender data T2.1 List of returnable documents Part 1: Agreements and contract data C1.1 Form of offer and acceptance C1.2 Contract data C1.3 Form of Guarantee C1.4 Adjudicator’s Contract Part 2: Pricing data C2.1 Pricing instructions C2.2 Activity schedules / Bills of Quantities Part 3: Scope of work C3.1 Scope of work C3.2 Specifications Part 4: Site information C4.1 Site information C4.2 Drawings |
|  | Additional documents of which the Contractors are to obtain their own copies are: “General Conditions of Contract for Construction Works – 3rd Edition 2015”. This document is issued by the South African Institution of Civil Employer’s Agenting. (Short title “General Conditions of Contract for Construction Works 2015”) and is obtainable separately. Tenderers shall obtain their own copies. “South African National Standards”. These documents are obtainable separately, and tenderers shall obtain their own copies of the applicable sections. “The Occupational Health and Safety Act No 85 of 1993 and Amendment Act No 181 of 1993, and the Construction Regulations 2014”. This document is obtainable separately, and tenderers shall obtain their own copies. In addition, tenderers are advised, in their own interest, to obtain their own copies of the following acts, regulations and standards referred to in this document as they are essential for the tenderer to get acquainted with the basics of construction management, the implementation of preferential construction procurement policies and participation of targeted enterprise and labour. The Construction Industry Development Board Act No 38 of 2000 and the Regulations in terms of the CIDB Act 38/2000, Government Notice No 692 of 9 June 2004, SANS 1921:2004 Construction and Management Part 1: General Employer’s Agenting and Construction Works; Part 6: HIV/AIDS Awareness. SANS 10396:2003 Implementing Preferential Construction Procurement Policies using Targeted Procurement Procedures SANS 1914:2003 Targeted Construction Procurement, Parts 1 to 6, dealing with Participation of Targeted Enterprises, Joint Ventures, Targeted Labour etc. The DEPARTMENT OF AGRICULTURE Procurement Policy. The Tender Document and the drawings shall be obtained from the Employer or his authorized representative at the physical address stated in the Tender Notice, upon payment of the deposit stated in the Tender Notice. |  |  |  |
| Clause |  |  | Data |  |  |  |
| C.1.4 |  |  | The employer’s Project Manager is: Mr. T. Musara 043 706 8777/ 073 5964 4850 Tapiwanashe.Musara@drdar.gov.za |  |  |  |
| C.2.1 |  |  | Only those tenderers who are registered with the CIDB, or are capable of being so prior to the evaluation of submissions, in a contractor grading designation equal to or higher than a contractor grading designation determined in accordance with the sum tendered, or a value determined in accordance with Regulation 25 (1B) or 25(7A) of the Construction Industry Development Regulations for a 4CE class of construction work, are eligible to have their tenders evaluated. Bidders exceeding the threshold of CIDB grade 4 in combination with any other contract awarded to the contractor which will be executed simultaneously could be regarded as non-responsive. Joint ventures are eligible to submit tenders provided that: 1. every member of the joint venture is registered with the CIDB; 2. the lead partner has a contractor grading designation in the 4CE class of construction work; and 3. the combined contractor grading designation calculated in accordance with the Construction Industry Development Regulations is equal to or higher than a contractor grading designation determined in accordance with the sum tendered for a 4CE class of construction work or a value determined in accordance with Regulation 25 (1B) or 25(7A) of the Construction Industry Development Regulations. |  |  |  |
| C.2.2 |  |  | The employer will not compensate the tenderer for any costs incurred during the tender process. |  |  |  |
| C.2.7 |  |  | The arrangements for a clarification meeting are as stated in the Tender Notice and Invitation to Tender. |  |  |  |
| C.2.13.2 |  |  | Submit one original document completed in black ink. The closing time for submission of tender offers is as stated in the Tender Notice and Invitation to Tender. Ensure that the employer receives the tender offer at the address specified in the tender data not later than the closing time stated in the tender data. Proof of posting shall not be accepted as proof of delivery. Accept that, if the employer extends the closing time stated in the tender data for any reason, the requirements of the standard conditions of tender in this part of SANS 10845 apply equally to the extended deadline. |  |  |  |
| C.2.13.5 |  |  | The employer’s address for delivery of tender offers and identification details to be shown on each tender offer package are: Location of tender box: Physical address: CGA-Grower Development Company Grain Building, Agri-hub Office Park, Block B First Floor 477 Witherite Road, The Willows, Pretoria Identification details: Reference number, title of tender and the closing date and time of the tender. Postal address: Postnet Suite 426 Private Bag X01, Die Wilgers 0041 |  |  |  |
| C.2.13.9 |  |  | Telephonic, telegraphic, telex, facsimile or e-mailed tender offers will not be accepted. |  |  |  |
| C.2.15. |  |  | The closing time for submission of tender offers is as stated in the Tender Notice and Invitation to Tender. |  |  |  |
| C.2.17. |  |  | Additional information/clarification could be requested after closure of the bid. Non-submission / late submission of such information/clarification could result in the bid being declared non-responsive. The employer may also request additional information / bank ratings, in order to establish the financial capacity of the bidder. Non-submission / late submission of such information / bank ratings could result in the bid being declared non-responsive. |  |  |  |
| C.2.16. |  |  | The tender offer validity period is 90 days |  |  |  |
| C.2.23. |  |  | The tenderer is required to submit with his tender - a Certificate of Contractor Registration issued by the Construction Industry Development Board and where a tenderer satisfies CIDB contractor grading designation requirements through joint venture formation, such tenderers must submit the Certificates of Contractor Registration in respect of each partner. - a Copy of CSD registration Proof (Active & Recently updated). - Joint Venture Agreement and Power of attorney in case of a Joint Venture. - ID certificates in case of one-man concerns. - Workman’s Compensation Registration Certificate. - Documentation to proof preferential points claimed. |  |  |  |
| C.3.4 |  |  | Tenders will be opened in public immediately after closing time where the name of the tenderer, the financial offer, preference points claimed and proposed period for completion will be read out loud. |  |  |  |
| C.3.11 |  |  | This bid will be evaluated in Four (4) phases as follows: Phase One: Prequalification: Only bids of bidders adhering to the minimum CIDB grading designation, and whose CIDB registration is active on date of closure will be further considered. Phase Two: Compliance, responsiveness to the bid rules and conditions, thereafter they will be evaluated on PPPFA. Phase Three: Bidders passing all stages above will thereafter be evaluated on PPPFA. PREFERENTIAL PROCUREMENT POLICY FRAMEWORK ACT (PPPFA) POINTS WILL BE AWARDED AS FOLLOWS: Maximum points on price - 80 points Maximum points for Specific goals - 20 points Maximum points - 100 points Important: - Failure to submit a fully completed and singed bid document such as Bill of Quantities, work program etc. will result in the bid not being further considered. - Gross calculation errors, and omissions in the Bill of Quantities, will render the bid non-responsive. - Gross under and over pricing will also render the bid as non-responsive. |  |  |  |
|  |  |  | - PHASE ONE: PRE-QUALIFICATION - Prequalification: Only bids of bidders adhering to the minimum CIDB grading designation, and who’s CIDB registration is active on the closing date will be considered further. - PHASE TWO: RESPONSIVENESS TO THE BID REQUIREMENTS AND RULES - Bidders’ proposals must meet the following minimum requirements and supporting documents must be submitted with the completed bid document in a sealed envelope in the bid box at the closing date and time. Failure to comply will automatically eliminate the bid for further consideration: - Bid Document (This Document must be submitted in its original format) - Bids which are late, incomplete, unsigned or submitted by facsimile or electronically, will not be accepted. - Bidder must be registered with CIDB in the correct grading and class of works as per the tender notice and requirements. And must the status on CIDB be active during award stage. It is the responsibility of the bidder to keep the status on CIDB active throughout bidding process (advert till award stage). - Bidders must be a legal entity or partnership or joint venture or consortia. - Form of offer and Acceptance (fully completed and signed) - SBD 4 - Declaration of Interest (fully completed and signed) - Compulsory Enterprise Questionnaire (Completed and signed) - Bid price must be all inclusive of all applicable taxes. Bidders are not entitled to claim the VAT if they are not VAT registered. - Certificate of Authority for Joint Ventures (if applicable). In the case of a joint venture, a signed JV agreement stating the share interest or percentage of each partner should also be made available to the department by the JV. - Resolution to Sign (if applicable) - Attendance of compulsory briefing meeting (where applicable) - Only one offer per item per bidder is allowed and alternative offers will not be considered. If more than one offer per item is received, none of the offers will be considered. Bidders are also not allowed to submit a bid/ quotation whilst they are in agreements with other bidders in the form of joint ventures or consortiums. - It is important to note that the employer would select DORMAS as a Contractor to take on the upgrade of the Machine/Crate. - All trades listed in the Bills of Quantities or Pricing schedule must be priced for (except provisional sums and allowances), failure to do so may lead to elimination or passing over of the bidder. - Past experience reports (Refer to Annexure K and H) - List of Key personnel and their CVs - Work program - Other Conditions of bid/ Non eliminating - DOA Policy applies. - Returnable Schedule: SBD1 – Invitation to bid must be completed and signed - The bidder must be registered on the Central Supplier Database (CSD) prior the award - All bidders’ tax matters must be in order prior award. Bidders’ tax matters will be verified through CSD. - Declaration of Employees of the State or other State Institutions. - Bidders must submit a minimum of three (3) written contactable references for projects successfully completed in the past (clearly indicating client name, contract value, contract term, contact person, contact details). Refer to Annexure I and Annexure M. This is not an elimination factor, but important for the department to make a decision. Unless it is used for Quality/functionality Points. - Bidders must submit a list of projects where he or she has submitted tender offers but tender results have not been confirmed by the client. - Bidders must submit their company profiles, list of available resources, plant and machinery and any other additional capacity with the bid.. This is not an elimination factor, but important for the department to make a decision. Unless it is used for Quality/functionality Points. - The bidder must also list all projects where there are pending litigations or litigations have been concluded. The form for this is also attached after Annexure J. - Bidders submit al the required documented proof to validate the preferential points claimed on SBD 6.1. (Refer to Point 9 of the Tender Notice) - The Department will contract with the successful bidder by signing a formal contract. - This tender will be awarded as a whole. All trades listed in the Bills of Quantities or Pricing schedule must be priced for (except provisional sums and allowances which also need to be added to the total), failure to do so will increase commercial risk of the bid and may lead to elimination or passing over of the bidder. - Wherever a brand name is specified in this document (i.e. specifications, pricing schedule, bill of quantities or anywhere), the department requires an item similar/equivalent or better. A maximum of 10 points may be allocated for specific goals provided that the lowest acceptable tender scores 90 points FUNCTIONALITY CRITERIA; WEIGHT; MAXIMUM POSSIBLE SCORE. 1 Detailed Programme of Works:; 5; 5. 2 Relevant Experience: - Appointment letters for similar / relevant projects A similar project is the construction of buildings Appointment letter and completion certificate for each project with value above R50 million (incl. VAT) must be submitted; 0 project = 0 points 1-2 projects = 10 points 3-4 projects = 20 points 5 and above projects = 60 points; 60. - Proof of qualifications of project team Employer reference letter/s signed by an authorised official to be submitted - Contracts / Project Manager - Minimum of a National Diploma: Civil NQF level 6, minimum 5 years’ experience. - Construction Manager – Minimum National Diploma: Civil NQF level 6, 3 years’ Experience. - Construction Foreman – Minimum N6, Civil engineering, minimum 5 years’ experience in construction building works 5 years’ experience. - Occupational Health & Safety Officer with NOSA SAMTRAC qualification or equivalent.; 10 5 5 5; 25. - Property, Plant & Equipment Contractor to provide proof of plant ownership or lease agreement signed by both parties for the following plant equipment or machinery - Scaffolding - 10m³ tipper trucks X2 - TLB - Light Delivery Vehicle; 2 points for each item maximum of 10 points; 10. Total; Maximum Minimum; 100 (MPS) 75 (MPS). - PHASE THREE: EVALUATION POINTS ON PRICE AND REGULATIONS OF 2022 The 80/20 preference point system shall be applied for the purposes of this bid as per the requirements of the Preferential Procurement Policy Framework Act, 2000 (Act No. 5 of 2000) and SPECIFIC GOALS/ PPPFA Regulations of 2022 Criteria; Points. POINTS ON PRICE; 80. SPECIFI GOALS; 20. TOTAL; 100. The 80/20 preference point system for acquisition of services, works or goods up to Rand value of R50 million: - The following formula must be used to calculate the points for price in respect of tenders (including price quotation) with a Rand value equal to, or above R 30 000 and up to Rand value of R 50 000 000 (all applicable taxes included): The financial offer will be scored using the following formula: A = (1 - (P - Pm)) Pm The value of value of W1 is: 1) 90 where the financial value inclusive of VAT of all responsive tenders received have a value in excess of R 50 000 000 or 2) 80 where the financial value inclusive of VAT of one or more responsive tender offers have a value that equals or is less than R 50 000 000. |
| C.3.13. |  |  | Tender offers will only be accepted if: - the tenderer is registered on the Central Supplier Database (CSD) for the South African government (see https://secure.csd.gov.za/ ) unless it is a foreign supplier with no local registered entity - the tenderer is in good standing with SARS according to the Central Supplier Database. Bidders must submit a CSD no. or tax status compliance pin. - the preferred tenderer will be required to submit an approved insurer undertaking to provide the Performance Bond / Guarantee / Surety / Security to the format and/or standard as per contract data. - the tenderer is registered with the Construction Industry Development Board in an appropriate contractor grading designation; - the tenderer or any of its directors/shareholders is not listed on the Register of Tender Defaulters in terms of the Prevention and Combating of Corrupt Activities Act of 2004 as a person prohibited from doing business with the public sector; - the tenderer has not: - abused the Employer’s Supply Chain Management System; or - failed to perform on any previous contract and has been given a written notice to this effect; - the tenderer has completed the Compulsory Declaration and there are no conflicts of interest which may impact on the tenderer’s ability to perform the contract in the best interests of the employer or potentially compromise the tender process; - the tenderer has completed the Compulsory Enterprise Questionnaire and there are no conflicts of interest which may impact on the tenderer’s ability to perform the contract in the best interests of the employer or potentially compromise the tender process and persons in the employ of the state are permitted to submit tenders or participate in the contract; - Bids which are late, incomplete, unsigned or submitted by facsimile or electronically will not be accepted. - the tenderer is registered and in good standing with the compensation fund or with a licensed compensation insurer; - The tenderer undertakes to maximize the sourcing of building material or infrastructure input material from Eastern Cape based suppliers or manufacturers. - the employer is reasonably satisfied that the tenderer has in terms of the Construction Regulations, 2014, issued in terms of the Occupational Health and Safety Act, 1993, the necessary competencies and resources to carry out the work safely. - A Resolution of signatory form has been completed and signed by director/s or a letter bearing a letterhead of the tenderer has been attached (specific to this bid) to the bid submission; it must be duly signed by all directors and submitted the bid. Only a duly authorized official can sign the bid. - Prospective bidders must register on CSD prior submitting bids (open tenders). Any prospective bidder found to have Tax matters not in order with SARS (verified through CSD) during the evaluation process (after being given an opportunity to rectify tax matters) will be eliminated and not be considered further in the process. Preferred bidder/s will be afforded an opportunity to rectify their tax affairs within 7 days. A bidder that fails to rectify its tax matters with SARS will be eliminated. - NOTE: The amount reflected on the Form of Offer and Acceptance takes precedence over any other total amount indicated elsewhere in bidder’s tender submission. If the Form of Offer and Acceptance has no value or figure, the bidder will be regarded as having made no offer. - The department reserves the right not to award the bid to the most favourable tenderer, if any of the situations occur: if it is not assisting in the advancement of designated groups; risk profile of the favourable firm is too high; the bidder has been awarded a considerable number of projects by the department or provincial government; has performed unsatisfactorily in the past, etc. - Documents required for the specific goals: No; Specific Goals; Documentation to be submitted by bidders to validate their claim for points. 1; An EME or QSE which is at least 51% owned by black people; - ID Copy - CIPC (Company registration)’ - CSD report (the ownership status of the 2 documents must correspond in order to be awarded points). 2; Located in the Province where the services will be rendered / item delivered.; - Municipal rates account OR - Letter from councilor confirming residence OR - Lease Agreement. 3; An EME or QSE which is at least 51% owned by women; - ID Copy - CIPC (Company registration)’ - CSD report (the ownership status of the 2 documents must correspond in order to be awarded points). 4; An EME or QSE which is at least 51% owned by youth (up to 35 years of age); - ID Copy - CIPC (Company registration)’ - CSD report (the ownership status of the 2 documents must correspond in order to be awarded points). 5; An EME or QSE which is at least 51% owned by people with disability; - ID Copy - CIPC (Company registration) - CSD report (the ownership status of the 2 documents must correspond in order to be awarded points) - Medical certificate - SASSA registration or confirmation of disability from a relevant authority.. |
| C.3.17. |  |  | The number of paper copies of the signed contract to be provided by the employer is one. |  |  |  |

T1.3 STANDARD CONDITIONS OF TENDER

The conditions of tender are the Standard Conditions of Tender as contained in Annex C of the CIDB Standard for Uniformity in Construction Procurement (August 2019). (See www.cidb.org.za).

## C.1 	General

### C.1.1 	Actions

C.1.1.1	The employer and each tenderer submitting a tender offer shall comply with these conditions of tender. In their dealings with each other, they shall discharge their duties and obligations as set out in C.2 and C.3, timeously and with integrity, and behave equitably, honestly and transparently, comply with all legal obligations and not engage in anticompetitive practices.

C.1.1.2	The employer and the tenderer and all their agents and employees involved in the tender process shall avoid conflicts of interest and where a conflict of interest is perceived or known, declare any such conflict of interest, indicating the nature of such conflict. Tenderers shall declare any potential conflict of interest in their tender submissions. Employees, agents and advisors of the employer shall declare any conflict of interest to whoever is responsible for overseeing the procurement process at the start of any deliberations relating to the procurement process or as soon as they become aware of such conflict and abstain from any decisions where such conflict exists or recuse themselves from the procurement process, as appropriate.

Note: 1)	A conflict of interest may arise due to a conflict of roles which might provide an incentive for improper acts in some circumstances. A conflict of interest can create an appearance of impropriety that can undermine confidence in the ability of that person to act properly in his or her position even if no improper acts result.

2)	Conflicts of interest in respect of those engaged in the procurement process include direct, indirect or family interests in the tender or outcome of the procurement process and any personal bias, inclination, obligation, allegiance or loyalty which would in any way affect any decisions taken.

C.1.1.3	The employer shall not seek and a tenderer shall not submit a tender without having a firm intention and the capacity to proceed with the contract.

C.1.2	Tender Documents

The documents issued by the employer for the purpose of a tender offer are listed in the tender data.

### C.1.3	Interpretation

C.1.3.1 The tender data and additional requirements contained in the tender schedules that are included in the returnable documents are deemed to be part of these conditions of tender.

C.1.3.2 These conditions of tender, the tender data and tender schedules which are required for tender evaluation purposes, shall form part of any contract arising from the invitation to tender.

C.1.3.3 For the purposes of these conditions of tender, the following definitions apply:

- conflict of interest means any situation in which:

  - someone in a position of trust has competing professional or personal interests which make it difficult to fulfil his or her duties impartially;

  - an individual or tenderer is in a position to exploit a professional or official capacity in some way for their personal or corporate benefit; or

  - incompatibility or contradictory interests exist between an employee and the tenderer who employs that employee.

- comparative offer means the price after the factors of a non-firm price and all unconditional discounts it can be utilised to have been taken into consideration;

- corrupt practice means the offering, giving, receiving or soliciting of anything of value to influence the action of the employer or his staff or agents in the tender process;

- fraudulent practice means the misrepresentation of the facts in order to influence the tender process or the award of a contract arising from a tender offer to the detriment of the employer, including collusive practices intended to establish prices at artificial levels;

### C.1.4	Communication and employer’s agent

Each communication between the employer and a tenderer shall be to or from the employer's agent only, and in a form that can be readily read, copied and recorded. Communications shall be in the English language. The employer shall not take any responsibility for non-receipt of communications from or by a tenderer. The name and contact details of the employer’s agent are stated in the tender data.

### C.1.5 Cancellation and Re-Invitation of Tenders

C.1.5.1 An employer may, prior to the award of the tender, cancel a tender if-

- due to changed circumstances, there is no longer a need for the Employer’s Agenting and construction works specified in the invitation;

- funds are no longer available to cover the total envisaged expenditure; or

- no acceptable tenders are received.

- there is a material irregularity in the tender process.

C.1.5.2 The decision to cancel a tender invitation must be published in the same manner in which the original tender invitation was advertised

C.1.5.3 An employer may only with the prior approval of the relevant treasury cancel a tender invitation for the second time.

### C.1.6	Procurement procedures

#### C.1.6.1	General

Unless otherwise stated in the tender data, a contract will, subject to C.3.13, be concluded with the tenderer who in terms of C.3.11 is the highest ranked or the tenderer scoring the highest number of tender evaluation points, as relevant, based on the tender submissions that are received at the closing time for tenders.

#### C.1.6.2	Competitive negotiation procedure

C.1.6.2.1 Where the tender data require that the competitive negotiation procedure is to be followed, tenderers shall submit tender offers in response to the proposed contract in the first round of submissions. Notwithstanding the requirements of C.3.4, the employer shall announce only the names of the tenderers who make a submission. The requirements of C.8 relating to the material deviations or qualifications which affect the competitive position of tenderers shall not apply.

C.1.6.2.2 All responsive tenderers or at least a minimum of not less than three responsive tenderers that are highest ranked in terms of the evaluation criteria stated in the tender data shall be invited to enter into competitive negotiations based on the principle of equal treatment, keeping confidential the proposed solutions and associated information.

Notwithstanding the provisions of C.2.17, the employer may request that tenders be clarified, specified and fine-tuned in order to improve a tenderer’s competitive position provided that such clarification, specification, fine-tuning or additional information does not alter any fundamental aspects of the offers or impose substantial new requirements which restrict or distort competition or have a discriminatory effect.

C.1.6.2.3 At the conclusion of each round of negotiations, tenderers shall be invited by the   employer to revise their tender offer based on the same evaluation criteria, with or without adjusted weightings. Tenderers shall be advised when they are to submit their best and final offer.

C.1.6.2.4 The contract shall be awarded in accordance with the provisions of C.3.11 and C.3.13 after tenderers have been requested to submit their best and final offer.

#### C.1.6.3	Proposal procedure using the two stage-system

##### C.1.6.3.1	Option 1

Tenderers shall in the first stage submit technical proposals and, if required, cost parameters around which a contract may be negotiated. The employer shall evaluate each responsive submission in terms of the method of evaluation stated in the tender data, and in the second stage negotiate a contract with the tenderer scoring the highest number of evaluation points and award the contract in terms of these conditions of tender.

##### C.1.6.3.2	Option 2

C.1.6.3.2.1 Tenderers shall submit in the first stage only technical proposals. The employer shall invite all responsive tenderers to submit tender offers in the second stage, following the issuing of procurement documents.

C.1.6.3.2.2 The employer shall evaluate tenders received during the second stage in terms of the method of evaluation stated in the tender data and award the contract in terms of these conditions of tender.

## C.2 	Tenderer’s obligations

### C.2.1	Eligibility

C.2.1.1 Submit a tender offer only if the tenderer satisfies the criteria stated in the tender data and the tenderer, or any of his principals, is not under any restriction to do business with employer.

C.2.1.2 Notify the employer of any proposed material change in the capabilities or formation of the tendering entity (or both) or any other criteria which formed part of the qualifying requirements used by the employer as the basis in a prior process to invite the tenderer to submit a tender offer and obtain the employer’s written approval to do so prior to the closing time for tenders.

### C.2.2 Cost of tendering

C.2.2.1 Accept that, unless otherwise stated in the tender data, the employer will not compensate the tenderer for any costs incurred in the preparation and submission of a tender offer, including the costs of any testing necessary to demonstrate that aspects of the offer comply with requirements.

C.2.2.2 The cost of the tender documents charged by the employer shall be limited to the actual cost incurred by the employer for printing the documents. Employers must attempt to make available the tender documents on its website so as not to incur any costs pertaining to the printing of the tender documents.

### C.2.3 Check documents

Check the tender documents on receipt for completeness and notify the employer of any discrepancy or omission.

### C.2.4 Confidentiality and copyright of documents

Treat as confidential all matters arising in connection with the tender. Use and copy the documents issued by the employer only for the purpose of preparing and submitting a tender offer in response to the invitation.

### C.2.5 Reference documents

Obtain, as necessary for submitting a tender offer, copies of the latest versions of standards, specifications, conditions of contract and other publications, which are not attached but which are incorporated into the tender documents by reference.

### C.2.6 Acknowledge addenda

Acknowledge receipt of addenda to the tender documents, which the employer may issue, and if necessary, apply for an extension to the closing time stated in the tender data, in order to take the addenda into account.

### C.2.7 Clarification meeting

Attend, where required, a clarification meeting at which tenderers may familiarize themselves with aspects of the proposed work, services or supply and raise questions. Details of the meeting(s) are stated in the tender data.

### C.2.8 Seek clarification

Request clarification of the tender documents, if necessary, by notifying the employer at least five (5) working days before the closing time stated in the tender data.

### C.2.9	Insurance

Be aware that the extent of insurance to be provided by the employer (if any) might not be for the full cover required in terms of the conditions of contract identified in the contract data.  The tenderer is advised to seek qualified advice regarding insurance.

### C.2.10	Pricing the tender offer

C.2.10.1 Include in the rates, prices, and the tendered total of the prices (if any) all duties, taxes except Value Added Tax (VAT), and other levies payable by the successful tenderer, such duties, taxes and levies being those applicable fourteen (14) days before the closing time stated in the tender data.

C.2.10.2 Show VAT payable by the employer separately as an addition to the tendered total of the prices.

C.2.10.3 Provide rates and prices that are fixed for the duration of the contract and not subject to adjustment except as provided for in the conditions of contract identified in the contract data.

C.2.10.4 State the rates and prices in Rand unless instructed otherwise in the tender data. The conditions of contract identified in the contract data may provide for part payment in other currencies.

### C.2.11	Alterations to documents

Do not make any alterations or additions to the tender documents, except to comply with instructions issued by the employer, or necessary to correct errors made by the tenderer. All signatories to the tender offer shall initial all such alterations.

### C.2.12 Alternative tender offers

C.2.12.1 Unless otherwise stated in the tender data, submit alternative tender offers only if a main tender offer, strictly in accordance with all the requirements of the tender documents, is also submitted as well as a schedule that compares the requirements of the tender documents with the alternative requirements that are proposed.

C.2.12.2 Accept that an alternative tender offer must be based only on the criteria stated in the tender data or criteria otherwise acceptable to the employer.

C.2.12.3 An alternative tender offer must only be considered if the main tender offer is the winning tender.

### C.2.13 Submitting a tender offer

C.2.13.1 Submit one tender offer only, either as a single tendering entity or as a member in a joint venture to provide the whole of the works identified in the contract data and described in the scope of works, unless stated otherwise in the tender data.

C.2.13.2 Return all returnable documents to the employer after completing them in their entirety, either electronically (if they were issued in electronic format) or by writing legibly in non-erasable ink.

C.2.13.3 Submit the parts of the tender offer communicated on paper as an original plus the number of copies stated in the tender data, with an English translation of any documentation in a language other than English, and the parts communicated electronically in the same format as they were issued by the employer.

C.2.13.4 Sign the original and all copies of the tender offer where required in terms of the tender data. The employer will hold all authorized signatories liable on behalf of the tenderer. Signatories for tenderers proposing to contract as joint ventures shall state which of the signatories is the lead partner whom the employer shall hold liable for the purpose of the tender offer.

C.2.13.5 Seal the original and each copy of the tender offer as separate packages marking the packages as "ORIGINAL" and "COPY". Each package shall state on the outside the employer's address and identification details stated in the tender data, as well as the tenderer's name and contact address.

C.2.13.6 Where a two-envelope system is required in terms of the tender data, place and seal the returnable documents listed in the tender data in an envelope marked “financial proposal” and place the remaining returnable documents in an envelope marked “technical proposal”. Each envelope shall state on the outside the employer’s address and identification details stated in the tender data, as well as the tenderer's name and contact address.

C.2.13.7 Seal the original tender offer and copy packages together in an outer package that states on the outside only the employer's address and identification details as stated in the tender data.

C.2.13.8 Accept that the employer will not assume any responsibility for the misplacement or premature opening of the tender offer if the outer package is not sealed and marked as stated.

C.2.13.9 Accept that tender offers submitted by facsimile or e-mail will be rejected by the employer, unless stated otherwise in the tender data.

### C.2.14 Information and data to be completed in all respects

Accept that tender offers, which do not provide all the data or information requested completely and, in the form, required, may be regarded by the employer as non-responsive.

### C.2.15 Closing time

C.2.15.1 Ensure that the employer receives the tender offer at the address specified in the tender data not later than the closing time stated in the tender data. Note that proof of posting shall not be accepted as proof of delivery.

C.2.15.2 Accept that, if the employer extends the closing time stated in the tender data for any reason, the requirements of these conditions of tender apply equally to the extended deadline.

### C.2.16 Tender offer validity

C.2.16.1 Hold the tender offer(s) valid for acceptance by the employer at any time during the validity period stated in the tender data after the closing time stated in the tender data.

C.2.16.2 If requested by the employer, consider extending the validity period stated in the tender data for an agreed additional period with or without any conditions attached to such extension.

C.2.16.3 Accept that a tender submission that has been submitted to the employer may only be withdrawn or substituted by giving the employer’s agent written notice before the closing time for tenders that a tender is to be withdrawn or substituted. If the validity period stated in C.2.16 lapses before the employer evaluating tender, the contractor reserves the right to review the price based on Consumer Price Index (CPI).

C.2.16.4 Where a tender submission is to be substituted, a tenderer must submit a substitute tender in accordance with the requirements of C.2.13 with the packages clearly marked as “SUBSTITUTE”.

### C.2.17 Clarification of tender offer after submission

Provide clarification of a tender offer in response to a request to do so from the employer during the evaluation of tender offers. This may include providing a breakdown of rates or prices and correction of arithmetical errors by the adjustment of certain rates or item prices (or both). No change in the competitive position of tenderers or substance of the tender offer is sought, offered, or permitted.

Note: Sub-clause C.2.17 does not preclude the negotiation of the final terms of the contract with a preferred tenderer following a competitive selection process, should the Employer elect to do so.

### C.2.18 Provide other material

C.2.18.1 Provide, on request by the employer, any other material that has a bearing on the tender offer, the tenderer’s commercial position (including notarized joint venture agreements), referencing arrangements, or samples of materials, considered necessary by the employer for the purpose of a full and fair risk assessment.

Should the tenderer not provide the material, or a satisfactory reason as to why it cannot be provided, by the time for submission stated in the employer’s request, the employer may regard the tender offer as non-responsive.

C.2.18.2 Dispose of samples of materials provided for evaluation by the employer, where required.

### C.2.19 Inspections, tests and analysis

Provide access during working hours to premises for inspections, tests and analysis as provided for in the tender data.

### C.2.20 Submit securities, bonds and policies

If requested, submit for the employer’s acceptance before formation of the contract, all securities, bonds, guarantees, policies and certificates of insurance required in terms of the conditions of contract identified in the contract data.

### C.2.21 Check final draft

Check the final draft of the contract provided by the employer within the time available for the employer to issue the contract.

### C.2.22 Return of other tender documents

If so, instructed by the employer, return all retained tender documents within twenty-eight (28) days after the expiry of the validity period stated in the tender data.

### C.2.23 Certificates

Include in the tender submission or provide the employer with any certificates as stated in the tender data.

## C.3 	The employer’s undertakings

### C.3.1 Respond to requests from the tenderer

C.3.1.1 Unless otherwise stated in the tender Data, respond to a request for clarification received up to five (5) working days before the tender closing time stated in the Tender Data and notify all tenderers who collected tender documents.

C.3.1.2 Consider any request to make a material change in the capabilities or formation of the tendering entity (or both) or any other criteria which formed part of the qualifying requirements used to prequalify a tenderer to submit a tender offer in terms of a previous procurement process and deny any such request if as a consequence:

- an individual firm, or a joint venture as a whole, or any individual member of the joint venture fails to meet any of the collective or individual qualifying requirements;

- the new partners to a joint venture were not prequalified in the first instance, either as individual firms or as another joint venture; or

- in the opinion of the Employer, acceptance of the material change would compromise the outcome of the prequalification process.

### C.3.2 Issue Addenda

If necessary, issue addenda that may amend or amplify the tender documents to each tenderer during the period from the date that tender documents are available until three (3) working days before the tender closing time stated in the Tender Data.  If, as a result a tenderer applies for an extension to the closing time stated in the Tender Data, the Employer may grant such extension and, shall then notify all tenderers who collected tender documents.

### C.3.3 Return late tender offers

Return tender offers received after the closing time stated in the Tender Data, unopened, (unless it is necessary to open a tender submission to obtain a forwarding address), to the tenderer concerned.

### C.3.4 Opening of tender submissions

C.3.4.1 Unless the two-envelope system is to be followed, open valid tender submissions in the presence of tenderers’ agents who choose to attend at the time and place stated in the tender data. Tender submissions for which acceptable reasons for withdrawal have been submitted will not be opened.

C.3.4.2 Announce at the meeting held immediately after the opening of tender submissions, at a venue indicated in the tender data, the name of each tenderer whose tender offer is opened and, where applicable, the total of his prices, number of points claimed for its specific goals and time for completion for the main tender offer only.

C.3.4.3 Make available the record outlined in C.3.4.2 to all interested persons upon request.

### C.3.5 Two-envelope system

C.3.5.1 Where stated in the tender data that a two-envelope system is to be followed, open only the technical proposal of valid tenders in the presence of tenderers’ agents who choose to attend at the time and place stated in the tender data and announce the name of each tenderer whose technical proposal is opened.

C.3.5.2 Evaluate functionality of the technical proposals offered by tenderers, then advise tenderers who remain in contention for the award of the contract of the time and place when the financial proposals will be opened. Open only the financial proposals of tenderers, who score in the functionality evaluation more than the minimum number of points for functionality stated in the tender data, and announce the score obtained for the technical proposals and the total price and any points claimed based on specific goals set out by the department. Return unopened financial proposals to tenderers whose technical proposals failed to achieve the minimum number of points for functionality.

### C.3.6 Non-disclosure

Not disclose to tenderers, or to any other person not officially concerned with such processes, information relating to the evaluation and comparison of tender offers, the final evaluation price and recommendations for the award of a contract, until after the award of the contract to the successful tenderer.

### C.3.7 Grounds for rejection and disqualification

Determine whether there has been any effort by a tenderer to influence the processing of tender offers and instantly disqualify a tenderer (and his tender offer) if it is established that he engaged in corrupt or fraudulent practices.

### C.3.8 Test for responsiveness

C.3.8.1 Determine, after opening and before detailed evaluation, whether each tender offer properly received:

- complies with the requirements of these Conditions of Tender,

- has been properly and fully completed and signed, and

- is responsive to the other requirements of the tender documents.

C.3.8.2 A responsive tender is one that conforms to all the terms, conditions, and specifications of the tender documents without material deviation or qualification. A material deviation or qualification is one which, in the Employer's opinion, would:

- detrimentally affect the scope, quality, or performance of the works, services or supply identified in the Scope of Work,

- significantly change the Employer's or the tenderer's risks and responsibilities under the contract, or

- affect the competitive position of other tenderers presenting responsive tenders, if it were to be rectified.

Reject a non-responsive tender offer and not allow it to be subsequently made responsive by correction or withdrawal of the non-conforming deviation or reservation.

Important:

- Failure to submit a fully completed and singed bid document such as Bill of Quantities, work program etc. will result in the bid not being further considered.

- Gross calculation errors, and omissions in the Bill of Quantities, will render the bid non-responsive.

- Gross under and over pricing will also render the bid as non-responsive.

### C.3.9 Arithmetical errors, omissions and discrepancies

C.3.9.1 Check responsive tenders for discrepancies between amounts in words and amounts in figures. Where there is a discrepancy between the amounts in figures and the amount in words, the amount in words shall govern.

C.3.9.2 Check the highest ranked tender or tenderer with the highest number of tender evaluation points after the evaluation of tender offers in accordance with C.3.11 for:

- the gross misplacement of the decimal point in any unit rate;

- omissions made in completing the pricing schedule or bills of quantities; or c) arithmetic errors in:

(i)	line-item totals resulting from the product of a unit rate and a quantity in bills of quantities or schedules of prices; or (ii) the summation of the prices.

C.3.9.3 Notify the tenderer of all errors or omissions that are identified in the tender offer and either confirm the tender offer as tendered or accept the corrected total of prices.

C.3.9.4 Where the tenderer elects to confirm the tender offer as tendered, correct the errors as follows:

- If bills of quantities or pricing schedules apply and there is an error in the line-item total resulting from the product of the unit rate and the quantity, the line-item total shall govern and the rate shall be corrected. Where there is an obviously gross misplacement of the decimal point in the unit rate, the line-item total as quoted shall govern, and the unit rate shall be corrected.

- Where there is an error in the total of the prices either as a result of other corrections required by this checking process or in the tenderer's addition of prices, the total of the prices shall govern and the tenderer will be asked to revise selected item prices (and their rates if bills of quantities apply) to achieve the tendered total of the prices.

Important:

- Gross calculation errors, and omissions in the Bill of Quantities, will render the bid non-responsive.

- Gross under and over pricing will also render the bid as non-responsive.

### C.3.10 Clarification of a tender offer

Obtain clarification from a tenderer on any matter that could give rise to ambiguity in a contract arising from the tender offer.

### C.3.11 Evaluation of tender offers

The Standard Conditions of Tender standardize the procurement processes, methods and procedures from the time that tenders are invited to the time that a contract is awarded. They are generic in nature and are made project specific through choices that are made in developing the Tender Data associated with a specific project.

Conditions of tender are by definition the document that establishes a tenderer’s obligations in submitting a tender and the employer’s undertakings in soliciting and evaluating tender offers. Such conditions establish the rules from the time a tender is advertised to the time that a contract is awarded and require employers to conduct the process of offer and acceptance in terms of a set of standard procedures.

| The CIDB Standard Conditions of Tender are based on a procurement system that satisfies the following system requirements: |  |
| --- | --- |
| Requirement | Qualitative interpretation of goal |
| Fair | The process of offer and acceptance is conducted impartially without bias, providing simultaneous and timely access to participating parties to the same information. |
| Equitable | Terms and conditions for performing the work do not unfairly prejudice the interests of the parties. |
| Transparent | The only grounds for not awarding a contract to a tenderer who satisfies all requirements are restrictions from doing business with the employer, lack of capability or capacity, legal impediments and conflicts of interest. |
| Competitive | The system provides for appropriate levels of competition to ensure cost effective and best value outcomes. |
| Cost effective | The processes, procedures and methods are standardized with sufficient flexibility to attain best value outcomes in respect of quality, timing and price, and least resources to effectively manage and control procurement processes. |

The activities associated with evaluating tender offers are as follows:

- Open and record tender offers received

- Determine whether or not tender offers are complete

- Determine whether or not tender offers are responsive

- Evaluate tender offers

- Determine if there are any grounds for disqualification

- Determine acceptability of preferred tenderer

- Prepare a tender evaluation report

- Confirm the recommendation contained in the tender evaluation report

#### C.3.11.1 General

The employer must appoint an evaluation panel of not less than three persons conversant with the proposed scope of works to evaluate each responsive tender offer using the tender evaluation methods and associated evaluation criteria and weightings that are specified in the tender data.

### C.3.12 Insurance provided by the employer

If requested by the proposed successful tenderer, submit for the tenderer's information the policies and / or certificates of insurance which the conditions of contract identified in the contract data, require the employer to provide.

### C.3.13 Acceptance of tender offer

Accept the tender offer; if in the opinion of the employer, it does not present any risk and only if the tenderer:

- is not under restrictions, or has principals who are under restrictions, preventing participating in the employer’s procurement;

- can, as necessary and in relation to the proposed contract, demonstrate that he or she possesses the professional and technical qualifications, professional and technical competence, financial resources, equipment and other physical facilities, managerial capability, reliability, experience and reputation, expertise and the personnel, to perform the contract;

- has the legal capacity to enter into the contract;

- is not; insolvent, in receivership, under Business Rescue as provided for in chapter 6 of the Companies Act No. 2008, bankrupt or being wound up, has his/her affairs administered by a court or a judicial officer, has suspended his/her business activities or is subject to legal proceedings in respect of any of the foregoing;

- complies with the legal requirements, if any, stated in the tender data; and

- is able, in the opinion of the employer, to perform the contract free of conflicts of interest.

### C.3.14 Prepare contract documents

C.3.14.1 If necessary, revise documents that shall form part of the contract and that were issued by the employer as part of the tender documents to take account of:

- addenda issued during the tender period,

- inclusion of some of the returnable documents and

- other revisions agreed between the employer and the successful tenderer.

C.3.14.2 Complete the schedule of deviations attached to the form of offer and acceptance, if any.

### C.3.15 Complete adjudicator's contract

Unless alternative arrangements have been agreed or otherwise provided for in the contract, arrange for both parties to complete formalities for appointing the selected adjudicator at the same time as the main contract is signed.

### C.3.16 Registration of the award

An employer must, within twenty-one (21) working days from the date on which a contractor's offer to perform a construction works contract is accepted in writing by the employer, register and publish the award on the CIDB Register of Projects.

### C.3.17 Provide copies of the contracts

Provide to the successful tenderer the number of copies stated in the Tender Data of the signed copy of the contract as soon as possible after completion and signing of the form of offer and acceptance.

### C.3.18 Provide written reasons for actions taken

Provide upon request written reasons to tenderers for any action that is taken in applying these conditions of tender but withhold information which is not in the public interest to be divulged, which is considered to prejudice the legitimate commercial interests of tenderers or might prejudice fair competition between tenderers.

PART T2 - RETURNABLE DOCUMENTS

DEPARTMENT OF AGRICULTURE

BID FOR THE REFURBISHMENT OF RIPPLEMEAD PACKHOUSE (PHASE 1).

T2.1 List of Returnable Documents

The tenderer must complete the following returnable documents:

1 Returnable Schedules required only for tender evaluation purposes

- Certificate of authority for joint ventures (where applicable)

- Compulsory Enterprise Questionnaire

- Record of Addenda to Tender Documents

- Proposed Amendments and Qualifications

- Schedule of Subcontractors

- Schedule of Plant and Equipment

- Schedule of the Tenderer’s Experience

- Schedule of current projects

2 Other documents required only for tender evaluation purposes

- Proof of registration on the CSD and copy of active and updated certificate attached.

- Certificate of Contractor Registration issued by the Construction Industry Development Board.

- Documented proof of points claimed for Specific goals.

3 Returnable Schedules that will be incorporated into the contract

- Preferencing Schedule SBD 6.1

4 Other documents that will be incorporated into the contract

- Declaration of validity of information.

- Declaration of Interest - SBD 4.

- Certificate of tenderer’s visit to site.

- Tenderer’s financial standing.

- Surety and Bank details.

- Form of intent to provide a Performance Guarantee.

- Key personnel for project.

- Curriculum Vitae of key personnel.

- Preliminary Construction Programme.

- Alteration by tenderer.

- Contractor’s Health and Safety declaration.

- Contractor’s Health and Safety Plan.

5 The offer portion of the C1.1 Offer and Acceptance

6 C1.2 	Contract Data (Part 2)

7 C2.2 	Bills of quantities

CERTIFICATE OF AUTHORITY FOR JOINT VENTURES

This Returnable Schedule is to be completed by joint ventures.

We, the undersigned, are submitting this tender offer in Joint Venture and hereby authorise Mr/Ms . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . , authorised signatory of the company . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .  , acting in the capacity of lead partner, to sign all documents in connection with the tender offer and any contract resulting from it on our behalf.

| NAME OF FIRM | ADDRESS | DULY AUTHORISED SIGNATORY |
| --- | --- | --- |
| Lead partner |  | Signature …..………………... Name ………………………… Designation …………………. |
|  |  | Signature ……………………. Name ………………………… Designation …………………. |
|  |  | Signature ……………………. Name ………………………… Designation …………………. |
|  |  | Signature ……………………. Name ………………………… Designation …………………. |

COMPULSORY ENTERPRISE QUESTIONNAIRE

| The following particulars must be furnished. In the case of a joint venture, separate enterprise questionnaires in respect of each partner must be completed and submitted. |  |  |  |
| --- | --- | --- | --- |
| Section 1: Name of enterprise: ________________________________________________________________ |  |  |  |
| Section 2: VAT registration number, if any: ______________________________________________________ |  |  |  |
| Section 3: CIDB registration number, if any: ______________________________________________________ |  |  |  |
| Section 4: CSD number: ______________________________________________________________________ |  |  |  |
| Section 5: Particulars of sole proprietors and partners in partnerships: Name*; Identity number*; Personal income tax number*. * Complete only if sole proprietor or partnership and attach separate page if more than 3 partners |
| Section 6: Particulars of companies and close corporations |  |  |  |
| Company registration number: ________________________________________________________________________ |  |  |  |
| Close corporation number: ___________________________________________________________________________ |  |  |  |
| Tax reference number: ______________________________________________________________________________ |  |  |  |
| Section 7: SBD4 issued by National Treasury must be completed for each tender and be attached as a tender requirement. |  |  |  |
| Section 8: SBD 6 issued by National Treasury must be completed for each tender and be attached as a tender requirement. |  |  |  |
| The undersigned, who warrants that he / she is duly authorized to do so on behalf of the enterprise: - Authorize the employer to verify the tenderers tax clearance status from the South African Revenue Service that it is in order; - Confirms that neither the name of the enterprise or the name of any partner, manager, director or any other person, who wholly or partly exercises or may exercise control over the enterprise, appears on the Register of Tender Defaulters established in terms of the Prevention and combating of Corruption Activities Act of 2004; - Confirms that no partner, manager, director or any other person, who wholly or partly exercises or may exercise control over the enterprise, has within the last five years been convicted of fraud or corruption; - Confirms that I/we are not associated, linked or involved with any other rendering entities submitting tender offers and have no other relationship with any of the tenderers or those responsible for compiling the scope of work that could cause or be interpreted as a conflict of interest; and - Confirms that the contents of this questionnaire are within my personal knowledge and are to the best of my belief both true and correct. |  |  |  |
| Signed |  | Date |  |
| Name |  | Position |  |
| Enterprise name |  |  |  |

RECORD OF ADDENDA TO TENDER DOCUMENTS

| The undersigned confirm that the following communications received from the employer before the submission of this tender offer, amending the tender documents, have been taken into account in this tender offer: |  |  |
| --- | --- | --- |
|  | Date | Title or Details |  |
| 1. |  |  |  |
| 2. |  |  |  |
| 3. |  |  |  |
| 4. |  |  |  |
| 5. |  |  |  |
| 6. |  |  |  |
| 7. |  |  |  |
| 8. |  |  |  |
| 9. |  |  |  |

Tenderer

Position

Name

Date

Signed

Attach additional pages if more space is required.

PROPOSED AMENDMENTS AND QUALIFICATIONS

| The Tenderer should record any deviations or qualifications he may wish to make to the tender documents in this Returnable Schedule. Alternatively, a tenderer may state such deviations and qualifications in a covering letter to his tender and reference such letter in this schedule. The Tenderer’s attention is drawn to clause C.3.8 of the Standard Conditions of Tender referenced in the Tender Data regarding the employer’s handling of material deviations and qualifications. Page; Clause or item; Proposal. |
| --- |
| Signed |  | Date |  |
| Name |  | Position |  |
| Tenderer |  |  |  |

SCHEDULE OF PROPOSED SUBCONTRACTORS

| We notify you that it is our intention to employ the following Subcontractors for work in this contract. If we are awarded a contract, we agree that this notification does not change the requirement for us to submit the names of proposed Subcontractors in accordance with requirements in the contract for such appointments. If there are no such requirements in the contract, then your written acceptance of this list shall be binding between us. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Name and address of proposed Subcontractor |  | Nature and extent of work |  |  | Previous experience with Subcontractor. |  |  |
| 1. |  |  |  |  |  |  |  |  |
| 2. |  |  |  |  |  |  |  |  |
| 3. |  |  |  |  |  |  |  |  |
| 4. |  |  |  |  |  |  |  |  |
| 5. |  |  |  |  |  |  |  |  |
| Signed |  |  |  | Date |  |  |
| Name |  |  |  | Position |  |  |
| Tenderer |  |  |  |  |  |  |

SCHEDULE OF PLANT AND EQUIPMENT

| The following are lists of major items of relevant equipment that I / we presently own or lease and will have available for this contract or will acquire or hire for this contract if my / our tender is accepted. (a) Details of major equipment that is owned by and immediately available for this contract. Quantity; Description, size, capacity, etc.. Attach additional pages if more space is required. (b) Details of major equipment that will be hired or acquired for this contract if my / our tender is acceptable. Quantity; Description, size, capacity, etc.. Attach additional pages if more space is required. |
| --- |
| Signed |  | Date |  |
| Name |  | Position |  |
| Tenderer |  |  |  |

SCHEDULE OF THE TENDERER’S EXPERIENCE

| The following is a statement of similar work in respect of this tender successfully executed by myself / ourselves during the past three (3) years: Employer, contact person and telephone number.; Description of contract; Value of work inclusive of VAT (Rand); Date contract started; Date contract completed (Date on Completion Certificate. |
| --- |
| Signed |  | Date |  |
| Name |  | Position |  |
| Tenderer |  |  |  |

SCHEDULE OF CURRENT PROJECTS

Tenderers must submit a max one-page description of all projects under construction/ on hold/ just handed over/ towards completion (if they exist). Attach an Appointment letter for each of the project provided.

The description of each project must include the following information:

- Essential introductory information:

  - Name of project.

  - Name of client.

  - Contact details of client.

  - Contact details (including telephone numbers and email addresses) of currently contactable references.

  - The period during which the project was performed, and also, if this is different, the period during which the tenderer’s team members were contracted.

  - Cost of works and/or contract value (making it clear in broad terms what this cost/value purchased, and to what extent (if any) this cost/value was part of a larger project budget or programme budget).

| NO. | NAME OF PROJECT. |  | NAME OF CLIENT. | CONTACT DETAILS OF CLIENT. | PROJECT VALUE | STAGE OF PROJECT |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
|  |  | Attach a separate page to address this issue (the above table is just for reference purposes). |  |  |  |  |
| The undersigned, who warrants that she/ he is duly authorised to do so on behalf of the enterprise, confirms that the content of this schedule that presented by the tenderer are within my personal knowledge and are to the best of my knowledge both true and correct. |  |  |  |  |  |  |

| Signed | _______________________ | Date | _________________________ |
| --- | --- | --- | --- |
| Name | _________________________ | Position | __________________________ |
| Enterprise name | _____________________________________________________________________ |  |  |

## CONTRACTORS CERTIFICATE OF REGISTRATION ON CSD

[The tenderer shall submit the Contractor’s Certificate of Registration on the CSD. Failure to submit the certificate with the tender document will lead to the conclusion that the tenderer is not registered on the National Treasury Central Suppliers Database and therefore not eligible to tender].

CONTRACTORS CERTIFICATE OF REGISTRATION WITH CIDB

[The tenderer shall submit the Contractor’s Certificate of Registration with CIDB. Failure to submit the certificate with the tender document will lead to the conclusion that the tenderer is not registered with the CIDB and therefore not eligible to tender].

POPIA - CONSENT FORM

| Contractor/Service Provider/Supplier: |  |
| --- | --- |
| Bid/Quotation No.: |  |
| Project Description: |  |
| Duration of Contract: |  |
| Contract Value: |  |

CONSENT TO PROCESS PERSONAL INFORMATION IN TERMS OF THE PROTECTION OF PERSONAL INFORMATION ACT, NO. 4 OF 2013 (POPIA)

The purpose of the POPIA is to protect personal information of individuals and businesses and to give effect to their right of privacy as provided for in the Constitution. By signing this form, you consent to your personal information to be processed by the DEPARTMENT OF AGRICULTURE and consent is effective immediately and will remain effective until such consent is withdrawn.

- I …………………………… a natural person “herein referred to as the Data Subject” with ID No…………………………… hereby give my consent to the DRDAR “herein referred to as the Responsible Party” to collect, process and distribute my personal information where DRDAR is legally required to do so.

- I understand my right to privacy and the right to have my personal information processed in accordance with the conditions for the lawful processing of personal information.

- I understand the purposes for which my personal information is required and for which it will be used and consent to third parties accessing my personal information and to DRDAR sharing my personal information strictly for reporting purposes.

- I understand that, should I refuse to provide DRDAR with the required consent and/ or information, the DRDAR will be unable to assist me.

- I declare that all my personal information supplied to DRDAR is accurate, up to date, not misleading and that it is complete in all respects and will be held and/ or stored securely for the purpose for which it was collected and that I will immediately advise DRDAR of any changes to my Personal Information should any of these details change.

- I also understand that I have the right to request that my personal information be corrected or deleted, if it is inaccurate, irrelevant, excessive, out of date, incomplete, misleading, or obtained unlawfully or that the personal information or record be destroyed or deleted if the responsible party is no longer authorized to retain it.

Signed at..............................................................On this ...................... day of ...........................20…

…...........................................................................

Signature of data subject/ designated person

………………………………………………..			 ……………………….……….……………..

Name & Surname/Departmental Responsible Party		Signature 			 Date

SBD 6.1

PREFERENCE POINTS CLAIM FORM IN TERMS OF THE PREFERENTIAL PROCUREMENT REGULATIONS 2022

This preference form must form part of all tenders invited.  It contains general information and serves as a claim form for preference points for specific goals.

NB:	BEFORE COMPLETING THIS FORM, TENDERERS MUST STUDY THE GENERAL CONDITIONS, DEFINITIONS AND DIRECTIVES APPLICABLE IN RESPECT OF THE TENDER AND PREFERENTIAL PROCUREMENT REGULATIONS, 2022

- GENERAL CONDITIONS

  - The following preference point systems are applicable to invitations to tender:

- the 80/20 system for requirements with a Rand value of up to R50 000 000 (all applicable taxes included); and

- the 90/10 system for requirements with a Rand value above R50 000 000 (all applicable taxes included).

  - To be completed by the organ of state

(delete whichever is not applicable for this tender).

- The applicable preference point system for this tender is the 80/20 preference point system.

  - Points for this tender (even in the case of a tender for income-generating contracts) shall be awarded for:

- Price; and

- Specific Goals.

  - To be completed by the organ of state:

The maximum points for this tender are allocated as follows:

|  | POINTS |
| --- | --- |
| PRICE | 80 |
| SPECIFIC GOALS | 20 |
| Total points for Price and SPECIFIC GOALS | 100 |

  - Failure on the part of a tenderer to submit proof or documentation required in terms of this tender to claim points for specific goals with the tender, will be interpreted to mean that preference points for specific goals are not claimed.

  - The organ of state reserves the right to require of a tenderer, either before a tender is adjudicated or at any time subsequently, to substantiate any claim in regard to preferences, in any manner required by the organ of state.

- DEFINITIONS

- “Tender” means a written offer in the form determined by an organ of state in response to an invitation to provide goods or services through price quotations, competitive tendering process or any other method envisaged in legislation;

- “Price” means an amount of money tendered for goods or services, and includes all applicable taxes less all unconditional discounts;

- “Rand value” means the total estimated value of a contract in Rand, calculated at the time of bid invitation, and includes all applicable taxes;

- “Tender for income-generating contracts” means a written offer in the form determined by an organ of state in response to an invitation for the origination of income-generating contracts through any method envisaged in legislation that will result in a legal agreement between the organ of state and a third party that produces revenue for the organ of state, and includes, but is not limited to, leasing and disposal of assets and concession contracts, excluding direct sales and disposal of assets through public auctions; and

- “The Act” means the Preferential Procurement Policy Framework Act, 2000 (Act No. 5 of 2000).

- FORMULAE FOR PROCUREMENT OF GOODS AND SERVICES

  - POINTS AWARDED FOR PRICE

3.1.1   THE 80/20 OR 90/10 PREFERENCE POINT SYSTEMS

A maximum of 80 or 90 points is allocated for price on the following basis:

# 80/20	or	90/10

Ps=801-Pt-PminPmin	or	Ps=901-Pt-PminPmin

Where

Ps	=	Points scored for price of tender under consideration

Pt	=	Price of tender under consideration

Pmin	=	Price of lowest acceptable tender

  - FORMULAE FOR DISPOSAL OR LEASING OF STATE ASSETS AND INCOME GENERATING PROCUREMENT

    - POINTS AWARDED FOR PRICE

A maximum of 80 or 90 points is allocated for price on the following basis:

# 80/20	               or	            90/10

Ps=801+Pt-PmaxPmax	or	Ps=901+Pt-PmaxPmax

Where:

Ps	=	Points scored for price of tender under consideration

Pt	=	Price of tender under consideration

Pmax	=	Price of highest acceptable tender

- POINTS AWARDED FOR SPECIFIC GOALS

  - In terms of Regulation 4(2); 5(2); 6(2) and 7(2) of the Preferential Procurement Regulations, preference points must be awarded for specific goals stated in the tender. For the purposes of this tender the tenderer will be allocated points based on the goals stated in table 1 below as may be supported by proof/ documentation stated in the conditions of this tender:

  - In cases where organs of state intend to use Regulation 3(2) of the Regulations, which states that, if it is unclear whether the 80/20 or 90/10 preference point system applies, an organ of state must, in the tender documents, stipulate in the case of—

- an invitation for tender for income-generating contracts, that either the 80/20 or 90/10 preference point system will apply and that the highest acceptable tender will be used to determine the applicable preference point system; or

- any other invitation for tender, that either the 80/20 or 90/10 preference point system will apply and that the lowest acceptable tender will be used to determine the applicable preference point system,

then the organ of state must indicate the points allocated for specific goals for both the 90/10 and 80/20 preference point system.

Table 1: Specific goals for the tender and points claimed are indicated per the table below.

(Note to organs of state: Where either the 90/10 or 80/20 preference point system is applicable, corresponding points must also be indicated as such.

Note to tenderers: The tenderer must indicate how they claim points for each preference point system.)

| The specific goals allocated points in terms of this tender | Number of points allocated (80/20 system) (To be completed by the organ of state) | Number of points claimed (80/20 system) (To be completed by the tenderer) |
| --- | --- | --- |
| An EME or QSE which is at least 51% owned by black people | 5 |  |
| Located in the Province where the services will be rendered / item delivered. | 2 |  |
| An EME or QSE which is at least 51% owned by women | 7 |  |
| An EME or QSE which is at least 51% owned by youth (up to 35 years of age) | 4 |  |
| An EME or QSE which is at least 51% owned by people with disability | 2 |  |
| Total | 20 |  |

DECLARATION WITH REGARD TO COMPANY/FIRM

  - Name of company/firm…………………………………………………………………….

  - Company registration number: …………………………………………………………...

  - TYPE OF COMPANY/ FIRM

Partnership/Joint Venture / Consortium

One-person business/sole propriety

Close corporation

Public Company

Personal Liability Company

(Pty) Limited

Non-Profit Company

State Owned Company

[Tick applicable box]

  - I, the undersigned, who is duly authorised to do so on behalf of the company/firm, certify that the points claimed, based on the specific goals as advised in the tender, qualifies the company/ firm for the preference(s) shown and I acknowledge that:

- The information furnished is true and correct;

- The preference points claimed are in accordance with the General Conditions as indicated in paragraph 1 of this form;

- In the event of a contract being awarded as a result of points claimed as shown in paragraphs 1.4 and 4.2, the contractor may be required to furnish documentary proof to the satisfaction of the organ of state that the claims are correct;

- If the specific goals have been claimed or obtained on a fraudulent basis or any of the conditions of contract have not been fulfilled, the organ of state may, in addition to any other remedy it may have –

  - disqualify the person from the tendering process;

  - recover costs, losses or damages it has incurred or suffered as a result of that person’s conduct;

  - cancel the contract and claim any damages which it has suffered as a result of having to make less favourable arrangements due to such cancellation;

  - recommend that the tenderer or contractor, its shareholders and directors, or only the shareholders and directors who acted on a fraudulent basis, be restricted from obtaining business from any organ of state for a period not exceeding 10 years, after the audi alteram partem (hear the other side) rule has been applied; and

  - forward the matter for criminal prosecution, if deemed necessary.

……………………………………….

SIGNATURE(S) OF TENDERER(S)

SURNAME AND NAME:	 ……………………………………………………….

DATE:			………………………………………………………

ADDRESS:		………………………………………………………

………………………………………………………

………………………………………………………

………………………………………………………

BD 4

BIDDER’S DISCLOSURE

- PURPOSE OF THE FORM

Any person (natural or juristic) may make an offer or offers in terms of this invitation to bid. In line with the principles of transparency, accountability, impartiality, and ethics as enshrined in the Constitution of the Republic of South Africa and further expressed in various pieces of legislation, it is required for the bidder to make this declaration in respect of the details required hereunder.

Where a person/s are listed in the Register for Tender Defaulters and / or the List of Restricted Suppliers, that person will automatically be disqualified from the bid process.

- Bidder’s declaration

2.1 	Is the bidder, or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest in the enterprise,

employed by the state?						YES/NO

2.1.1	If so, furnish particulars of the names, individual identity numbers, and, if applicable, state employee numbers of sole proprietor/ directors / trustees / shareholders / members/ partners or any person having a controlling interest in the enterprise, in table below.

| Full Name | Identity Number | Name of State institution |
| --- | --- | --- |

SBD 4

  - Do you, or any person connected with the bidder, have a relationship with any person who is employed by the procuring institution?                    YES/NO

2.2.1     If so, furnish particulars:

……………………………………………………………………………………

……………………………………………………………………………………

2.3 	Does the bidder or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest in the enterprise have any interest in any other related enterprise whether or not they are bidding for this contract?				YES/NO

    - If so, furnish particulars:

…………………………………………………………………………….

…………………………………………………………………………….

- DECLARATION

I, the undersigned, (name)……………………………………………………………………. in submitting the accompanying bid, do hereby make the following statements that I certify to be true and complete in every respect:

3.1 	I have read and I understand the contents of this disclosure;

3.2	I understand that the accompanying bid will be disqualified if this disclosure is found not to be true and complete in every respect;

3.3 	The bidder has arrived at the accompanying bid independently from, and without consultation, communication, agreement or arrangement with any competitor. However, communication between partners in a joint venture or consortium will not be construed as collusive bidding.

3.4 	In addition, there have been no consultations, communications, agreements or arrangements with any competitor regarding the quality, quantity, specifications, prices, including methods, factors or formulas used to calculate prices, market allocation, the intention or decision to submit or not to submit the bid, bidding with the intention not to win the bid and conditions or delivery particulars of the products or services to which this bid invitation relates.

3.4	The terms of the accompanying bid have not been, and will not be, disclosed by the bidder, directly or indirectly, to any competitor, prior to the date and time of the official bid opening or of the awarding of the contract.

SBD 4

3.5 There have been no consultations, communications, agreements or arrangements made by the bidder with any official of the procuring institution in relation to this procurement process prior to and during the bidding process except to provide clarification on the bid submitted where so required by the institution; and the bidder was not involved in the drafting of the specifications or terms of reference for this bid.

  - I am aware that, in addition and without prejudice to any other remedy provided to combat any restrictive practices related to bids and contracts, bids that are suspicious will be reported to the Competition Commission for investigation and possible imposition of administrative penalties in terms of section 59 of the Competition Act No 89 of 1998 and or may be reported to the National Prosecuting Authority (NPA) for criminal investigation and or may be restricted from conducting business with the public sector for a period not exceeding ten (10) years in terms of the Prevention and Combating of Corrupt Activities Act No 12 of 2004 or any other applicable legislation.

I CERTIFY THAT THE INFORMATION FURNISHED IN PARAGRAPHS 1, 2 and 3 ABOVE IS CORRECT.

I ACCEPT THAT THE STATE MAY REJECT THE BID OR ACT AGAINST ME IN TERMS OF PARAGRAPH 6 OF PFMA SCM INSTRUCTION 03 OF 2021/22 ON PREVENTING AND COMBATING ABUSE IN THE SUPPLY CHAIN MANAGEMENT SYSTEM SHOULD THIS DECLARATION PROVE TO BE FALSE.

………………………………	 ..……………………………………………

Signature	                          Date

………………………………	………………………………………………

Position 		          Name of bidder

## CERTIFICATE OF TENDERER’S VISIT TO SITE

This is to certify that, I

representative of (tenderer)

of (address)

Telephone number:

Fax number:

in the company of (Employer’s Agent's representative)

visited and examined the site on (date)

I further certify that I have made myself familiar with all local conditions likely to influence the work and the cost thereof, that I am satisfied with the description of the work and the explanations given by the said Employer’s Agent's Representative and that I understand perfectly the work to be done, as specified and implied, in the execution of this contract.

TENDERER'S REPRESENTATIVE: 	(Signature)

(Name)

EMPLOYER’S AGENT'S REPRESENTATIVE:	(Signature)

(Name)

## FORM OF INTENT TO PROVIDE A PERFORMANCE GUARANTEE

[The tenderer must provide a letter from the bank or institution. with whom he has made the necessary arrangements, to the effect that the said bank or institution will be prepared to provide the required performance guarantee when asked to do so].

## KEY PERSONNEL

In terms of the Project Specification and the Conditions of Tender, unskilled workers may only be brought in from outside the local municipality if such personnel are not available locally.

The tenderer shall list below the personnel, which he intends to utilise on the Works, including key personnel, which may have to be brought in from outside if not available locally.

| EMPLOYEE SKILLS TEAM No ___ | NUMBER OF PERSONS |  |  |  |
| --- | --- | --- | --- | --- |
|  | KEY PERSONNEL, PART OF THE CONTRACTOR'S ORGANISATION | KEY PERSONNEL TO BE IMPORTED IF NOT AVAILABLE LOCALLY | UNSKILLED PERSONNEL TO BE RECRUITED FROM LOCAL COMMUNITY | YEARS EXPERIENCE |
| Director |  |  |  |  |
| Contracts Manager |  |  |  |  |
| Construction Manager |  |  |  |  |
| Skilled Worker |  |  |  |  |
| Semi-skilled Worker |  |  |  |  |
| Unskilled Worker |  |  |  |  |
| Other |  |  |  |  |
| Other |  |  |  |  |
| Other |  |  |  |  |
| Other |  |  |  |  |
| Other |  |  |  |  |

DATE 	 	   	 SIGNATURE OF TENDERER

(of person authorised to sign on behalf of the Tenderer)

CURRICULUM VITAE OF KEY PERSONNEL

| DIRECTOR |  |
| --- | --- |
| Name: | Date of birth: |
| Profession: | Nationality: |
| Qualifications: |  |
| Professional Registration Number: |  |
| Name of Employer (firm): |  |
| Current position: | Years with firm: |
| Employment Record: |  |
| Experience Record Pertinent to Required service: |  |

Certification:

I, the undersigned, certify that, to the best of my knowledge and belief, this data correctly describes my qualifications, my experience and me.

DATE 	 	   	 SIGNATURE OF DIRECTOR

DATE 	 	   	 SIGNATURE OF TENDERER

(of person authorised to sign on behalf of the Tenderer)

| CONTRACTS MANAGER |  |
| --- | --- |
| Name: | Date of birth: |
| Profession : | Nationality: |
| Qualifications : |  |
| Professional Registration Number: |  |
| Name of Employer (firm): |  |
| Current position: | Years with firm: |
| Employment Record: |  |
| Experience Record Pertinent to Required service: |  |

Certification:

I, the undersigned, certify that, to the best of my knowledge and belief, this data correctly describes my qualifications, my experience and me.

DATE	  	   	 SIGNATURE OF CONTRACTS MANAGER

DATE	  	   	 SIGNATURE OF TENDERER

(of person authorised to sign on behalf of the Tenderer)

| SITE AGENT |  |
| --- | --- |
| Name: | Date of birth: |
| Profession: | Nationality: |
| Qualifications: |  |
| Professional Registration Number: |  |
| Name of Employer (firm): |  |
| Current position: | Years with firm: |
| Employment Record: |  |
| Experience Record Pertinent to Required service: |  |

Certification:

I, the undersigned, certify that, to the best of my knowledge and belief, this data correctly describes my qualifications, my experience and me.

DATE: 	.................................... SIGNATURE OF SITE AGENT: .............................

DATE:	 	   	SIGNATURE OF TENDERER:

(of person authorised to sign on behalf of the Tenderer)

## PRELIMINARY CONSTRUCTION PROGRAM

The tenderer shall submit a preliminary program reflecting the proposed sequence and duration of the various activities comprising the work for this Contract to include the projected cash flow for each activity. The program shall be in accordance with the information supplied in the Contract, requirements of the Project Specifications and with all other aspects of his tender.

[Note: The program must be based on the completion time as specified in the Contract Data.]

| Schedule | Abbreviated description | Days per action | Cumulative project construction days |
| --- | --- | --- | --- |
| 1 | Site Establishment |  |  |
| 2 | Site clearing and levelling of site |  |  |
| 3 | Cladding off to seal the canopy around the machine area |  |  |
| 4 | Constructing mass concrete to level the uneven area and seamlessly integrate with the existing slab |  |  |
| 5 | Open a cavity on the cladding to allow the empty crates to move out. |  |  |
| 6 | Expanding the platform of the packing area by cutting the embankment further out. |  |  |
| 7 | Construction of new layer works to match existing |  |  |
| 8 | Extension of the Shed. |  |  |
| 9 | Enclosing of the Tipping Area |  |  |
| 10 | Machine/Crate Upgrade, and will be strictly overseen by DORMAS Pty Ltd. |  |  |
| 11 | Clean site and remove establishment on site |  |  |

PROPOSED CONSTRUCTION PERIOD	_______________________ WEEKS

DATE 	 	   	 SIGNATURE OF TENDERER

(of person authorised to sign on behalf of the Tenderer)

## HEALTH AND SAFETY FILE

The documentation submitted and approved following the awarding of the contract will be used to form the H&S file. The H&S file is required to be laid out in a logical manner, and documentation filed within the file is to be easily accessible. The following completed information shall be included (but not be limited to):

- The PSHSS;

- The H&S Plan;

- Appointment by Client;

- Mandatary Agreement with Client;

- Notification of construction work; Noting contract period and area

- Detailed list of Contractors with contact details, appointments, Mandataries etc.;

- Record of Competencies;

- Training Records.

- Permits;

- Method statements;

  - Asphalt Surfacing

  - Removal of Stockpiles

  - Clearing and Grubbing

  - Storm Portal Culverts

  - Subsoil Drainages

  - Stormwater drainages

  - Road Signage Installation

- Risk assessments;

  - Asphalt Surfacing

  - Removal of Stockpiles

  - Clearing and Grubbing

  - Storm Portal Culverts

  - Subsoil Drainages

  - Stormwater drainages

  - Road Signage Installation

- Safe work procedures; when required by HIRA

- Emergency and injury management;

- Safety data Sheets.

- Medical surveillance records; of proposed management

- Registers, and

- Records of audits, minutes etc.

- Plant lists

- Temporary electrical installations

- Employee records (who is on site)

  - SUPPORTING DOCUMENTATION

The following list is not absolute, and the PC is expected to assess if any further information should be submitted as supporting documentation, as it relates to the H&S plan. The inclusion of other, relevant documents is encouraged.

All documents as required by the Act and Regulations, including (but not limited to):

- Proof of registration with the Compensation Commissioner or FEMA;

- Proposed Organogram;

- Appointments under the Regulations;

- Examples of internal audits;

- Inspection registers of plant and equipment;

- Non-conformance system;

- Information relating to hazardous materials used and stored on site with SDSs;

- All Method Statements, Hazard Identification and Risk Assessments for the project;

- All Health and Safety Plans for the project;

Examples of minutes of all relevant meetings related to H&S;

- Registers for all plant and equipment

- Incident records, including investigations and results, and

- Medical certificates of fitness and medical surveillance programme.

The H&S File shall be closed out following the end of the three-year appointment.

- NON-CONFORMANCES

Should, at any time, the works, or part of the works, be stopped due to unsafe acts or non-compliance with the Clients or PCs H&S Plan; neither the PC nor any other Contractor shall have a claim for extension of time or any other compensation.

The following constitute examples of the types of non-conformances that will attract penalties:

| Minor: Penalty: R50/count | Medium: Penalty: R500/count and anon- conformance | Severe Penalty: R5000/count, a non-conformance and/or activity stoppage |
| --- | --- | --- |
| Non-use of PPE supplied | Toilets not supplied or regularly serviced; lack of drinking water | Contractors working without Health and Safety Plan approval |
| Non completion of registers For plant and equipment on site | Contractors not audited | Workers transported in contravention of the OHS plan or legal requirements |
| Lack of H&S signage at work areas | Working without training or the appropriate H&S method statements | Invalid Letters of Good Standing |
| Tools and equipment identified in poor condition during inspections | Legal non-conformances identified during the previous audit and not addressed within the agreed time frame | Non-compliance with traffic accommodation requirements: layout or physical conditions |
|  | No monthly OHS report at site meeting to report on | Fall protection harness not tied off / not worn |
|  | Working without approved method statements | Employees performing work with medical certificate of fitness allowing them to perform such activities. |
|  | Working without approved method statements | Any breach of legal requirements |

  - FAILURE TO COMPLY WITH PROVISIONS

Failure or refusal on the part of the contractor to take the necessary steps to ensure the safety of workers and the general public in accordance with these specifications or as required by statutory authorities or ordered by the Employer’s Agent or the Client’s H&S Agent, shall be sufficient cause for the Employer’s Agent to apply penalties as follows:

- A penalty as shown in the Table above shall be deducted for each and every occurrence of non- compliance with any of the requirements of the PSHSS.

- In addition, a time-related penalty of R500,00 per hour over and above the fixed penalty shall be deducted for non-compliance to rectify any non-conformance within the allowable time after a site instruction to this effect has been given by the RE or Employer’s Agent. The site instruction shall state the agreed time, which shall be the time in hours for reinstatement of the defects. Should the Contractor fails to adhere to this instruction, the time-related penalty shall be applied from the time the instruction was given.

- COVID -19 SITE SPECIFIC H&S SPECIFICATION

The information supplied was designed as an addendum to the existing site-specific health and safety specification (PSHSS) An addendum PSHSS is required for current projects to be issued to the PC on projects. The following headings and sub-headings are advised and are not exhaustive. The PSHSS is also a client document required under CR 5.

  - DEMOGRAPHICS OF LABOUR

It will be incumbent upon the PC to establish suitable and sufficient procedures for the identification of potentially infected employees and workers, the management of exposure to the corona virus on the project, including visitors and suppliers. Including a response plan for persons suspected of being infected with or exposed the virus. The procedure is to be applicable to all levels of management and supervision, employees and local labour.

As part of this procedure, the contractor is to maintain a register of all employees and workers on the project, including sub-contractor employees and workers, keeping records of the following information as a minimum (note the NIOH document that is currently available):

- Age of employee

The procedure is to take cognizance of the vulnerability of older workers and make provision for additional or more frequent screening of workers above a specified age. A certificate of fitness should be available to make the worker fit for duty and should be available on site at all times.

- Health status

A detailed record of all current and previous health conditions, specifically those identified as creating a higher risk for contracting Covid-19, to be kept for all workers. The procedure is to make provision for stringent testing procedures and management of exposure to the virus for workers with higher vulnerability due to underlying health conditions. Such records are confidential and will remain with the Occupational Health facility. A certificate of fitness must be available for each worker on site, including management and contractors.

- Socio economic status / Unskilled labour

The procedure is to consider the socio-economic status and skill level of workers, taking cognizance of the fact that these may have an impact on the worker’s level of exposure to the virus outside of

- Accommodation

Where accommodation is provided by the contractor/sub-contractor, factors to be considered in the procedure include, inter alia:

  - Density of occupants to allow for adequate social distancing (minimum 1.5m) in sleeping and dining quarters;

  - Restriction on the number of persons using the same sanitary/hygiene facilities;

  - Provision of dedicated crockery and cutlery for each occupant, together with a procedure for effective cleaning and safe storage of same and a prohibition on the sharing of utensils;

  - Dedicated facilities for safekeeping of personal belongings and abovementioned utensils for each person. Such facilities are to allow for total segregation of belongings and must be easy to sanitize. Provision of such facilities for safekeeping to be accompanied with a procedure for the use and sanitizing of the storage facility to reduce the risk of cross- contamination;

  - Facilities for accommodation provided by the contractor to have in place stringent procedures for personal hygiene, on-going maintenance of sanitizing and social distancing, and

  - Additional rules to include a prohibition on the sharing of clothing, towels and other personal belongings, as well as the laundering of clothing for multiple persons at the same time.

  - ORIGIN OF LABOUR AND TRANSPORTATION

Where a return to work will necessitate travel between provinces and cities for employees and workers to return to the project, the PC is to have a procedure for or provide transport for the return of workers to minimize the risk of exposure to the virus while in transit. While this is difficult to control by the PC, induction training needs to include such information so workers can protect themselves. Where on-site transportation is done, a policy needs to be available for how such transportation will be made safe and limit any opportunity for cross infection. If possible, the PC could provide their own transportation for their workers.

Parking areas for public and private vehicles need to be considered. Hand cleaning facilities when entering gates, doors, and security entrances.

- Public Transportation across borders/towns/cities:

  - The contractor to source/recommend a transport service provider that complies with all travel restrictions and requirements as gazetted by the government, inter alia:

  - Maximum occupancy of vehicles to allow for social distancing;

  - Vehicle sanitized before passenger’s board;

  - Passengers provided with hand sanitizer and face masks prior to boarding;

  - Vehicle sanitized before boarding, and hand sanitizer provided to passengers prior to boarding, after each stop where passengers leave the vehicle for comfort breaks, and Frequent hand sanitizing is recommended during transit.

- Contractor provided transportation across borders/towns/cities:

  - Where the contractor provides transportation across borders/towns/cities to assist workers to return to work, provision is to be made for an adequate number of vehicles to comply with the maximum occupancy as in (a) above and all such vehicles provided will be subject to the same requirements as abovementioned.

  - Since it will not be practicable to separate belongings and luggage in either instance mentioned above, the contractor’s procedures should make provision for the sanitizing of personal belongings and luggage on arrival at the final destination.

  - SOCIAL DISTANCING

Social distancing has been shown to be an effective method to slow down the spread of the corona virus. It will be incumbent on the contractor to ensure that the construction site and facilities are set up in such a way that it will be possible as far as is practicable to maintain the required social distancing of a minimum of 1 metre between persons when at work.

- Tasks that require more than 1 person to complete

Where it is not possible to maintain the required distance between workers due to the nature of the work activity, e.g., curb laying, confined working areas, rebar tying, preparing wire cages, the contractor will be required to implement, maintain and enforce a procedure to adequately protect such workers against potential infection with the corona virus. This includes but is not limited to:

- Providing adequate supplies of suitable PPE such as face masks, task specific gloves, safety glasses, disposable/additional coveralls;

- PPE used during multi-person activities to be exchanged immediately after the task is completed;

- Sealed bins to be provided for disposable PPE such as masks, disposable coveralls, disposable gloves, etc.;

- Sealable bags provided to each person for keeping PPE requiring laundering, such as

- gloves and overalls, and

- Sanitizing/washing facilities provided for immediate sanitizing of hard hats, safety glasses, shoes, safety harnesses etc. on completion of multi-person tasks.

All the above should be utilized when breaking for lunch or leaving the site, and before commencing with the next or new work activity.

- Access/Egress of Site, Welfare Facilities, Meeting Areas

The PC is to ensure there is suitable and adequate provision to minimize the risk of persons who may be infected with Covid-19 entering the site, the spread of the virus between persons who work on or visit the site and the risk of potentially contaminated persons leaving the site and accessing public spaces or going home to their families. To achieve this, the contractor is required to implement, inter alia the following measures:

- Persons accessing the site in groups to maintain social distancing of at least 1 metre while waiting to access the site;

- Persons waiting to access the site to be segregated from the public where required by the provision of dedicated, prominently identified public pedestrian walkways situated in such a way that social distancing is maintained between site personnel and the public;

- Screening of each person who enters the site with a no-touch infrared thermometer;

- Means of (fully) sanitizing each person and their belongings, who access and leave the site;

- Dedicated facilities for safekeeping of personal for each person.

- Such facilities are to allow for total segregation of belongings and must be easy to sanitize. Provision of such facilities for safekeeping to be accompanied with a procedure for the use and sanitizing of the storage facility to reduce the risk of cross-contamination;

- Toolbox talks to be conducted outdoors when possible in order for persons to maintain social distancing. Where inclement weather does not allow for this, toolbox talks to be conducted with smaller groupings of workers in a sheltered area large enough to maintain social distancing, and

- Eating areas to be set up in such a way that the maximum number of persons who will use the area at any one time are able to maintain the required social distancing of 1 metre. Should this not be practicable, meal times are to be staggered on a rotational basis to avoid contact between persons.

This guideline is not an exhaustive list and the contractor is encouraged to develop rigorous control measures and procedures to safeguard all persons accessing or working on the site against the risk of Covid-19.

Where possible remote means of monitoring such as use of drones or security cameras to monitor site conditions and to do site inspections could be considered.

  - ALCOHOL AND DRUG TESTING

Alcohol testing may only be done using single use test units, and must be disposed of in the appropriate contaminated waste. Drug testing shall only be done by an occupational health facility either using urine or blood sampling. A protocol will be drawn up by the PC to manage this with the occupational health service being used.

  - MEDICAL SURVEILLANCE

The normal requirements of pre-placement, periodic and exit medicals will remain, with the Occupational health service providing a methodology of how they will be including factors relating to Covid-19. No lung functions or peak flows will be done until deemed safe to do so by the South African Thoracic Society.

It is preferable that occupational health service providers use a cloud-based record keeping service to ensure easy tracking and tracing. Free apps such as Square 1 are such an example.

Any person who contracts the virus may need to be reported to the Compensation Commissioner as an occupational disease where their work is to monitor and in contact with others. Such details are provided in the Compensation for Injuries and Diseases Act (COIDA).

Isolation of workers who have a temperature or any symptoms, should be removed to the closest facility for testing and treatment, through the numbers provided. The PC is to ensure their policy on this includes such information.

Workers will be required to complete COVID-19 questionnaires (Screening) prior to returning to site. Any worker with any symptoms is not to return to work, or notify the PC of same.

  - ABLUTION FACILITIES

Ablution facilities are an essential facility that must be available for workers across a site. Facilities are a high-risk area and increased cleaning regimes are required to be introduced. A policy on how this will be done is required, that will cover both portable and permanent facilities. The following are considerations, which include, inter alia: Portable toilets to be provided at a 1:10 ratio:

- Cleaners to continually clean and have a formal cleaning regime

- Hand washing facilities (soap and water, paper towel) to be available where possible, and if not, to provide hand sanitizer

- Induction training to educate to ensure all users are hand washing correctly

- Flush toilets preferably 1:15 unless increased cleaning regime present;

- Restrict the number of people using toilet facilities at any one time e.g. use a welfare attendant;

- Wash hands before and after using the facilities;

- Enhance the cleaning regimes for toilet facilities particularly door handles, locks and the toilet flush;

- Portable toilets should be avoided wherever possible, but where in use these should be cleaned and emptied more frequently;

- Provide suitable and sufficient rubbish bins for hand towels with regular removal and disposal that need to be managed as hazardous waste;

- Introduce staggered start and finish times to reduce congestion and contact at all times;

- Consider increasing the number or size of facilities available on site if possible, and

- Provide suitable and sufficient rubbish bins in these areas with regular removal and disposal.

  - SECURITY ACCESS

Public access to site is to be limited at all times, and non-essential visitors are not to be allowed entry. There is required to be staggered access at all times. The following aspects are to be included in a policy document as to how such issues will be managed, inter alia:

- Staggered access to site;

- Introduce staggered start and finish times to reduce congestion and contact at all times;

- Monitor site access points to enable social distancing – consideration for the number of access points, either increase to reduce congestion or decrease to enable monitoring;

- 50-100mm deep trough to be placed at entrances to site. Disinfectant is to be placed in the trough and all shoes coming onto site or leaving site will be disinfected, without wetting shoes themselves;

- Remove or disable entry systems that require skin contact e.g. fingerprint scanners or biometric system;

- Require all workers to wash or clean their hands before entering or leaving the site;

- Ensure social distancing between people waiting to enter site;

- Regularly clean common contact surfaces in reception, office, access control and delivery areas e.g. scanners, turnstiles, screens, telephone handsets, desks, particularly during peak times;

- Reduce the number of people in attendance at site inductions and consider holding them outdoors wherever possible, and

- Drivers should remain in their vehicles if the load will allow it and must wash or clean their hands before unloading goods and materials.

  - PROCUREMENT AND STORAGE FOR COVID-19 PPE AND GENERAL SUPPLIES

- Availability of personal protective equipment PPE is an imperative and should be available at all times. Where this is not so, the work related to the activity will be stopped until adequate supplies are available.

- Storage of PPE is to be tightly controlled, with records of issue. Damaged PPE is to be managed in the usual way, but all to be disposed of as if contaminated.

  - WASTE MANAGEMENT FOR COVID-19 WASTE

Waste management arrangements to be updated to include provision for the disposal of additional waste generated due to preventative measures implemented. All waste to be managed as hazardous waste.

- Disposal of any gloves, masks

The contractor shall dispose of all used gloves and masks as hazardous waste and provide sealable bags and containers for the safe disposal of this waste.

- Paper towels

The contractor shall provide adequate supplies of paper towels on site. At points where these towels are provided lined waste bins to be placed in order to collect all used towels and then to be disposed of in hazardous waste.

- Disinfectant solution

The contractor shall provide adequate supplies of disinfectant on site where the use of water and soap for cleaning is not practical. If disinfectant dispensers are not refilled it should be disposed with other hazardous waste.

- Wastewater

If wastewater is contained in waste buckets it must be sealed when removed and disinfected after it is cleaned.

  - SIGNAGE

The PC is to review all current signs and notices displayed on site. The PC is to avoid conflicting messages/notices that have been in place prior to lockdown and review according.

- Access rules

The contractor shall install additional signage with site rules specific to the prevention of spreading the COVID-19 virus at the access control points of the site.

- Notices/Posters with protocols

Notices and posters shall be placed and installed to raise awareness and regarding protocols to be followed on site. These notices and posters shall be placed conspicuously at various points on the site including the following places:

  - Entrance

  - Site notice board

  - Site Office

  - Eating areas

  - Next to toilets and bathrooms

  - Hand washing stations

  - Storerooms

  - EMERGENCY PLANNING

An updated emergency plan is to be completed that is in line with the current Regulations of the National Disaster Management Act.

- First aid

Extra gloves and disinfectants are to be available, first aiders are to be issued with at least FFPT2 masks should they be required to respond

- Evacuation plans

Evacuation plans should consider social distancing.

- Isolation of potentially infected workers

The emergency plan is to consider how anyone who arrives on site and displays any of the symptoms, or has a raised temperature.

  - PERSONAL PROTECTIVE EQUIPMENT (PPE)

The hierarchy of control applies with the use of PPE. Specific regard for the type and usage, training and control is to be outlined in the policies and procedures.

- Masks

Masks are compulsory for all employees; personnel and professional team members, reducing the potential of inhaled COVID-19 droplets. For general administration purposes, for essential staff on site only, cloth masks may be worn. N95 masks are only to be worn by first aiders or high-risk workers, due to the national shortage thereof.

All employees to have access to N95 or FFPT2 masks when required, only in instances of HIGH RISK OF EXPOSURE Note, all N95 and FFPT2 masks have to be disposed of after one day’s use. Induction is to include training on the correct use of face masks.

Cloth face masks to be used on entering and leaving the site. It is advised that each worker is supplied with at least3 cloth face masks. This would assist ensuring that the masks are hygienic (1 on the face; 1 in the wash and 1 as abackup).

The PC must ensure that sufficient stock is at all-time available on site. This will also have depended on the type of mask being issued.

All disposable masks are biological waste and must be properly disposed of. This must be disposed in container (locked) or in bags to be either removed as medical biological waste by registered service provider.

CLEARLY IDENTIFIABLE BINS INDICATING BIOLOGICAL WASTE TO BE PROVIDED

- Face Shields

The principal contractor could also look at options such as full-face shields for preventing spreading of virus through eyes. This would assist the employee who is doing hard physical work to breathe more easily but still protecting the mouth, eyes and nose.

Face shields should be cleaned daily before the shift and at the end of the shift. Proper cleaning agents/disinfectant must be used. Face shields should be issued to employees and no sharing is allowed.

- Overalls

All employees must be issued with 3 overalls (1 overall wearing; 1 overall in the wash and one as the backup). This will ensure that the employee will be able to wear clean hygienic overalls. This must form part of the COVID-19 training for all employees.

- Hand Gloves

It is preferable that surgical gloves are not worn unless indicated and workers trained in the proper use thereof. Gloves must only be used when the activity demand the wearing of specific type of hand gloves. This will be directed by the PC risk assessment.

Site office personnel need to be made aware of the risks in the office environment, this includes to handling of documents and plans. These employees could be issued with the appropriate hand gloves or sufficient hand wash /sanitizing facilities must be available in the site office.

  - CONSEQUENCE MANAGEMENT

- Change Management

Each Principal contractor / contractors to ensure that regular information pertaining to COVID 19 and or any Health and Safety matters is distributed to ensure that required measures / controls is timeously addressed. There are various information platforms available to the Employer and or employee that can assist in keeping them informed:

  - Local Authority / Legislation

  - World Health Organizations

  - Health Care Departments / Health Care Professional’s / Centre’s / Hospitals

  - Public Service Announcements – National News

Each employer is responsible and required to keep his or her employees informed by means but not limited by conducting the following;

  - Awareness campaigns -i.e. posters within work places

  - Daily site task Inspections (DSTIs)

  - Toolbox talks / Daily briefings

  - Meetings

  - Company policies / procedures / Employee Wellbeing interaction

  - Company newsletters

  - Telecommunications – Cell phones Apps / e-mail

- Succession Planning

Employees who is performing specialize work/activities (including plant operators) must be identified. These positions must have alternative employees that could perform these activities. This could mean additional training for these employees.

Key personnel on site should also have competent alternative employees that could perform these functions when needed. Where possible, administrative staff should be working from home to limit any opportunistic exposure.

It is very important to understand that the availability of certain essential products and material may not always be available and thus proper planning must be in place to ensure that the activities on site are not interrupted. Proactive planning must be in place to ensure that the following are ordered and available:

  - PPE (cloth face masks, face shields, overalls)

  - Hand sanitizers with at least 60% alcohol content

  - Disinfectants and cleaning materials Consequences

When non-compliance activities are noted, the activity must be stopped. Should the remedial actions not take place, the site must be shut down till the corrective actions have been implemented.

Employees that do not work according to the SSHSS and SSHSP must be disciplined according to the company’s disciplinary codes and practices.

Supervisory employees on site must ensure compliance, and when non-conformances are noted disciplinary actions should also be followed.

PCs should note that they could be fined and even according to the Disaster Management Act, arrested.

  - WELFARE FACILITIES

The PC shall adapt arrangements regarding the provision of welfare facilities to be in line with Government guidelines and requirements.

- Clean, storage for food and personal belongings

The PC should provide lockable storage for all employees on site, which shall be disinfected daily. Training and awareness to address procedures and the importance of good hygiene practice.

- No personal belongings to be kept on site

Apart from extra clean personal clothing no other personal belongings allowed on site accept if kept in locker provided by the PC.

- No communal drinking facilities (shared cups etc.)

The PC must provide adequate supplies of bottled water to all employees on site. Empty bottles must be disposed of as normal waste or bottles disinfected and reused. Training and awareness to address procedures and the importance of good hygiene practice.

- Larger meeting areas/ preferably use technology (Skype, Zoom, Microsoft teams):

The PC is to limit the number of employees at all activities to the minimum required to do the work in a safe manner.

Where possible, meetings must be held in open areas limited to essential personnel. Technological alternatives should be exploited for meeting attendance if possible.

Training and awareness required to address procedures and the importance of social distancing.

- Eating areas

The PC is to limit the number of employees at all activities to the minimum. Stagger lunch breaks and resting periods for work teams. Training and awareness required to address procedures and the importance of good hygiene practice and social distancing.

Workers are required to stay on site once they have entered it and not use local shops. Dedicated eating areas should be identified on site to reduce food waste and contamination. The following guideline should be followed:

- Break times should be staggered to reduce congestion and contact at all times.

- Hand cleaning facilities or hand sanitizer should be available at the entrance of any room where people eat and should be used by workers when entering and leaving the area;

- Workers should be asked to bring pre-prepared meals and refillable drinking bottles from home;

- Social distancing to be applied whilst eating and avoid all contact;

- Where catering is provided on site, it should provide pre-prepared and wrapped food only;

- Payments should be taken by contactless card wherever possible;

- Crockery, eating utensils, cups etc. should be disposable if supplied;

- Drinking water should be provided with enhanced cleaning measures of the tap mechanism introduced;

- Tables should be cleaned and disinfected between each use;

- All rubbish should be put straight in the bin and not left for someone else to clear up;

- All areas used for eating must be thoroughly cleaned at the end of each break and shift, including chairs, door handles, vending machines and payment devices.

- MEASUREMENT AND PAYMENT

The payment items for Occupational Health & Safety are contained in Schedule C of the Bill of Quantities. The same rules are applicable in respect of the pricing of these items as for every other payment item. Attention is drawn to the Pricing Instructions in Part C2.1 of this document.

Item and Unit

#### Part C2.1

- Cost of OHS measures in terms of Construction Regulations of the Occupational Health and Safety Act. (Lump Sum (L.S))

The rate for this item must cover all expenses incurred in preparing the Contractor’s project specific Health and Safety Plan as required by the Client’s project specific Health and Safety Specification in this document for each works assignment

- Compilation and Maintenance of a Health and Safety Plan, including Risk Assessment, Safety Works Procedures and Methods Statement	(Lump Sum (L.S))

The full amount will be paid in one instalment only when the Client’s Agent has verified and approved the following

- The Principal Contractor has notified the Provincial Director of the Department of Labour in writing of the project, Annexure A to the Regulations.

- The Principal Contractor has made the required initial Appointments of Employees and Contractors.

- The Client has approved the Principal Contractor’s project Health and Safety Plan.

- The Principal Contractor has set up his Health and Safety File.

ANNEXURE A

RECORDS TO BE KEPT ON SITE

| ITEM |  | RECORD TO BE KEPT |  | RESPONSIBLE PERSON |  |
| --- | --- | --- | --- | --- | --- |
| 1. |  | Notification to Provincial Director – Annexure A - Available on site |  | Principal Contractor |  |
| 2. |  | Copy of Principal Contractor’s Health & Safety Plan - Available on request |  | Client (Consultant) |  |
| 3 |  | A Valid Letter on Good Standing in respect of Workman’s Compensation. |  |  |  |
| 4 |  | Copy of Principal Contractor’s Health & Safety Plan as well as each Subcontractor’s Health & Safety Plan - Available on request |  | Principal Contractor |  |
| 5 |  | Health & Safety File opened and kept on site (including all documentation- required in respect of the OHSA & Regulations - Available on request |  | Principal Contractor |  |
| 6. |  | Consolidated Health & Safety File handed to Client on completion of Construction work. To include all documentation required by the OHSA & Regulations. |  | Principal Contractor |  |
| 7. |  | Comprehensive and Updated List of all Contractors on site, the agreements between the parties and the work being done. |  | Principal Contractor |  |
| 8. |  | Keep record on the Health & Safety File of the input by Construction Health and Safety Officer [CR 8 (5)] |  | Principal Contractor |  |
| 9. |  | Risk Assessments, kept up to date and available on site for inspection |  | Principal Contractor |  |
| 10. |  | Proof of Health & Safety Induction Training |  | Every Employee onsite |  |
| 11. |  | Construction Supervisor CR 8 (1) |  | Principal Contractor |  |
| 12. |  | Inform Principal Contractor in writing of dangers and hazards relating to construction work |  | Designer of Structure |  |
| 13. |  | All drawings pertaining to the design of structure - Available on site for inspection |  | Principal Contractor |  |
| 14. |  | Record of inspection of the structure [First 2 years – once every 6 months, thereafter yearly] |  | Owner of Structure |  |
| 15. |  | Maintenance records – safety of structure - Available on request |  | Owner of Structure |  |
| 16. |  | Drawings pertaining to the design of formwork/support work structure - Available onsite for inspection |  | Principal Contractor |  |
| 17. |  | Record of excavation inspection. On site available on request |  | Principal Contractor |  |
| 18. |  | Suspended Platform inspection and performance test records. Kept on site available on request |  | Principal Contractor |  |
| 19. |  | Material Hoist daily inspection entered and signed in record book kept on the premises |  | Principal Contractor |  |
| 20. |  | Maintenance records for Material Hoist. Available on site |  | Principal |  |
|  |  | Contractor |  |
| 21. | Records of Batch Plant maintenance and repairs. On site available for inspection | Principal Contractor |  |
| 22. | Issuing and collection of cartridges and nails or studs (Explosive Powered Tools) recorded in register – recipient signed for receipt as well as return | Principal Contractor |  |
| 23. | Findings of daily inspections (prior to use) of Construction Vehicles and Mobile Plant | Principal Contractor |  |
| 24 | Record of temporary electrical installation inspections [once a week] and electrical machinery [daily before use] in a register and kept on site | Principal Contractor |  |
| 25 | Copies of all appointments made in regard to safety supervisors and inspectors | Principal Contractor |  |
| 26 | Record of safety inspections on equipment using radioactive materials. | Principal Contractor |  |
| 27 | Any other records as required by the Client or his OHS Agent |  |  |

ANNEXURE B

CLOSE-OUT REQUIREMENTS

The H&S files for the Principal Contractors and all Contractors require closure and handover to the Client at the completion of the project. The following list is an example of what should be included but is not exhaustive. The OHS Agent or the Client may require further information at the time of completion and the Principal Contractor is to ensure that all instructions are met. Documentation would include all records from the start of the project. Daily or monthly plant inspection records are not required unless they are related to an accident. All records to be in electronic format and submitted to the OHS agent for approval in adequately formatted lists and folders. Layout should be logical and in the same order as in the site files.

- Health and Safety close out file requirements include:

- Client H&S Specification

- Principal Contractor’s OHS Plan(s)

- Organograms

- Legal Appointments

- Notification to Department of Labour of commencement of work

- Letters of Good Standing for the Project

- Full files for all Contractors as well as their close out reports

  - List of Contractors

  - Letters of Approval of Contractors

  - Mandatary Agreements

  - Letters of Good Standing

  - Appointments

- Incident Records

- Non- Conformance records

- Agent’s Audits

- Method Statements

- Risk assessments

- Safe work procedures

- Medical surveillance certificates of fitness. Medical records are to be kept according to the OH&S Act as amended.

- All drawings for temporary structures {if required during contract} (suspended beams/scaffolds etc)

- Copies of test results, policies and procedures for environmental monitoring (silica, noise, dusts etc.)

- Traffic management records and photographs,

- Defect and Liability Period

The H&S files are to be kept ‘live’ for the defect and liability period by the Principal Contractor, including those of their Contractors. Any work required during the defect and liability period will require an assessment of the H&S file by the OH&S Agent prior to any work commencing.

A copy of the as-built Drawings is to be placed on file by the Designers once complete.

ANNEXURE C

NON-CONFORMAMCES

| Non-Conformance Report |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Reference Number: |  |  | Date: |  |  |  |  |
| Issued to: |  |  | From: |  |  |  |  |
| Due to: | Non- Conformance | Audit Finding | Hazard |  | Complaint | Spill |  |
| Incident Description |  |  |  |  |  |  |  |
| Root-cause Analysis / Investigation Findings |  |  |  |  |  |  |  |
| Why: Why: Why: Why: Why: |  |  |  |  |  |  |  |
| Corrective Action |  |  |  |  |  |  |  |
| Action |  |  |  | Responsible Person |  |  | Due Date |
| Preventive Action |  |  |  |  |  |  |  |
| Action |  |  |  | Responsible Person |  |  | Due Date |
| Signature of RE |  |  |  |  |  |  |  |
| Signature of H&S Officer/Site Agent |  |  |  |  |  |  |  |
| Signature: of H&S Agent |  |  |  |  |  |  |  |

## BASELINE RISK ASSESSMENT

| Client Name: |  |  | RURAL DEVELOPMENT AND AGRARIAN REFORM |  |  | Title of Assessment: |  |  |  | CIVIL & BULIDING WORKS | Document No: |  | ILLHSEC-01-2023 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Risk Assessor: |  |  | Sibabalwe Nwelende (ILIZWE LETHU HSE CONSULTANTS) |  |  | Assessment No: |  |  |  | ILLHSEC-DRDAR-RISK002 | Revision No: |  | 01 |  |
| Project Name/Number: |  |  | CITRUS PACKLINE MODIFICATION AND CIVIL DESIGN OF A STORAGE FACILITY |  |  | Work Section |  |  |  | NGQUSHWA LOCAL MUNICIPALITY | Date Released: |  | 23-Feb-24 |  |
|  |  |  |  |  | HAZARD IDENTIFICATION RISK ASSESSMENT |  |  |  |  |  |  |  |  |  |
| Std PPE: Protective eye wear, Hard hat, Protective jacket, Safety Shoes, Harness, Gloves to be worn or used when performing activities. |  |  |  |  |  |  |  |  |  |  | low | med | high |  |
|  |  |  |  |  |  |  |  |  |  |  | 1 | 4 | 12 |  |
| Risk Rating multiplier: Low = 1; Medium = 2; High = 3 |  |  |  |  |  |  |  |  |  |  | 2 | 6 | 18 |  |
|  |  |  |  |  |  |  |  |  |  |  | 3 | 8 | 27 |  |
|  |  |  |  |  |  | Baseline Risk |  |  |  |  | Residual Risk |  |  |  |
| No | Activity | Task | Hazards | S/H/E | Consequence Risks | Likely consequences of an accident | Frequency of Exposure | Probability of harm | Risk Rating and risk category | Control measures necessary/Redesign | Likely consequences of an accident | Frequency of Exposure | Probability of harm | Risk Rating and risk category |
| 1 | Site Identification & Establishment | Identification of Site | Incorrectly identifying site and establishing in an environmental sensitive area. | E | Site establishment done in a environmental sensitive area that is not meant to have any establishment or structure without obtaining the relevant permits or licenses might result into fines issued by the local authority. | 3 | 3 | 3 | 27 | The employer (Client) must appoint a competent ECO before establishment to get guidance or advice on the sensitivity of the site area. | 1 | 2 | 1 | 2 |
|  |  | Establishment | Establishing site close to houses and a public area. | E | Site establishment that is done close to houses might cause a negative noise impact to nearby households as the site machinery might be noisy. | 3 | 2 | 3 | 18 | Site establishment should be done far from houses or the public were practical. The employer should ensure that plant and machinery don’t exceed the recommend noise levels for that particular site area. | 1 | 1 | 1 | 1 |
|  |  |  | Establishing site close to a busy road intersection. | S | Establishing site on busy roads could also affect traffic flow if the site is established close to a busy intersection of the road, as there will be mobile plant coming in and out of the site office. | 3 | 2 | 3 | 18 | Site should be established far from houses and should not be established close to road intersections. | 1 | 2 | 1 | 2 |
|  |  | Project Mobilization of Plant and Equipment | Poor / unsafe offloading practices | S | Load falling on employees | 3 | 3 | 2 | 18 | Method statement / safe operating procedure to be in place for offloading plant and equipment. - To be communicated to employees. - Employees to stand clear of offloading operations | 1 | 2 | 2 | 4 |
|  |  |  | Operators under the influence of Alcohol or other substances while transporting machinery and equipment to site establishment area. |  | Accident causing property damage Serious Injuries or Fatalities | 3 | 3 | 3 | 27 | Company substance abuse / alcohol policy to be available and implemented by communicating the policy to all employees. | 1 | 2 | 1 | 2 |
|  |  |  | Pedestrians / public passing by |  | Pedestrians / public hit by plant and machinery | 3 | 2 | 3 | 18 | Camp area to be fenced off to prevent unauthorised entry. - Unauthorised and general warning signs to be displayed. | 2 | 1 | 1 | 2 |
|  |  |  | Theft of material, equipment and machinery |  | Project interruption | 3 | 3 | 3 | 27 | - Project program to be compiled to prevent machinery and equipment to be left unattended. - Security to be implemented. | 1 | 2 | 1 | 2 |

|  |  | Setting up Camp & Storage Facilities | Abnormal load | S | Accident | 3 | 3 | 3 | 27 | - Special arrangements to be made for abnormal loads. - Abnormal load signage to be displayed on trucks if applicable. - Valid driver’s licence of driver. | 2 | 2 | 2 | 8 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Containers placed on uneven surfaces |  | Property damage | 3 | 3 | 2 | 18 | Containers / offices to be placed on level surface. | 2 | 1 | 1 | 2 |
|  |  |  | Using defective / incorrect equipment to offload containers |  | Load falling on employees | 3 | 2 | 2 | 12 | - Lifting equipment to be load tested. - Load test certificates to be available. - Lifting equipment to be placed on register and inspected on a monthly basis. - Employees to stand clear of lifting operations and no employees allowed underneath suspended loads. | 2 | 1 | 1 | 2 |
|  |  |  | Sub-standard housekeeping |  | Incidents / accidents | 3 | 2 | 3 | 18 | - High standards of housekeeping to be maintained. - Stacking and storage supervisor to be appointed in writing. - Monthly inspections to be conducted on stacking and storing on site. | 2 | 1 | 1 | 2 |
|  |  | Installation of Temporary Services | Incompetent person conducting installation | S | Property damage | 3 | 2 | 2 | 12 | Competent / registered electrician to conduct temporary electrical installations. - Electrical COC to be issued and kept on H&S file. | 2 | 1 | 1 | 2 |
|  |  |  | Incorrect location / layout plan |  | Electrocution | 2 | 3 | 3 | 18 |  | 2 | 2 | 1 | 4 |
|  |  | Clearing and Grubbing | Poor visibility | S | Incident / Accident | 3 | 3 | 3 | 27 | - Pre-start inspections to be conducted - Windscreens to be kept clean - Occupational medicals to be conducted to ensure operator has good eye sight | 2 | 1 | 2 | 4 |
|  |  |  | Collision |  | Property Damage & Incident / Accident / Fatality | 3 | 3 | 3 | 27 | - Speed limit to be adhered to - Occupational medical to be available - Proper supervision | 1 | 2 | 1 | 2 |
|  |  |  | Excessive Dust | H | Occupational Illness | 3 | 3 | 3 | 27 | Water Truck to be used to spray working areas in order to suppress dust | 2 | 1 | 1 | 2 |
| 2 | Earthworks (Excavations) | Operation Mobile Plan | Incompetent Mobile Plant Operators | S | Site clearance done incompetent mobile plant operators might result into property damage and injuries due to accident caused by incompetent operators operating plant. | 3 | 3 | 3 | 27 | All mobile plant operators must be trained and be competent to operate. They should all be legally appointed as required by the legislation. | 1 | 2 | 2 | 4 |
|  |  | Open Excavations | Earth works 2m deep and are left open with not barricading | S | Employees and the general public are at a risk of falling into excavations that are left unattended and these might be filled with water when it rains and children might Drown. | 3 | 3 | 3 | 27 | All open excavations that are 2m deep must be barricaded or worked on and closed same day. | 2 | 2 | 1 | 4 |
|  |  | Excavate by Machinery | Operating next to excavation edge / placing excavated material next to excavation | S | Collapse of trench / excavation (sides caving in) | 3 | 3 | 3 | 27 | - Ground stability to be tested in case of deep excavations - Excavated material to be placed away from excavation edge - Operator to be competent | 2 | 2 | 1 | 4 |

| 3 | Working near services | Backfilling | Employees standing too close to machinery | S | Bumping / hitting employee with bucket of machine causing serious injury | 2 | 3 | 2 | 12 | - Employees to stand clear of machinery in operation | 2 | 1 | 1 | 2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Striking overhead electrical cables | S | Electrocution | 2 | 3 | 2 | 12 | - Contractor to refer to design drawings indicating underground power lines and to plan accordingly. - Prestart checklist - Operator authorised, competent and medically fit - Machinery may not exceed height of overhead power lines - Supervision - Banks men/Spotter checking plant height | 2 | 1 | 1 | 2 |
|  |  | Offloading material from truck near overhead power lines | Overhead power lines knocked over | S | Legal Liability Claims | 2 | 3 | 3 | 18 |  | 1 | 2 | 1 | 2 |
|  |  |  | Damaging power lines | S | Property damage | 2 | 2 | 2 | 8 |  | 2 | 2 | 1 | 4 |
| 4 | Scaffold work | Scaffold Erection | Incorrect erection of scaffolding | S | Collapse of scaffold causing serious injury or fatality | 3 | 2 | 2 | 12 | - Scaffolding to be erected by a competent scaffold erector, appointed in writing - Scaffolding to be inspected by a competent person, appointed in writing. Inspections to be done daily and recorded in writing - Scaffolding to be erected in accordance with SANS 10085 | 1 | 2 | 2 | 4 |
|  |  | Working on scaffolding inside of pump station | Falling from heights | S | Serious injury / fatality | 3 | 3 | 3 | 27 | - Employees to be issued with specific safety harnesses for the specified work - Safety harnesses to be worn by employees whilst working on scaffolding and to be hooked to scaffold / anchor points. - Safety harnesses to be in good condition, on register | 2 | 1 | 2 | 4 |
|  |  |  | Scaffold collapsing | S | Serious injury / fatality | 2 | 3 | 2 | 12 | - Scaffolding to be erected by a competent scaffold erector, appointed in writing - Scaffolding to be inspected by a competent person, appointed in writing. Inspections to be done daily and recorded in writing - Scaffolding to be erected in accordance with SANS 10085 - Scaffold to be anchored / erected in such a way to prevent collapse. | 1 | 2 | 2 | 4 |
|  |  |  | Falling tools and equipment | S | Head injury | 3 | 2 | 3 | 18 | - Tools and equipment may not be placed on edge of platform boards. - Lifting and lowering of tools must be done properly in a bucket with a rope and no tools may be thrown from heights. | 2 | 2 | 1 | 4 |
|  |  | Disassemble scaffolding | Falling from heights | S | Serious injury / fatality | 2 | 3 | 3 | 18 | - Scaffolding to be disassembled under proper supervision (construction work supervisor / scaffold supervisor) - To be disassembled from top to bottom - Employees to wear safety harnesses | 2 | 2 | 1 | 4 |
| 5 | Working at heights | Edge Work | Falling off edges |  | Major injuries (fractures) & Fatalities | 3 | 3 | 3 | 27 | - Edge protection to be in place. - Employees working near edges to wear safety lanyards to prevent them from falling over edge | 1 | 2 | 1 | 2 |
|  |  | Openings | Falling into openings |  | Major injuries (fractures) & Fatalities | 3 | 3 | 3 | 27 | - All openings to be covered. - Employees working near openings to wear safety lanyards to prevent them from falling into openings | 2 | 1 | 1 | 2 |

| 6 | Operating Mobile Plants | Operating | Incompetent operators | S | Incompetent operators operating plant would cause incidents due to lack of skill. Loss of property and injuries. | 3 | 3 | 3 | 27 | Operators should under no circumstance operate mobile plant without competency. The employer should ensure that all operators are competent before being assumed to operational duties. | 1 | 1 | 1 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Operating mobile under the influence | S | Mobile operators operating mobile plants under the influence of alcohol would cause incidents that would lead to injuries, loss of property or property and fatalities. | 3 | 3 | 3 | 27 | All operators should be inducted and trained on the substance abuse policy. The employer should enforce voluntary alcohol testing within the work place | 1 | 2 | 2 | 4 |
| 7 | Staff Vehicles and Transportation to work | Transportation of stuff | Overloading Staff Vehicles. Unlicensed drivers. Transporting employees on open bakkies. | S | Overloading of Staff vehicles might lead to traffic fines and ergonomic stress to employees. Driving of staff vehicles by unlicensed drivers might lead to accidents on the roads resulting into injuries and fatalities. Transporting employees on open vehicles that are not suitable for transportation of employees will result into incident that would result into falling of employees which would result into disabling injuries or fatalities. | 3 | 3 | 3 | 27 | Only two employees must be allowed in the front seat of a small Construction vehicle. Construction 15 Seater Mini Buses must carry a maximum of 15 employees. Employees transported by trucks must only be seated in front and there must be 2 employees and a driver. Under no circumstances should employees be transported on an open vehicle that is not designated to transport passengers. | 2 | 1 | 1 | 2 |
| 8 | Working in Confined Spaces |  | Employees exposed to sewer smell inside manholes | H | Employees working inside smelly sewer manholes would be exposed uncomfortable smell that would trigger nausea, shortness of breath and headaches | 3 | 3 | 2 | 18 | Employer to ensure that confirmed spaces are properly ventilated using other means of ventilation Employees should only work on confined species when wearing correct PPE. | 1 | 2 | 1 | 2 |
| 9 | Medical Surveillance | Commencement of works | Employees without Medical fitness test. | H | Employees working without medicals might be assigned to jobs or activities that they are not fit to do/perform. Employees working without medical might trigger liability claims. The employer will not be fully aware of the condition he/she is employing that particular employee with. | 3 | 3 | 2 | 18 | All employees should undergo medical surveillance before commencing with works. No employee shall be allowed at work without undergoing medical surveillance | 1 | 1 | 1 | 1 |
| 10 | Manual handling of tools (Hand and Portable electrical Tools) | Handling | Improper handling and incorrect use of manual tools | S | Improper handling and incorrect use of manual tools might lead injuries | 2 | 3 | 3 | 18 | Employees need to be trained on the correct use of Manual tools and portable electrical tools. No employee must use any of these tools without proper training on how to use the tools | 1 | 2 | 1 | 2 |
| 11 | Use of Portable electrical equipment | Construction Activities | Use of faulty or defective portable electrical equipment. | S | Using any faulty portable electrical equipment might results into electrocution that might lead into injuries and fatalities | 3 | 3 | 3 | 27 | All portable electrical equipment must be inspected before use. Defective and faulty equipment must under no circumstances be used on site. | 1 | 1 | 1 | 1 |
| 12 | Hazardous Chemical Agents | Handling | Incorrect handling |  | Skin irritation | 3 | 2 | 2 | 12 | - MSDS’s to be available - MSDS’s to be communicated to all employees handling HCA - Task specific training | 2 | 2 | 2 | 8 |
|  |  |  | Exposed to HCA |  | Occupational Illness or Disease | 2 | 3 | 3 | 18 |  | 1 | 2 | 2 | 4 |

|  |  |  | Not trained to work with HCA |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 13 | Stacking & Storage | Stacking and storage of material and equipment | Sub-standard stacking and storing practices |  | Collapsing of stacked / stored material causing serious injuries | 2 | 3 | 3 | 18 | - Stacking and storage supervisor to be appointed in writing. - Monthly inspections to be conducted on stacking and storing on site | 2 | 1 | 2 | 4 |
| 14 | Hot works | Gas Welding & Cutting | Incorrect storage of gas cylinders |  | Sudden release of pressurised gas | 2 | 3 | 3 | 18 | - Gas cylinders to be stored in accordance with requirements. TO be stored in a designated area. Gas cylinders to be chained. | 2 | 1 | 1 | 2 |
|  |  |  | Hot surfaces |  | Burns | 3 | 3 | 3 | 27 | - Task specific training to be conducted on employees conducting hot works. - Competent First aider and box to be readily available on site. - Employees to wear the relevant PPE, e.g. welding helmet, apron, welding gloves etc. | 2 | 2 | 1 | 4 |
|  |  |  | Fire hazard |  | Explosion | 3 | 2 | 2 | 12 | - Designated smoking area to be established. No smoking near hot work activities. - Gas cylinders to be secured at all times. | 1 | 3 | 2 | 6 |
|  |  |  | No flashback arrestors |  | Explosion | 3 | 3 | 3 | 27 | - Gas welding equipment to be in accordance with requirements. - Flashback arrestors to be fitted to gas welding | 2 | 3 | 1 | 6 |
|  |  | Electrical Welding & Cutting | Incompetent person operating welding machine |  | Incident / Accident | 3 | 2 | 2 | 12 | - Task specific training to be conducted. - Competency to be available and person to be appointed in writing | 2 | 2 | 1 | 4 |
|  |  |  | Not wearing a welding helmet |  | Sparks in face / Arc eyes | 2 | 2 | 2 | 8 | - Welding helmet to be issued to persons conducting welding. - Employees conducting welding, to wear the relevant PPE, e.g. welding helmet, apron, welding gloves etc. | 1 | 2 | 1 | 2 |
|  |  |  | Exposed electrical wiring |  | Electrocution | 3 | 2 | 3 | 18 | - Monthly inspections to be conducted on electrical arc welding machine and deviations to be recorded and reported. | 1 | 2 | 1 | 2 |
| 15 | Electrical Works | Installation of Electrical Cables | Exposure to live electricity |  | Electrocution | 3 | 2 | 3 | 18 | - Electrical source to be isolated when conducting installation work - Competent and registered electrician to conduct the electrical installation work - Occupational medical to be available | 1 | 2 | 1 | 2 |
|  |  |  | Incompetent person conducting electrical installations |  | Project interruption | 2 | 2 | 2 | 8 |  | 1 | 2 | 1 | 2 |
|  |  | Connecting of electricity to existing systems | Exposure to live electricity |  | Electrocution | 3 | 2 | 3 | 18 | - Electrical source to be isolated when conducting installation work - Competent and registered electrician to conduct the electrical installation work - Occupational medical to be available | 1 | 2 | 1 | 2 |
|  |  |  | Incompetent person conducting electrical connection |  | Project interruption | 2 | 2 | 2 | 8 |  | 1 | 2 | 1 | 2 |
|  |  |  | Using electrical equipment in wet areas or outside in wet conditions |  | Electrocution | 3 | 2 | 3 | 18 | - Electrical equipment may not be used in wet areas or wet conditions - Task specific training | 2 | 1 | 1 | 2 |
|  |  |  | Overloaded power-points |  | Fire risk | 3 | 2 | 3 | 18 | - Competent and registered electrician to conduct the electrical installation work - Fire equipment to be readily available | 3 | 1 | 1 | 3 |
|  |  |  | Trailing cables from static equipment |  | Short circuit | 3 | 3 | 3 | 27 | - Antistatic PPE | 2 | 2 | 1 | 4 |

|  |  | Commissioning of Electrical System | and whilst using portable electrical equipment |  | Fire Risk | 3 | 2 | 3 | 18 | - Competent and registered electrician to conduct the electrical installation work - Fire equipment to be readily available | 2 | 1 | 2 | 4 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Faulty cables |  | Electrocution | 3 | 3 | 3 | 27 | - Electrical source to be isolated - Competent and registered electrician to conduct the electrical installation work - Occupational medical to be available | 2 | 1 | 2 | 4 |
|  |  |  |  |  | Short circuit | 3 | 2 | 3 | 18 | - Antistatic PPE | 2 | 1 | 1 | 2 |
|  |  |  |  |  | Fire Risk | 3 | 2 | 3 | 18 | - Competent and registered electrician to conduct the electrical installation work - Fire equipment to be readily available | 2 | 1 | 2 | 4 |
| 16 | Concrete Works | Steel Fixing | Tripping hazards |  | Bodily injuries / sprains and strains | 3 | 3 | 3 | 27 | - High standards of stacking and storage to be maintained on site - Task specific training to employees involved with steel fixing - Monthly register checklist on hand tools to be conducted | 1 | 2 | 1 | 2 |
|  |  |  | Using unsafe hand tools |  | Injuries | 3 | 3 | 3 | 27 |  | 2 | 2 | 1 | 4 |
|  |  | Ready-Mix | Unauthorised personnel pouring concrete |  | Injuries | 3 | 3 | 3 | 27 | - Occupational medical certificate of operator to be available - First aid to be on site at all times - Workers to always wear correct PPE - Workers working with vibration equipment must ensure they have firm footing - Concrete truck driver to ensure that the handbrake is secured to prevent truck from running out of control. - Task Specific Training | 2 | 2 | 1 | 4 |
|  |  |  | Concrete truck running over personnel, equipment or material |  | Fatalities | 3 | 3 | 3 | 27 |  | 2 | 1 | 2 | 4 |
|  |  |  |  |  | Property damage | 2 | 3 | 1 | 6 |  | 1 | 2 | 1 | 2 |
|  |  |  |  |  | Project interruption | 3 | 2 | 3 | 18 |  | 1 | 1 | 2 | 2 |
|  |  | On Site Mixing | Exposed moving parts |  | Loss of limb | 3 | 3 | 2 | 18 | - All moving parts of concrete mixer to be guarded - Correct PPE to be worn by employees operating concrete mixer | 2 | 1 | 1 | 2 |
|  |  |  | Excessive concrete dust |  | Occupational Illness or Disease | 3 | 3 | 3 | 27 |  | 2 | 2 | 2 | 8 |
|  |  |  | Using Concrete Pump |  | Injuries | 3 | 2 | 3 | 18 | - Workers to always stand clear from pump movements | 1 | 2 | 1 | 2 |
|  |  | Brick Work & Plastering | Working with cement without proper PPE | H | Might lead to Dermatitis | 3 | 3 | 3 | 27 | - Safety gloves to be worn by employees working with cement | 2 | 2 | 2 | 8 |
|  |  |  | Incorrectly handling bricks |  | Hand injuries | 3 | 2 | 3 | 18 | - Safety gloves to be worn by employees handling bricks | 1 | 2 | 2 | 4 |
|  |  |  | Working at height |  | Employees falling from heights causing serious injuries of fatality | 3 | 3 | 2 | 18 | - Employees conducting brickwork at heights to follow the correct procedures. - Scaffolding to be erected in accordance with SANS 10085 - Safety harnesses to be worn when working at heights | 2 | 2 | 1 | 4 |
|  |  |  | Falling objects (bricks, tools, etc.) |  | Head injuries | 2 | 3 | 2 | 12 | - Overhead work to be barricaded - Signage to be displayed - Head protection to be worn by employees where falling objects poses a hazard | 2 | 1 | 2 | 4 |
|  |  | Electrical Work | Exposed to live electricity while installing plugs, light fittings, etc. |  | Electrocution | 3 | 2 | 3 | 18 | - Electrical source to be isolated when installing and connecting electrical plugs, etc. - To be done by a competent electrician | 1 | 1 | 2 | 2 |

| Plumbing Works | Working at heights while installing gutters and downpipes |  | Employees falling from heights causing serious injuries of fatality | 3 | 3 | 2 | 18 | - Employees conducting plumbing work at heights to follow the correct procedures. - Scaffolding to be erected in accordance with SANS 10085 - Safety harnesses to be worn | 1 | 2 | 1 | 2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Falling objects |  | Head injuries | 3 | 3 | 3 | 27 | - Overhead work to be barricaded - Signage to be displayed - Head protection to be worn by employees where falling objects poses a hazard | 1 | 2 | 2 | 4 |
|  | Manual handling of material |  | Injuries | 3 | 2 | 2 | 12 | - Task specific training to be provided to employees. - Ergonomically risks | 2 | 1 | 1 | 2 |
|  | Using unsafe hand tools |  | Injuries | 3 | 2 | 2 | 12 | - Hand tools and equipment to be inspected on a monthly basis and deviations to be recorded and reported | 1 | 2 | 1 | 2 |
|  | Substandard housekeeping |  | Injuries | 3 | 2 | 2 | 12 | - High standards of housekeeping to be maintained on site - Stacking and storage inspections to be conducted on a regular (monthly) basis | 2 | 1 | 1 | 2 |
| Roof Works | Tripping over obstacles and objects |  | Injuries | 3 | 3 | 3 | 27 | - High standards of housekeeping to be maintained - Stacking and storing inspections to be conducted on a monthly basis | 2 | 1 | 1 | 2 |
|  | Manual handling of material |  | Injuries | 3 | 2 | 3 | 18 | - Task specific training to be provided to employees. - Ergonomically risks to be taken into account | 2 | 1 | 1 | 2 |
|  | Manual lifting of material while working at heights |  | Employees falling from heights causing serious injuries of fatality | 2 | 2 | 3 | 12 | - Employees conducting roof work to follow the correct procedures. - Scaffolding to be erected in accordance with SANS 10085 - Safety harnesses to be worn when working at heights | 1 | 1 | 2 | 2 |
|  | Employees conducting work under overhead work |  | Falling objects causing head injuries / bodily injuries | 3 | 3 | 2 | 18 | - Overhead work to be barricaded - Signage to be displayed - Head protection to be worn by employees where falling objects poses a hazard | 2 | 2 | 1 | 4 |
|  | Scaffolding use to access the roof work poorly erected |  | Fall from heights / fatality | 3 | 3 | 3 | 27 | - Competent Scaffold Erector and Inspector to be appointed in writing - Roof work / | 2 | 3 | 1 | 6 |
|  | Working at heights |  | Employees falling from heights causing serious injuries of fatality | 3 | 2 | 2 | 12 | Employees conducting roof work to follow the correct procedures. - Scaffolding to be erected in accordance with SANS 10085 - Safety harnesses to be worn when working at heights | 2 | 1 | 1 | 2 |
| Interior & Finishing | Manual handling of glass |  | Injuries | 3 | 2 | 3 | 18 | - Task specific training to be provided to employees. - Ergonomically risks to be taken into account | 1 | 1 | 2 | 2 |

17	Building Works

|  |  | Work | Using unsafe hand tools |  | Injuries | 3 | 3 | 2 | 18 | - Hand tools and equipment to be inspected on a monthly basis and deviations to be recorded and reported | 2 | 1 | 1 | 2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Glass Work | Manual handling of glass |  | Injuries (cuts / lacerations) | 2 | 2 | 3 | 12 | - Task specific training to be provided to employees. - Ergonomically risks to be taken into account | 1 | 1 | 2 | 2 |
|  |  |  | Using unsafe hand tools |  | Cuts and Bruises | 3 | 3 | 3 | 27 | - Hand tools and equipment to be inspected on a monthly basis and deviations to be recorded and reported | 2 | 1 | 2 | 4 |
|  |  | Removal of existing roof coverings and installation of new roof coverings | Tripping over obstacles and objects |  | Cuts & Bruises | 3 | 3 | 3 | 27 | - High standards of housekeeping to be maintained - Stacking and storing inspections to be conducted on a monthly basis | 2 | 2 | 1 | 4 |
|  |  |  | Manual handling of material |  | Cuts & Bruises | 2 | 2 | 3 | 12 | - Task specific training to be provided to employees. - Ergonomic risks to be taken into account | 1 | 1 | 2 | 2 |
|  |  |  | Manual lifting of material while working at heights |  | Employees falling from heights causing serious injuries of fatality | 2 | 3 | 2 | 12 | - Employees conducting roof work to follow the correct procedures. - Scaffolding to be erected in accordance with SANS 10085 - Safety harnesses to be worn when working at heights | 2 | 1 | 1 | 2 |
|  |  |  | Employees conducting work under overhead work |  | Falling objects causing head injuries / bodily injuries | 3 | 2 | 3 | 18 | - Overhead work to be barricaded - Signage to be displayed - Head protection to be worn by employees | 1 | 1 | 2 | 2 |
|  |  |  | Scaffolding use to access the roof work poorly erected |  | Fall from heights / fatality | 3 | 3 | 3 | 27 | - Competent Scaffold Erector and Inspector to be appointed in writing - Roof work / scaffold work to be supervised | 1 | 2 | 1 | 2 |
|  |  |  | Working at heights |  | Employees falling from heights causing serious injuries of fatality | 3 | 2 | 3 | 18 | - All employees working at heights to be declared fit for work at heights. - Scaffolding to be erected in accordance with SANS 10085 - Safety harnesses to be worn when working at heights. - Anchor points to be installed and retractable lifelines and / or similar devices to be used when conducting roof works | 1 | 2 | 1 | 2 |
| 18 | Glass work and Windows | Replacing windows, etc. | Manual handling of glass |  | Injuries (cuts / lacerations) | 3 | 2 | 3 | 18 | - Task specific training to be provided to employees. - Ergonomically risks to be taken into account | 1 | 2 | 2 | 4 |
|  |  |  | Using unsafe hand tools |  | Injuries (cuts / lacerations) | 3 | 2 | 3 | 18 | - Hand tools and equipment to be inspected on a monthly basis and deviations to be recorded and reported | 1 | 2 | 2 | 4 |
|  |  | Using unsafe hand tools | Manual handling of glass |  | Injuries (cuts / lacerations) | 3 | 2 | 3 | 18 | - Ergonomically risks to be taken into account | 1 | 2 | 2 | 4 |
|  |  |  | Using unsafe hand tools |  | Injuries (cuts / lacerations) | 3 | 2 | 3 |  | - Hand tools and equipment to be inspected on a monthly basis and deviations to be recorded and reported | 1 | 2 | 2 | 4 |

| 19 | Backfilling |  | Improper backfilling of complete structures correctly. | S | Complete structures that are improper backed filled would lead to tripping an falling hazards and that would lead to injuries and fatalities. Open excavations that are not fully backfilled could be filled with water on rainy seasons and would cause a risk of drowning for the public which would lead to fatalities. | 3 | 3 | 3 | 27 | Contractor to ensure that all complete structures are fully an properly backfilled. | 2 | 1 | 1 | 2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Risk Assessor:	Approval

23/02/2024

DATE

## signature

## ALTERATIONS BY TENDERER

Should the tenderer desire to make any departure or modification to the General Conditions of Contract, Special Conditions of Contract, Specifications, Schedule of Quantities or Drawings, or to qualify his tender in any way, he shall set out his proposals clearly hereunder, or alternatively, state them in a covering letter attached to his tender and referred to hereunder, failing which the tender will be deemed to be unqualified.

| PAGE | CLAUSE OR ITEM | DESCRIPTION |
| --- | --- | --- |

DATE	  	   	 SIGNATURE OF TENDERER

(of person authorised to sign on behalf of the tenderer

## CONTRACTORS HEALTH AND SAFETY DECLARATION

In terms of Clause 5(1)(h) of the OHSA 1993 Construction Regulations 2014 (referred to as "the Regulations" hereafter), a Contractor may only be appointed to perform construction work if the Employer is satisfied that the Contractor has the necessary competencies and resources to carry out the work safely in accordance with the Occupational Health and Safety Act No 85 of 1993 and the OHSA 1993 Construction Regulations 2014.

To that effect a person duly authorised by the tenderer must complete and sign the declaration hereafter in detail.

Declaration by Tenderer

1.	I the undersigned hereby declare and confirm that I am fully conversant with the Occupational Health and Safety Act No 85 of 1993 (as amended by the Occupational Health and Safety Amendment Act No 181 of 1993), and the OHSA 1993 Construction Regulations 2014.

2.	I hereby declare that my company has the competence and the necessary resources to safely carry out the construction work under this contract in compliance with the Construction Regulations and the Employer's Health and Safety Specifications.

3.	I hereby confirm that adequate provision has been made in my tendered rates and prices in the Bill of Quantities to cover the cost of all resources, actions, training and all health and safety measures envisaged in the OHSA 1993 Construction Regulations 2014, including the cost of the specific items listed in the tables hereafter.

(Tables to be completed by tenderer)

TABLE 1: COST OF SAFETY PERSONNEL

| PERSONNEL | COSTS AS ALLOWED IN TENDER | NOMINATED PERSON/S |
| --- | --- | --- |

TABLE 2: COST OF SAFETY EQUIPMENT

| EQUIPMENT | STATE YES or NO | COST ALLOWED FOR IN TENDER |
| --- | --- | --- |

4.	I hereby undertake, if my tender is accepted, to provide, before commencement of the works under the contract, a suitable and sufficiently documented Health and Safety Plan in accordance with Regulation 7(1)(a) of the Construction Regulations, which plan shall be subject to approval by the Employer.

5.	I confirm that copies of my company's approved Health and Safety Plan, the Employer's Safety Specifications as well as the OHSA 1993 Construction Regulations 2014 will be provided on site and will at all times be available for inspection by the Contractor's personnel, the Employer's personnel, the Employer’s Agent, visitors, and officials and inspectors of the Department of Labour.

6.	I hereby confirm that, I will be liable for any penalties that may be applied by the Employer in terms of the said Regulations (Regulation 33) for failure on the Contractor's part to comply with the provisions of the Act and the Regulations.

7.	I agree that my failure to complete and execute this declaration to the satisfaction of the Employer will mean that I am unable to comply with the requirements of the OHSA 1993 Construction Regulations 2014, and accept that my tender will be prejudiced and may be rejected at the discretion of the Employer.

DATE  	   	 SIGNATURE OF TENDERER

(of person authorised to sign on behalf of the Tenderer)

CONTRACTORS HEALTH AND SAFETY PLAN

[Not applicable for tender purposes]

[The successful Tenderer, only, shall be required to submit the Contractor's Health and Safety Plan as required in terms of Regulation 7 of the Occupational Health and Safety Act 1993 Construction Regulations 2014, and referred to in T2.1, List of Returnable Documents point 4 (other documents that will be incorporated into the contract) after acceptance of the tender]

EVALUATION SCHEDULE 1 – PROJECT REFERENCE FORMS – 1

| Project title: | BID FOR THE REFURBISHMENT OF RIPPLEMEAD PACKHOUSE (PHASE 1). |
| --- | --- |
| Project Number: | Reference no: GDC 001/2025 |

NOTE:  This returnable document must be completed by the person who was the Employer’s Agent/Project Manager on a project of similar value and complexity that was completed successfully by the tenderer.

I, ______________________________________________________________ (name and surname) of

_____________________________________________________________ (company name) declare

that I was the Project Manager on the following building construction project successfully executed by __________________________________________________________________ (name of tenderer):

Project name: ____________________________________________________________

Project location: __________________________________________________________

Construction period:  _____________________ Completion date:  ____________________

Contract value:  _____________________________

      - Please evaluate the performance of the Tenderer on the abovementioned project, on which you were the principal agent, by inserting “Yes” in the relevant box below:

| Key Performance Indicators | Very Poor 1 | Poor 2 | Fair 3 | Good 4 | Excellent 5 | Total |
| --- | --- | --- | --- | --- | --- | --- |
| - Project performance |  |  |  |  |  |  |
| - Quality of Service |  |  |  |  |  |  |
| - Resources: Personnel |  |  |  |  |  |  |
| - Time management / programming |  |  |  |  |  |  |
| - Financial management / Project budget management/cash flow, etc. |  |  |  |  |  |  |
| TOTAL |  |  |  |  |  |  |

      - Would you consider / recommend this tenderer again:

| YES | NO |
| --- | --- |

      - Any other comments:  _____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

      - My contact details are:

Telephone: __________________	Cellphone: __________________ Fax: __________________

E-mail: ________________________________

Thus signed at __________________________ on this _______ day of ____________ 20___

_________________________

COMPANY STAMP

Signature of principal agent

NOTE:

If reference cannot be verified due to the inability to get hold of the referee or failure on his/her part to respond to a written request to do so, that reference will not score any points. It is the responsibility of the tenderer to put referees who are reachable.

_____________________________________________________________________________

Name of Tenderer

_______________________________________________	_______________________

Signature of Tenderer

EVALUATION SCHEDULE 1 – PROJECT REFERENCE FORMS – 2

| Project title: | BID FOR THE REFURBISHMENT OF RIPPLEMEAD PACKHOUSE (PHASE 1). |
| --- | --- |
| Project Number: | Reference no: GDC 001/2025 |

NOTE:  This returnable document must be completed by the person who was the Employer’s Agent/Project Manager on a project of similar value and complexity that was completed successfully by the tenderer.

I, ______________________________________________________________ (name and surname) of

_____________________________________________________________ (company name) declare

that I was the Project Manager on the following building construction project successfully executed by __________________________________________________________________ (name of tenderer):

Project name: ____________________________________________________________

Project location: __________________________________________________________

Construction period:  _____________________ Completion date:  ____________________

Contract value:  _____________________________

      - Please evaluate the performance of the Tenderer on the abovementioned project, on which you were the principal agent, by inserting “Yes” in the relevant box below:

| Key Performance Indicators | Very Poor 1 | Poor 2 | Fair 3 | Good 4 | Excellent 5 | Total |
| --- | --- | --- | --- | --- | --- | --- |
| - Project performance |  |  |  |  |  |  |
| - Quality of Service |  |  |  |  |  |  |
| - Resources: Personnel |  |  |  |  |  |  |
| - Time management / programming |  |  |  |  |  |  |
| - Financial management / Project budget management/cash flow, etc. |  |  |  |  |  |  |
| TOTAL |  |  |  |  |  |  |

      - Would you consider / recommend this tenderer again:

| YES | NO |
| --- | --- |

      - Any other comments:  _____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

      - My contact details are:

Telephone: __________________	Cellphone: __________________ Fax: __________________

E-mail: ________________________________

Thus signed at __________________________ on this _______ day of ____________ 20___

_________________________

COMPANY STAMP

Signature of principal agent

NOTE:

If reference cannot be verified due to the inability to get hold of the referee or failure on his/her part to respond to a written request to do so, that reference will not score any points. It is the responsibility of the tenderer to put referees who are reachable.

_____________________________________________________________________________

Name of Tenderer

_______________________________________________	_______________________

Signature of Tenderer

EVALUATION SCHEDULE 1 – PROJECT REFERENCE FORMS - 3

| Project title: | BID FOR THE REFURBISHMENT OF RIPPLEMEAD PACKHOUSE (PHASE 1). |
| --- | --- |
| Project Number: | Reference no: GDC 001/2025 |

NOTE:  This returnable document must be completed by the person who was the Employer’s Agent/Project Manager on a project of similar value and complexity that was completed successfully by the tenderer.

I, ______________________________________________________________ (name and surname) of

_____________________________________________________________ (company name) declare

that I was the Project Manager on the following building construction project successfully executed by __________________________________________________________________ (name of tenderer):

Project name: ____________________________________________________________

Project location: __________________________________________________________

Construction period:  _____________________ Completion date:  ____________________

Contract value:  _____________________________

      - Please evaluate the performance of the Tenderer on the abovementioned project, on which you were the principal agent, by inserting “Yes” in the relevant box below:

| Key Performance Indicators | Very Poor 1 | Poor 2 | Fair 3 | Good 4 | Excellent 5 | Total |
| --- | --- | --- | --- | --- | --- | --- |
| - Project performance |  |  |  |  |  |  |
| - Quality of Service |  |  |  |  |  |  |
| - Resources: Personnel |  |  |  |  |  |  |
| - Time management / programming |  |  |  |  |  |  |
| - Financial management / Project budget management/cash flow, etc. |  |  |  |  |  |  |
| TOTAL |  |  |  |  |  |  |

      - Would you consider / recommend this tenderer again:

| YES | NO |
| --- | --- |

      - Any other comments:  _____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

      - My contact details are:

Telephone: __________________	Cellphone: __________________ Fax: __________________

E-mail: ________________________________

Thus signed at __________________________ on this _______ day of ____________ 20___

_________________________

COMPANY STAMP

Signature of principal agent

NOTE:

If reference cannot be verified due to the inability to get hold of the referee or failure on his/her part to respond to a written request to do so, that reference will not score any points. It is the responsibility of the tenderer to put referees who are reachable.

_____________________________________________________________________________

Name of Tenderer

_______________________________________________	_______________________

Signature of Tenderer

The Contract

PART C1: AGREEMENT AND CONTRACT DATA

C 1.1

Form of Offer and Acceptance

DEPARTMENT OF AGRICULTURE

BID FOR THE REFURBISHMENT OF RIPPLEMEAD PACKHOUSE (PHASE 1).

C1.1 Form of Offer and Acceptance

Note: 1 This form of offer and acceptance is identical to that contained in Annex F of SANS 10845 - 1: Construction Procurement Processes, Procedures and Methods.

2 SAICE’s Practice Manual #1, The use of South African National Standards in Construction Procurement, provides guidance on the formulation of the wording for the actual offer where it is not based on the offered total of prices.

Offer

The employer, identified in the acceptance signature block, has solicited offers to enter into a contract for the procurement of: Reference no: GDC 001/2025 : BID FOR THE REFURBISHMENT OF RIPPLEMEAD PACKHOUSE (PHASE 1).. The tenderer, identified in the offer signature block, has examined the documents listed in the tender data and addenda thereto as listed in the returnable schedules, and by submitting this offer has accepted the conditions of tender.

By the representative of the tenderer, deemed to be duly authorized, signing this part of this form of offer and acceptance, the tenderer offers to perform all of the obligations and liabilities of the contractor under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the contract data.

THE OFFERED TOTAL OF THE PRICES INCLUSIVE OF VALUE ADDED TAX IS………………………...

…………………………………………………………………………………………………………...…... Rand (in words);

R …………………………………………………….…. (in figures) (or other suitable wording)

This offer may be accepted by the employer by signing the acceptance part of this form of offer and acceptance and returning one copy of this document to the tenderer before the end of the period of validity stated in the tender data, whereupon the tenderer becomes the party named as the contractor in the conditions of contract identified in the contract data.

| Signature(s) |  | Date: |  |
| --- | --- | --- | --- |
| Name(s) |  |  |  |
| Capacity: |  |  |  |
| For tenderer: (Name and address) |  |  |  |
| Name & Signature of witness: |  | Date: |  |

ACCEPTANCE

By signing this part of this form of offer and acceptance, the employer identified below accepts the tenderer’s offer. In consideration thereof, the employer shall pay the contractor the amount due in accordance with the conditions of contract identified in the contract data. Acceptance of the tenderer’s offer shall form an agreement between the employer and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in:

Part C1 Agreements and contract data, (which includes this agreement)

Part C2 Pricing data

Part C3 Scope of work

Part C4 Site information and drawings and documents or parts thereof, which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the tender data and any addenda thereto as listed in the returnable schedules as well as any changes to the terms of the offer agreed by the tenderer and the employer during this process of offer and acceptance, are contained in the schedule of deviations attached to and forming part of this form of offer and acceptance. No amendments to or deviations from said documents are valid unless contained in this schedule.

The tenderer shall within two weeks after receiving a completed copy of this agreement, including the schedule of deviations (if any), contact the employer’s agent (whose details are given in the contract data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the contract data. Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed original copy of this document, including the schedule of deviations (if any). Unless the tenderer (now contractor) within five (5) working days of the date of such receipt notifies the employer in writing of any reason why he/she cannot accept the contents of this agreement, this agreement shall constitute a binding contract between the parties.

| Signature(s) |  | Date: |  |
| --- | --- | --- | --- |
| Name(s) |  |  |  |
| Capacity: |  |  |  |
| For the employer: (Name and address) |  |  |  |
| Name & Signature of witness: |  | Date: |  |

SCHEDULE OF DEVIATIONS

Notes:

- The extent of deviations from the tender documents issued by the employer before the tender closing date is limited to those permitted in terms of the conditions of tender.

- A tenderer’s covering letter shall not be included in the final contract document. Should any matter in such letter, which constitutes a deviation as aforesaid, become the subject of agreements reached during the process of offer and acceptance, the outcome of such agreement shall be recorded here.

- Any other matter arising from the process of offer and acceptance either as a confirmation, clarification or change to the tender documents and which it is agreed by the Parties becomes an obligation of the contract shall also be recorded here.

- Any change or addition to the tender documents arising from the above agreements and recorded here, shall also be incorporated into the final draft of the Contract.

1	Subject ______________________________________________________________

Details: _______________________________________________________________________________

2	Subject ______________________________________________________________

Details: _______________________________________________________________________________

3	Subject ______________________________________________________________

Details: _______________________________________________________________________________

4	Subject ______________________________________________________________

Details: _______________________________________________________________________________

By the duly authorised representatives signing this agreement, the employer and the tenderer agree to and accept the foregoing schedule of deviations as the only deviations from and amendments to the documents listed in the tender data and addenda thereto as listed in the returnable schedules, as well as any confirmation, clarification or changes to the terms of the offer agreed by the tenderer and the employer during this process of offer and acceptance.

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Agreement shall have any meaning or effect in the contract between the parties arising from this agreement.

For the Tenderer:					For the Employer:

…………………………………………	Signature	……………………………………………….

………………………………………...	Name		……………………………………………….

…………………………………………	Capacity	……………………………………………….

Name and address of organization:			Name and address of organization:

…………………………………………			……………………………………………….

…………………………………………			……………………………………………….

…………………………………………			……………………………………………….

…………………………………………	Witness Signature	……………………………………………….

………………………………………...	Witness Name		……………………………………………….

…………………………………………	Date			……………………………………………….

CONFIRMATION OF RECEIPT

The Tenderer, (now Contractor), identified in the form of Offer part of the Agreement, hereby confirms receipt from the Employer. Identified in the Acceptance part of the Agreement, of one fully completed original copy of this Agreement. Including the Schedule of Deviations (if any) today:

The …………………………………(day) of …………………………………….. (month) 20…………(year), at

……………………………………………………………….. (place)

For the Contractor:

Signature:	………………………………………………………….

Name:		………………………………………………………….

Capacity:	…………………………………………………………

Signature and name of witness:

Signature:	……………………………………………………….

Name: 		……………………………………………………….

C 1.2

Contract Data

DEPARTMENT OF AGRICULTURE

BID FOR THE REFURBISHMENT OF RIPPLEMEAD PACKHOUSE (PHASE 1).

C1.2	Contract Data

The General Conditions of Contract for Construction Works (2015) published by the South African Institution of Civil Employer’s Agenting, is applicable to this contract. Copies of these conditions of contract may be obtained from the South African Institution of Civil Employer’s Agenting (Tel 011-805 5947).

The General Conditions of Contract for Construction Works make several references to the Contract Data for specific data, which together with these conditions collectively describe the risks, liabilities and obligations of the contracting parties and the procedures for the administration of the Contract. The Contract Data shall have precedence in the interpretation of any ambiguity or inconsistency between it and the general conditions of contract.

The Contract Data and General Conditions of Contract shall have precedence over the Drawings, Scope of Work and Standardised Specifications in the interpretation of any ambiguity or inconsistency.

Contract Specific Data

The following contract specific data, referring to the General Conditions of Contract for Construction Works, Third Edition, 2015, are applicable to this Contract:

| Clause | Data |
| --- | --- |
| 1.1.1.13 | The Defects Liability Period is 90 days. |
| 1.1.1.14 | The time for achieving Practical Completion is 16 WEEKS, inclusive of the 14 day period referred to in Clause 5.3.2 below, and inclusive of non-working days referred to in Clause 5.8.1 below, but exclusive of special non-working days (Clause 5.8.1). |
| 1.1.1.15 | The name of the Employer is DEPARTMENT OF AGRICULTURE |
| 1.1.1.16 | The name of the Employer’s Project Manager is Mr. T. Musara (Chief Engineer – DRDAR) |
| 1.1.1.17 | The name of the Employer’s Agent Representative is Mr. L. Wangaza (Project Manager – 2MC Consulting Engineers) |
| 1.1.1.26 | The Pricing Strategy is Re-measurement Contract. |
| 1.1.1.35 | “Drawings” means all drawings, calculations and technical information forming part of the Contract Documents and any modifications thereof or additions thereto from time to time approved in writing by the Employer’s Agent or delivered to the Contractor by the Employer’s Agent. |
| 1.1.1.36 | Letter of Notification” means the letters of formal notification, signed by the Employer, of the decision of the Supply Chain Management Bid Adjudication Committee sent to all tenderers. The notification of the decision does not form part of the Employer’s Acceptance of the successful tenderer’s Offer and no rights shall accrue. |
| 1.2.1 | DELIVERY OF NOTICES The following three additional sub-clauses, covering alternative methods of communication, apply: - |
| 1.2.1.2 | Sent by facsimile or any like communication irrespective of it being during office hours or otherwise. Fax: N/A |
| 1.2.1.3 | Posted to the addressee for certified delivery by the postal Authorities CGA Grower Development Company Postnet Suite 426 Private Bag X01, Die Wilgers 0041 |
| 1.2.1.4 | Delivered by a courier service and signed for by the addressee |
| 1.2.1.5 | The Employer's address for receipt of communications is: The Chief Engineer DEPARTMENT OF AGRICULTURE Amathole District Corner Fitzpatrick and Panmure Road, Old BKB Building, Arcadia |
| 2.1.4 | The following additional clause applies: - "Without limiting the generality of the afore going, the Schedule of Rates and Prices shall include: - The provision and use of all labour, plant, tools instruments, templates, materials, transport and all other appliances that may be required for satisfactorily protecting and efficiently carrying out the works without interruption or delay. - The provision and housing of adequate staff and labour force and the provision of false work of every kind and description necessary for the due and proper performance of the Contract. - The execution of the Works in orderly and progressive manner until it has been completed. Time being of the essence of the Contract the progressive development of the Works shall be arranged so that the time from the start to the finish of the construction of the said Works shall not exceed the time laid down in the Tender. - The inclusion in the tendered rates for all and any of the general liabilities such as Establishment Charges, legal contingencies, regulations, risks or damage, Royalties and all other overhead charges. The submission of a tender shall be considered prima facie evidence that the Contractor has complied with the requirements of this clause and has satisfied him/herself as to all circumstances and local conditions which may influence or affect his Tender." |
| 2.4.1 | The following additional clause applies: - In the event of any discrepancy or conflict between any parts of the Contract Documents, the order of precedence shall be as follows: 1. Project Particular Specifications 2. Special Conditions of Contract 3. General Conditions of Contract 4. Conditions of Tender 5. Generic Specifications 6. Contract Drawings 7. Bill of Quantities |
| 3.2.3 | The Employer’s Agent shall obtain the specific approval of the Employer before executing any of his functions or duties according to the following Clauses of the General Conditions of Contract: Clause 3.3.1 Nomination of Employer’s Agent Representative Clause 3.3.4 Employer’s Agent authority to delegate Clause 5.8.1 Non-working times Clause 5.11.2 Suspension of the Works Clause 5.12.4 Acceleration instead of extension of time |
| 3.3.7 | The following additional clause applies: - The onus rests with the Contractor to raise any item about which the Contractor may be uncertain, with the Employer’s Agent’s Representative. Any advice given to the Contractor by the Employer’s Agent’s Representative in response to matters so raised shall not be construed as instructions and shall be held to have been given without prejudice. |
| 3.3.8 | The following additional clause applies: - The Employer or the Employer’s Agent under delegated authority, reserves the right to obtain the services of consultants on any matter pertaining to this contract; the employment of such consultants forms no part of this contract; a consultant's advice and/or documentation is to be followed only if the Employer’s Agent or the Employer’s Agent Representative so instructs. |
| 4.1 | All references to “design” are deemed to be deleted and the Contractor shall bear no liability in respect of the Projects design, other than the temporary works and items clearly indicated to design on drawings. |
| 4.3.3 | The following additional clause applies: - The Employer and the Contractor shall enter into an agreement to complete the work required for the construction of the works in terms of the provisions of Section 37(2) of the Occupational Health and Safety Act (Act 85 of 1993) and the Construction Regulations promulgated there under. An agreement is included in the Contract Document (at the end of Contract Data) and shall be completed and submitted to the Employer together with a letter of good standing from the Compensation Commissioner (if not insured with a Licensed Compensation Insurer) within fourteen (14) days after the Commencement Date. The Contractor shall ensure that any letter of good standing shall be timeously renewed in order that it remains in full force for the duration of the Contract. |
| 4.4.4 | DORMAS is nominated as a sub-contractor to implement the upgrading of the tipping area of the machine, and the payment of the activity will be as per the provisions made, and on approval by the Clients Agent. |
| 5.3.1 | The documentation required before commencement with the Works execution are: 1 Health and Safety Plan (Refer to Clause 4.3) 2 Risk Mitigation Plan for Construction. 3 Initial programme (Refer to Clause 5.6) 4 Security (Refer to Clause 6.2) 5 Insurance (Refer to Clause 8.6) 6 Letter of Good Standing from the Compensation Commissioner (if not insured with a Licensed Compensation Insurer) 7 Quality Management Plan |
| 5.3.2 | The time to submit the documentation required before commencement with the Works execution is 14 days. |
| 5.3.3 | The Contractor shall commence with execution of the Works within 7 days after receiving an instruction to commence with the Works. |
| 5.4.1 | The Contractor shall bear all costs and charges for special and temporary rights of way required by him in connection with access to the Site. |
| 5.5.1 | The Works shall be completed (Practical Completion) within 16 WEEKS. |
| 5.8.1 | The non-working days are Sundays. The special non-working days are: (1) All gazetted public holidays falling outside the year end break. (2) The year end break commencing on 15 December and ending on 9 January |
| 5.8.3 | The following additional clause shall apply: Should the Employer’s Agent permit work outside of normal Employer working hours (viz Mondays to Fridays inclusive sunrise to sunset) and on Saturdays, Sundays or on any of the non-working days stated in the Appendix and if he deems the presence of the Employer’s Agent Representative or other duly authorised representative to be necessary, the Contractor will be liable for the cost of such supervision (calculated at a daily rate of 1/130 of the annual salary of such representative). Where the Employer’s Agent has ordered such work, the salary of the representative will be to the account of the Employer. A minimum of 24 hours notification of intent to work outside normal working hours shall be regarded as sufficient notice as set out in 5.8.1" |
| 5.12.2.2 | No extension of time will be granted in respect of any delays attributed to normal climatic conditions. Normal climatic conditions shall be deemed to include normal rainfall and associated wet conditions and materials, strong winds and extremes of temperature. However, in the event that delays to critical activities exceed 2 consecutive working days for each month, then abnormal climatic conditions shall be deemed to exist, and an extension of time may be claimed in accordance with the provisions of Clause 5.12. Claims for delays for abnormal climatic conditions shall be accompanied by substantiating facts and evidence, which shall be submitted timeously by the Contractor as each day or half-day delay is experienced. It shall be further noted that where the critical path is not affected, no extension of time for abnormal climatic conditions or for any other reason will be entertained |
| 5.13.1 | The penalty for failing to complete the Works is 8,5c/R100 of contract amount per day. No claim for bonus payments in respect of early completion will be entertained. |
| 5.14.1 | Practical Completion: In terms of this contract, practical completion will be reached, once all the works have been completed in full, according to the bill of quantities and project specifications, and dually been approved by the Employers agent representative. |
| 5.16.3 | The latent defect period is 5 Years. |
| 6.2.1 | The security to be provided by the Contractor shall be 10 % Retention. |
| 6.6.1 | The provisional sums stated in the Schedule of Quantities are net amounts covering the actual expenditure which the Employer may incur. |
| 6.7.6 | The following additional clause shall apply: The Works are measured in accordance with the current SANS 1200 and the standard system of measurement of Civil Engineering quantities for South Africa, published by the South African Institution of Civil Engineers. No claims arising from the method of measurement will be entertained. |
| 6.8.1 | Should the rated tendered be unrealistically high or low, the Employer’s Agent may instruct the contractor to balance the rates while the contract sum will stay firm, before commencement of construction. The revised balanced rates will be final and binding. And the value of the payment certificates is to be calculated in accordance with the revised rates and/or prices of the tender throughout the period of the Contract. |
| 6.10.1.5 | The percentage advance on materials not yet built into the Permanent Works is 80%. |
| 6.10.3 | The percentage retention on amounts due to the contractor is 10% and the limit on retention is 5% of the Contract Price if guarantees of an insurance company or bank that are provided are equal to or greater than 10% of the contract price. |
| 6.10.4 | Add the following to clause: Notwithstanding the above, the Employer’s Agent shall be empowered to withhold the delivery of the payment certificate until the Contractor has complied with his obligations to report in terms of Clause 4.10.2 and as described in the Scope of Work. |
| 8.3.1.6 | Electrical supply interruptions due to ‘load shedding” implemented by the electricity suppliers is excluded from the risks accepted by the Employer. |
| 8.5.2 | The following additional clause shall apply: If the Contractor receives any claim in respect of any loss or injury or damage to any person or property, then the Contractor shall immediately report the same to the Employer’s Agent and, if at the end of ninety days from the date of receipt of such claim the Contractor cannot satisfy the Employer’s Agent that the claim has been settled or that valid reasons for the non-settlement of the claim exist, then the Employer may, without limiting the obligations and responsibilities of the Contractor, negotiate a settlement and deduct all sums due in respect of such claim from payments due to the Contractor. |
| 8.6.1.1.2 | The value of plant and materials supplied by the Employer to be included in the insurance sum is Nil. |
| 8.6.1.1.3 | The amount to cover professional fees for repairing damage and loss to be included in the insurance sum is R 200 000.00. |
| 8.6.1.3 | The limit of indemnity for liability insurance is R 2 000 000.00 per claim for projects under R 5 000 000.00 and R 5 000 000.00 for projects over R 5 000 000.00. |
| 9.2.1.3.8 | Add the following to clause: The Contractor committed a corrupt or fraudulent act during the procurement process or the execution of the contract. |
| 9.2.1.3.8 | Add the following to clause: An official or other role player committed any corrupt or fraudulent act during the procurement process or in the execution of the contract that benefited the Contractor. |
| 10.1 | Replace all references to 28 days, with 14 days in this clause and all sub clauses. |
| 10.2 | Replace all references to 28 days, with 14 days in this clause and all sub clauses. |
| 10.4.1 | The parties may at any time agree to settle disputes with the help of an impartial third party. |
| 10.5.3 | The number of Adjudication Board Members to be appointed is THREE. |
| ## 2. CLAUSES APPLICABLE TO EPWP CONTRACTS |  |
| - Employer’s objectives: The employer’s objectives are to deliver infrastructure using labour-intensive methods according to EPWP guidelines. - Labour-intensive works: Labour-intensive works shall be conducted using local workers who are temporary employed in terms of the scope of work. - Labour-intensive competencies of supervisory and management staff: The contractor shall engage supervisory and management staff in labour intensive works that have completed the skills programme including Foreman/Supervisors at NQF level 4 “National Certificate on supervision of Civil Engineering Construction Processes” and Site Agent/manager at NQF level 5 on “Manage labour-intensive Construction Processes” or equivalent QCTO qualification. |  |
| 4.1 | Variations to the Conditions of Contract are: Add the following at the end of sub clause 4.1.2. |
| 4.1.3 | The Employer and the Contractor hereby agree, in terms of the provisions of Section 37(2) of the Occupational Health and Safety Amendment Act, 1993 (Act 85 of 1993), hereinafter referred to as 'the Act', that the following arrangements and procedures shall apply between them to ensure compliance by the Contractor with the provisions of the Act: (i) The Contractor undertakes to acquaint the appropriate officials and employees of the Contractor with all relevant provisions of the Act and the Regulations promulgated in terms of the Act. (ii) The Contractor undertakes that all relevant duties, obligations and prohibitions imposed in terms of the Act and Regulations on the Contractor will be fully complied with. (iii) The Contractor accepts sole liability for such due compliance with the relevant duties, obligations and prohibitions imposed by the Act and Regulations and expressly absolves the Employer from himself being obliged to comply with any of the aforesaid duties, obligations and prohibitions, with the exception of such duties, obligations and prohibitions expressly assigned to the Employer in terms of the Act and its associated Regulations. (iv) The Contractor agrees that any duly authorised officials of the Employer shall be entitled, although not obliged, to take such steps as may be necessary to monitor that the Contractor has conformed to his undertakings as described in paragraphs (i) and (ii) above, which steps may include, but will not be limited to, the right to inspect any appropriate site or premises occupied by the Contractor, or any appropriate records or safety plans held by the Contractor. (v) The Contractor shall be obliged to report forthwith to the Employer and Employer’s Agent any investigation, complaint or criminal charge which may arise as a consequence of the provisions of the Act and Regulations, pursuant to work performed in terms of this Contract, and shall, on written demand, provide full details in writing, to the Employer and Employer’s Agent, of such investigation, complaint or criminal charge. |
| 6.7.6 | Add new subclause6.7.6: "Payment for the labour-intensive component of the works Payment for works identified in the Scope of Work as being labour-intensive shall only be made in accordance with the provisions of the Contract if the works are constructed strictly in accordance with the provisions of the scope of work. Any non-payment for such works shall not relieve the Contractor in any way from his obligations in contract. The Contractor’s payment invoice shall be accompanied by labour information for the corresponding period in a format specified by the employer. If the contractor chooses to delay submitting payment invoices, labour returns shall still be submitted as per frequency and timeframe stipulated by the Employer. The contractor’s invoices shall not be paid until all pending labour information has been submitted. |
| ## 3. additional Conditions of Contract: |  |
| Clause |  |
| 4.13 | Add new sub clause 4.13: Applicable labour laws The Ministerial Determination, Special Public Works Programmes, issued in terms of the Basic Conditions of Employment Act of 1997 by the Minister of Labour in Government Notice No R63 of 25 January 2002, as reproduced below, shall apply to works described in the scope of work as being labour-intensive and which are undertaken by unskilled or semi-skilled workers. |
| 4.13 (cont.) | 1 Introduction 1.1 This document contains the standard terms and conditions for workers employed in elementary occupations on a Special Public Works Programme (SPWP). These terms and conditions do NOT apply to persons employed in the supervision and management of a SPWP. |
| 4.13 (cont.) | 1.2 In this document – (a) “department” means any department of the State, implementing agent or contractor; (b) “employer” means any department, implementing agency or contractor that hires workers to work in elementary occupations on a SPWP; (c) “worker” means any person working in an elementary occupation on a SPWP; (d) “elementary occupation” means any occupation involving unskilled or semi-skilled work; (e) “management” means any person employed by a department or implementing agency to administer or execute an SPWP; (f) “task” means a fixed quantity of work; (g) “task-based work” means work in which a worker is paid a fixed rate for performing a task; (h) “task-rated worker” means a worker paid on the basis of the number of tasks completed; (i) “time-rated worker” means a worker paid on the basis of the length of time worked. 2 Terms of work 2.1 Workers on a Special Public Works Programme (SPWP) are employed on a temporary basis. 2.2 A worker may NOT be employed for longer than 2 16 WEEKS in any five-year cycle on a SPWP. 2.3 Employment on a SPWP does not qualify as employment as a contributor for the purposes of the Unemployment Insurance Act 30 of 1966. 3 Normal hours of work 3.1 An employer may not set tasks or hours of work that require a worker to work– (a) more than forty hours in any week; (b) on more than five days in any week; and (c) for more than eight hours on any day. 3.2 An employer and worker may agree that a worker will work four days per week. The worker may then work up to ten hours per day. 3.3 A task-rated worker may not work more than a total of 55 hours in any week to complete the tasks allocated (based on a 40-hour week) to that worker. 4 Meal breaks 4.1 A worker may not work for more than five hours without taking a meal break of at least thirty minutes duration. 4.2 An employer and worker may agree on longer meal breaks. 4.3 A worker may not work during a meal break. However, an employer may require a worker to perform duties during a meal break if those duties cannot be left unattended and cannot be performed by another worker. An employer must take reasonable steps to ensure that a worker is relieved of his or her duties during the meal break. 4.4 A worker is not entitled to payment for the period of a meal break. However, a worker who is paid on the basis of time worked must be paid if the worker is required to work or to be available for work during the meal break. |
| 4.13 (cont) | 5 Special conditions for security guards 5.1 A security guard may work up to 55 hours per week and up to eleven hours per day. 5.2 A security guard who works more than ten hours per day must have a meal break of at least one hour or two breaks of at least 30 minutes each. |
|  | 6 Daily rest period Every worker is entitled to a daily rest period of at least eight consecutive hours. The daily rest period is measured from the time the worker ends work on one day until the time the worker starts work on the next day. |
| 4.13 (cont) | 7 Weekly rest period Every worker must have two days off every week. A worker may only work on their day off to perform work which must be done without delay and cannot be performed by workers during their ordinary hours of work (“emergency work”). 8 Work on Sundays and public holidays 8.1 A worker may only work on a Sunday or public holiday to perform emergency or security work. 8.2 Work on Sundays is paid at the ordinary rate of pay. 8.3 A task-rated worker who works on a public holiday must be paid – (a) the worker’s daily task rate, if the worker works for less than four hours; (b) double the worker’s daily task rate, if the worker works for more than four hours. 8.4 A time-rated worker who works on a public holiday must be paid – (a) the worker’s daily rate of pay, if the worker works for less than four hours on the public holiday; (b) double the worker’s daily rate of pay, if the worker works for more than four hours on the public holiday. 9 Sick leave 9.1 Only workers who work four or more days per week have the right to claim sick-pay in terms of this clause. 9.2 A worker who is unable to work on account of illness or injury is entitled to claim one day’s paid sick leave for every full month that the worker has worked in terms of a contract. 9.3 A worker may accumulate a maximum of twelve days sick leave in a year. 9.4 Accumulated sick leave may not be transferred from one contract to another contract. 9.5 An employer must pay a task-rated worker the worker’s daily task rate for a day’s sick leave. 9.6 An employer must pay a time-rated worker the worker’s daily rate of pay for a day’s sick leave. 9.7 An employer must pay a worker sick pay on the worker’s usual pay day. 9.8 Before paying sick pay, an employer may require a worker to produce a certificate stating that the worker was unable to work on account of sickness or injury if the worker is – (a) absent from work for more than two consecutive days; or (b) absent from work on more than two occasions in any eight-week period.8 9.9 A medical certificate must be issued and signed by a medical practitioner, a qualified nurse or a clinic staff member authorised to issue medical certificates indicating the duration and reason for incapacity. 9.10 A worker is not entitled to paid sick leave for a work-related injury or occupational disease for which the worker can claim compensation under the Compensation for Occupational Injuries and Diseases Act. |
| 4.13 (cont) | 10 Maternity leave 10.1 A worker may take up to four consecutive months unpaid maternity leave. 10.2 A worker is not entitled to any payment or employment-related benefits during maternity leave. 10.3 A worker must give her employer reasonable notice of when she will start maternity leave and when she will return to work. 10.4 A worker is not required to take the full period of maternity leave. However, a worker may not work for four weeks before the expected date of birth of her child or for six weeks after the birth of her child, unless a medical practitioner, midwife or qualified nurse certifies that she is fit to do so. 10.5 A worker may begin maternity leave – (a) four weeks before the expected date of birth; or (b) on an earlier date – (i) if a medical practitioner, midwife or certified nurse certifies that it is necessary for the health of the worker or that of her unborn child; or (ii) if agreed to between employer and worker; or (c) on a later date, if a medical practitioner, midwife or certified nurse has certified that the worker is able to continue to work without endangering her health. 10.6 A worker who has a miscarriage during the third trimester of pregnancy or bears a stillborn child may take maternity leave for up to six weeks after the miscarriage or stillbirth. 10.7 A worker who returns to work after maternity leave, has the right to start a new cycle of twenty-four months employment, unless the SPWP on which she was employed has ended. 11 Family responsibility leave 11.1 Workers who work for at least four days per week, are entitled to three days paid family responsibility leave each year in the following circumstances: (a) when the employee’s child is born; (b) when the employee’s child is sick; (c) in the event of a death of (i) the employee’s spouse or life partner; (ii) the employee’s parent, adoptive parent, grandparent, child, adopted child, grandchild or sibling. 12 Statement of conditions 12.1 An employer must give a worker a statement containing the following details at the start of employment: (a) the employer’s name and address and the name of the SPWP; (b) the tasks or job that the worker is to perform; and (c) the period for which the worker is hired or, if this is not certain, the expected duration of the contract; (d) the worker’s rate of pay and how this is to be calculated; (e) the training that the worker will receive during the SPWP. 12.2 An employer must supply each worker with a copy of these conditions of employment. |
| 4.13 (cont) | 13 Keeping records 13.1 Every employer must keep a written record of at least the following: (a) the worker’s name and position; (b) in the case of a task-rated worker, the number of tasks completed by the worker; (c) in the case of a time-rated worker, the time worked by the worker; (d) payments made to each worker. 13.2 The employer must keep this record for a period of at least three years after the completion of the SPWP. 14 Payment 14.1 An employer must pay all wages at least monthly in cash or by cheque or into a bank account. 14.2 A task-rated worker will only be paid for tasks that have been completed. 14.3 An employer must pay a task-rated worker within five weeks of the work being completed and the work having been approved by the manager or the contractor having submitted an invoice to the employer. 14.4 A time-rated worker will be paid at the end of each month. 14.5 Payment must be made in cash, by cheque or by direct deposit into a bank account designated by the worker. 14.6 Payment in cash or by cheque must take place – (a) at the workplace or at a place agreed to by the worker; (b) during the worker’s working hours or within fifteen minutes of the start or finish of work; (c) in a sealed envelope which becomes the property of the worker. 14.7 An employer must give a worker the following information in writing: (a) the period for which payment is made; (b) the numbers of tasks completed or hours worked; (c) the worker’s earnings; (d) any money deducted from the payment; (e) the actual amount paid to the worker. 14.8 If the worker is paid in cash or by cheque, this information must be recorded on the envelope and the worker must acknowledge receipt of payment by signing for it. 14.9 If a worker’s employment is terminated, the employer must pay all monies owing to that worker within one month of the termination of employment. 15 Deductions 15.1 An employer may not deduct money from a worker’s payment unless the deduction is required in terms of a law. 15.2 An employer must deduct and pay to the SA Revenue Services any income tax that the worker is required to pay. 15.3 An employer who deducts money from a worker’s pay for payment to another person must pay the money to that person within the time period and other requirements specified in the agreement law, court order or arbitration award concerned. 15.4 An employer may not require or allow a worker to – (a) repay any payment except an overpayment previously made by the employer by mistake; (b) state that the worker received a greater amount of money than the employer actually paid to the worker; or (c) pay the employer or any other person for having been employed. |
| 4.13 (cont) | 16 Health and safety 16.1 Employers must take all reasonable steps to ensure that the working environment is healthy and safe. 16.2 A worker must – (a) work in a way that does not endanger his/her health and safety or that of any other person; (b) obey any health and safety instruction; (c) obey all health and safety rules of the SPWP; (d) use any personal protective equipment or clothing issued by the employer; (e) report any accident, near-miss incident or dangerous behaviour by another person to their employer or manager. 17 Compensation for injuries and diseases 17.1 It is the responsibility of the employers (other than a contractor) to arrange for all persons employed on a SPWP to be covered in terms of the Compensation for Occupational Injuries and Diseases Act, 130 of 1993. 17.2 A worker must report any work-related injury or occupational disease to their employer or manager. 17.3 The employer must report the accident or disease to the Compensation Commissioner. 17.4 An employer must pay a worker who is unable to work because of an injury caused by an accident at work 75% of their earnings for up to three months. The employer will be refunded this amount by the Compensation Commissioner. This does NOT apply to injuries caused by accidents outside the workplace such as road accidents or accidents at home. 18 Termination 18.1 The employer may terminate the employment of a worker for good cause after following a fair procedure. 18.2 A worker will not receive severance pay on termination. 18.3 A worker is not required to give notice to terminate employment. However, a worker who wishes to resign should advise the employer in advance to allow the employer to find a replacement. 18.4 A worker who is absent for more than three consecutive days without informing the employer of an intention to return to work will have terminated the contract. However, the worker may be re-engaged if a position becomes available for the balance of the 24-month period. 18.5 A worker who does not attend required training events, without good reason, will have terminated the contract. However, the worker may be re-engaged if a position becomes available for the balance of the 24-month period. 19 Certificate of service 19.1 On termination of employment, a worker is entitled to a certificate stating – (a) the worker’s full name; (b) the name and address of the employer; (c) the SPWP on which the worker worked; (d) the work performed by the worker; (e) any training received by the worker as part of the SPWP; (f) the period for which the worker worked on the SPWP; (g) any other information agreed on by the employer and worker. |

## PART 2: 	DATA PROVIDED BY THE CONTRACTOR

| Clause | Data |  |
| --- | --- | --- |
| 1.1.1.9 | The name of the Contractor is ………………………………………………………………………………………………………………. |  |
| 1.2.1.2 | The address of the Contractor is: Physical Address: Postal Address: …………………………………………….. ………………………………………………….. …………………………………………….. ………………………………………………….. ……………………………………………. ………………………………………………….. ……………………………………………. ………………………………………………….. e-mail: ……………………………………………………………………………………………………… Tel. No. ………………………………………………….. Fax No. ………………………………………………… |  |
| 1.1.1.14 | The time for achieving Practical Completion is 16 WEEKS. |  |
| 6.5.1.2.3 | The percentage allowance to cover overhead charges is ………………. % |  |
| 6.2.1 | The security to be provided by the Contractor shall be one of the following: |  |
| Type of security (Value Added Tax is excluded from the Contract Sum and the value of the Works for calculating the percentages) |  | 10% Retention |

AGREEMENT IN TERMS OF SECTION 37(2) OF THE OCCUPATIONAL HEALTH AND SAFETY ACT No. 85 OF 1993

THIS AGREEMENT is made between

……………………………………………………………………………………………………………

(hereinafter called the EMPLOYER) of the one part, herein represented by:

in his capacity as:

AND:

(hereinafter called the CONTRACTOR) of the other part, herein represented by

in his capacity as:

duly authorised to sign on behalf of the Contractor.

WHEREAS the CONTRACTOR is the Mandatory of the EMPLOYER in consequence of an agreement between the CONTRACTOR and the EMPLOYER in respect of

CONTRACT No.:GDC 001/2025 :	BID FOR THE REFURBISHMENT OF RIPPLEMEAD PACKHOUSE (PHASE 1). for the construction, completion and maintenance of the works;

NOW THEREFORE the parties agree as follows:

1.	The CONTRACTOR undertakes to acquaint the appropriate officials and employees of the CONTRACTOR with all relevant provisions of the ACT and the regulations promulgated in terms thereof.

2.	The CONTRACTOR undertakes to fully comply with all relevant duties, obligations and prohibitions imposed in terms of the ACT and Regulations: Provided that should the EMPLOYER have prescribed certain arrangements and procedures that same shall be observed and adhered to by the CONTRACTOR, his officials and employees. The CONTRACTOR shall bear the onus of acquainting himself/herself/itself with such arrangements and procedures.

3.	The CONTRACTOR hereby accepts sole liability for such due compliance with the relevant duties, obligations, prohibitions, arrangements and procedures, if any, imposed by the ACT and Regulations, and the CONTRACTOR expressly absolves the EMPLOYER and the Employer’s CONSULTING EMPLOYER’S AGENTS from being obliged to comply with any of the aforesaid duties, obligations, prohibitions, arrangements and procedures in respect of the work included in the contract.

4.	The CONTRACTOR agrees that any duly authorised officials of the EMPLOYER shall be entitled, although not obliged, to take such steps as may be necessary to ensure that the CONTRACTOR has complied with his undertakings as more fully set out in paragraphs 1 and 2 above, which steps may include, but shall not be limited to, the right to inspect any appropriate site or premises occupied by the CONTRACTOR, or to take such steps it may deem necessary to remedy the default of the CONTRACTOR at the cost of the CONTRACTOR.

5.	The CONTRACTOR shall be obliged to report forthwith to the EMPLOYER any investigation, complaint or criminal charge which may arise as a consequence of the provisions of the ACT and Regulations, pursuant to work performed in terms of this agreement, and shall, on written demand, provide full details in writing of such investigation, complaint or criminal charge.

Thus signed at 	for and on behalf of the CONTRACTOR

on this day	day of		20_____

SIGNATURE:

NAME AND SURNAME:

CAPACITY:

WITNESS:	1.		……………...

2.

Thus signed at 	for and on behalf of the EMPLOYER

on this day	day of		20_____

SIGNATURE:

NAME AND SURNAME:

CAPACITY:

WITNESS:	1.

2.    ……………………………….

CESSION OF RIGHTS FOR MATERIALS ON SITE

Claim for materials on site

Payment Certificate No. ........................  Date:

Contract: ..........................................................................................................................................................

Employer: ....................................................................................	…

Contract No:....................................................................................…

Contractor: ............................................................................…

I / We, the undersigned,

(Print name)

in my / our capacity as	of	…….

(Print capacity) 					(Company)

hereby confirm that the Contractor is the bona fide owner of the goods and materials described in the attached schedule and the Contractor hereby cedes assigns and transfers all the right, title and interest claim and demand in and due to the materials and goods described in the attached schedule in favour of the Employer.

All rights of the Employer in and to this Cession shall become effective immediately upon the Contractor obtaining payment for the goods referred to on the attached schedule (less payment of retention monies that may be validly retained in respect thereof) from which time forward the ownership of all the stated goods and materials will vest in and pass irrevocably to the Employer.

Notwithstanding the foregoing all risk or loss and/or damage to the said goods and materials whilst in the Contractor’s stores up until the time that all the goods and materials have been installed in the Works shall be the responsibility of the Contractor.

This Cession shall neither constitute a novation of nor amend the terms of the Contract existing between the Employer and the Contractor nor shall it in any manner vitiate any of the rights and obligations imposed on either party.

Signed by: ............................................................................. Date: .................................

for and on behalf of the Contractor.

Witnessed by: ........................................................................Date: ...............................

(NOTE: This form, together with the documentary proof of ownership or proof of payment by the Contractor to the supplier, shall accompany the Contractor's claim for payment for materials on site in terms of Clause 49.1.5 of the General Conditions of Contract Third Edition 2015).

C 1.3

Form of Guarantee

DEPARTMENT OF AGRICULTURE

BID FOR THE REFURBISHMENT OF RIPPLEMEAD PACKHOUSE (PHASE 1).

C1.3	Form of Guarantee: Contract No. GDC 001/2025

For use with the General Conditions of Contract of Construction Works, Third Edition (2015)

GUARANTOR DETAILS AND DEFINITIONS

“Guarantor” means …………………………………………………………………………………………

Physical address: ……………………………………………………………………………………..

“Employer” means …………………………………………………………………………………….

“Contractor” means: ……………………………………………………………………..…………….

“Employer’s Agent” means …..………………………………………………………………………

“Works” means: …………..……………………………………………………………………………

“Site” means: …………….…………………………………………………………………………….

“Contract” means: The Agreement made in terms of the Form of Officer and Acceptance and such amendments or additions to the Contract as may be agreed in writing between the parties.

“Contract ”SUM” means: The accepted amount inclusive of tax of R	__________________________

Amount in words:	_________________________________________________________________

Type of performance Guarantee:	___________________________	(insert Variable or Fixed)

“Expiry Date” means		 (Give date) or any other later date set by the Contractor and/or Employer provided such instruction is received prior to the Expiry Date as indicated here

CONTRACT DETAILS

Employer’s Agent issues: Interim Payment Certificates, Final Payment Certificate and the Certificate of Completion of the Works as defined in the Contract.

1.	VARIABLE PERFORMANCE GUARANTEE

1.1	Where a Variable Performance Guarantee has been selected, the Guarantor’s liability shall be limited during the following periods to diminishing amounts of the Guaranteed Sum as follows:

1.1.1	From and including the date of signing the Performance Guarantee up to and including the date of the interim payment certificate certifying, for the first time, more than 50% of the Contract Sum:

R	__________________________________________

(Amount in words	____________________________________________________________

1.1.2	From the day following the date of the said interim payment certificate up to and including the Expiry Date, or the date of issue by the Employer’s Agent of the Certification of Completion of the Works, whichever occurs first?

R	_______________________________________

(Amount in words	___________________________________________________________

  - The employer’s Agent and/or the Employer shall advise the Guarantor in writing of the date on which the interim payment certificate certifying, for the first time, more 50% of the Contract Sum, has been used and the date on which the Certificate of Completion of the Works has been issued.

2.	FIXED PERFORMANCE GUARANTEE

2.1	Where a Fixed Performance Guarantee has been selected, the Guarantor’s liability shall be limited to the amount of the Guaranteed Sum.

2.2	The Guarantor’s period of liability shall be from and including the date on which the Performance Guarantee is signed, up to and including the Expiry Date, or the date of issue by the Employer’s Agent of the Certificate of Completion of the Works, or the date of payment in full of the Guaranteed Sum, whichever occurs first.

2.3	The employer’s Agent and/or the Employer shall advise the Guarantor in writing of the date on which the Certificate of Completion of the Works has been issued.

3.	CONDITIONS APPLICABLE TO VARIABLE AND FIXED PERFORMANCE GUARANTEES

3.1	The Guarantor hereby acknowledges that:

3.1.1	Any reference in this Performance Guarantee to the Contract is made of the purpose of convenience and shall not be construed as any intention whatsoever to create an accessory obligation or any intention whatsoever to create a surety ship.

3.1.2	Its obligation under this Performance Guarantee is restricted to the payment of money.

3.2	Subject to the Guarantors maximum liability reoffered to in 1.1 or 2.1, the Guarantor hereby undertakes to pay the Employer the sum certified upon receipt of the documents identified in 3.2.1 to 3.2.3:

3.2.1	A copy of a first written demand issued by the Employer to the Contractor stating that payment of a sum certified by the Employer‘s Agent in an Interim or Final Payment Certificate has not been made in terms of the Contract and failing such payment within seven (7) calendar days, the Employer intends to call upon the Guarantor to make payment in terms of 3.2.2,

3.2.2	A first written demand issued by the Employer to the Guarantor at the Guarantor’s physical address with a copy to the Contractor stating that period of seven (7) days has elapsed since the first written demand in terms of 3.2.1 and the sum certified has still not been paid,

3.2.3	A copy of the aforesaid payment certificate which entitles the Employer to receive payment in terms of the Contract of the sum certified in 3.2

3.3	Subject to the Guarantor’s maximum liability reoffered to in 1.1 or 2.1, the Guarantor undertakes to pay to the Employer the Guaranteed Sum or the full outstanding balance upon receipt of a first written demand from the Employer to the Guarantor’s physical address calling up this Performance Guarantee, such demand stating that:

3.3.1	The Contract has been terminated due to the Contractor’s default and that this Performance Guarantee is called up in terms of 3.3, or

3.3.2	a provincial or final sequestration or liquidation court order has been granted against the Contractor and that the Performance Guarantee is called up in terms of 3.3, and

3.3.3	the aforesaid written demand is accompanied by a copy of the notice of termination and/or the provisional/final sequestration and/or the provisional liquidation court order.

3.4	It is recorded that the aggregate amount of payments required to be made by the Guarantor in terms of 3.2 and 3.3 shall not exceed the Guarantor’s maximum liability in terms of 1.1 or 2.1.

3.5	Where the Guarantor has made payment in terms of 3.3, the Employer shall upon the date of issue of the Final Payment Certificate submit an expense account to the Guarantor showing how all monies received in terms of this Performance Guarantee have been expended and shall refund to the Guarantor any resulting surplus. All monies refunded to the Guarantor in terms of this Performance Guarantee shall bear interest at the prime overdraft rate of the Employer’s bank compounded monthly and calculated from the date payment was made by the Guarantor to the Employer until the date of refund.

3.6	Payment by the Guarantor in terms of 3.2 or 3.3 shall be made within seven (7) calendar days upon receipt of the first written demand to the Guarantor.

3.7	Payment by the Guarantor in terms of 3.3 will only be made against the return of the original Performance Guarantee by the Employer.

3.8 	The Employer shall have the absolute right to arrange his affairs with the Contractor in any manner which the Employer may consider fit and the Guarantor shall not have the right to claim his release from this Performance Guarantee on account of any conduct alleged to be prejudicial to the Guarantor.

3.9 	The Guarantor chooses the physical address as stated above for the services of all notices for all purpose in connection herewith.

3.10	This Performance Guarantee is neither negotiable nor transferable and shall expire in terms of 1.1.2 or 2.2, where after no claims will be considered by the Guarantor. The original of this Guarantee shall be returned to the Guarantor after it has expired.

3.11 	This performance Guarantee, with the required demand notices in terms of 3.2 or 3.3, shall be regarded as a liquid document for the purposes of obtaining a court order.

3.12	Where this Performance Guarantee is issued in the Republic of South Africa the Guarantor hereby consents in terms of Section 45 of the Magistrates ‘Courts Act No 32 of 1994, as amended, to the jurisdiction of the Magistrate’s Court of any district having jurisdiction in terms of Section 28 of the said Act, notwithstanding that the amount of the claim may exceed the jurisdiction of the Magistrate’s Court.

Signed at:	________________________		Date		____________________________

Guarantor’s signatory (1)	________________________________________

Capacity			____________________________________________________________

Guarantor’s signatory (2)	__________________________________________

Capacity			____________________________________________________________

Witness signatory (1)		_______________________________________________

Witness signatory (2)		_______________________________________________

PART C2 – PRICING DATA

C 2.1

Pricing Instructions

DEPARTMENT OF AGRICULTURE

### BID FOR THE REFURBISHMENT OF RIPPLEMEAD PACKHOUSE (PHASE 1).

### C2.1 Pricing Instructions

1. Measurement and payment shall be in accordance with the relevant provisions of clause 8 of each of the SABS 1200 Standardised Specifications for Civil Employer’s Agenting Construction referred to in the Scope of Work. The Preliminary and General items shall be measured in accordance with the provisions of SABS 1200-A, General. 2. The units of measurement described in the Bills of Quantities are metric units. Abbreviations used in these Bills of Quantities are as follows: % = percent h = hour ha = hectare kg = kilogram kl = kilolitre km = kilometre km-pass = kilometre-pass kPa = kilopascal kW = kilowatt l = litre m = metre mm = millimetre m² = square metre m²-pass = square metre-pass m³ = cubic metre m³-km = cubic metre-kilometre month = month MN = meganewton MN.m = meganewton-metre MPa = megapascal No. = number Prov sum = Provisional sum PC sum = Prime Cost sum R/only = Rate only sum = lump sum t = ton (1000 kg) W/day = Work day 3. Unless otherwise stated, items are measured net in accordance with the drawings, and no allowance is made for waste. 4. The prices and rates in these Bills of Quantities are fully inclusive prices for the work described under the items. Such prices and rates cover all costs and expenses that may be required in and for the execution of the work described in accordance with the provisions of the Scope of Work, and shall cover the cost of all general risks, liabilities, and obligations set forth or implied in the Contract Data, as well as overhead charges and profit. These prices will be used as a basis for assessment of payment for additional work that may have to be carried out. 5. It will be assumed that prices included in these Bills of Quantities are based on Acts, Ordinances, Regulations, By-laws, International Standards and National Standards that were published 28 days before the closing date for tenders. (Refer to www.stanza.org.za or www.iso.org for information on standards) 6. Where the Scope of Work requires detailed drawings and designs or other information to be provided, all costs associated therewith are deemed to have been provided for and included in the unit rates and sum amount tendered such items 7. An item against which no price is entered will be considered to be covered by the other prices or rates in the Bills of Quantities. A single lump sum will apply should a number of items be grouped together for pricing purposes. 8. The quantities set out in these Bills of Quantities are approximate and do not necessarily represent the actual amount of work to be done. The quantities of work accepted and certified for payment will be used for determining payments due and not the quantities given in the Bills of Quantities. 9. The short descriptions of the items of payment given in these Bills of Quantities are only for the purposes of identifying the items. More details regarding the extent of the work entailed under each item appear in the Scope of Work. 10. Descriptions in the Bills of Quantities are abbreviated and comply generally with those in the SABS 1200 Standardized Specifications. Important: - Gross calculation errors, and omissions in the Bill of Quantities, will render the bid non-responsive. - Gross under and over pricing will also render the bid as non-responsive.

C 2.2

Bill of Quantities

C 3.1 Scope of Work

DEPARTMENT OF AGRICULTURE

BID FOR THE REFURBISHMENT OF RIPPLEMEAD PACKHOUSE (PHASE 1).

C3.1 Scope of Work

- Scope of Work and Management

| TOPIC | SUB TOPIC |
| --- | --- |
| DESCRIPTION OF THE WORKS |  |
| Employer’s objective | Refurbishment of Ripplemead Citrus Packhouse |
| Overview and extent of works | This contract entails the following: - Cladding Around Machine Area - Cladding off to seal the canopy around the machine area (quantity is dependent on available funds) - Removal of a steel column: - A steel column will have to be removed to make space for the machine installation. - Supporting the roof after the removal of the column. - Platform where the machine will be placed - Demolish about 150-mm from the top of the existing platform. - Construct new layer works to match the existing layer works on the platform as outlined below: - Layer works – 150mm layers constructed using G5 quality material compacted to 95% Mod ASSHTO density. - Concrete slab - 150mm Class 30Mpa concrete reinforced with mesh wire. - Machine Upgrade - The machine upgrade is to be executed by the Employer or a nominated subcontractor - Dormas. |
| Location of the works | Ripplemead Citrus Packhouse in Peddie. Refer to locality drawings for co-ordinates. |
| EMPLOYER’S AGENTING |  |
| Design + Drawings + Specifications | Included in this document. |
| PROCUREMENT |  |
| Preferential procurement procedures | Method 1 – Price Preference |
| Sub-contracting | Sub-contracting will be to the contractor’s discretion. |
| CONSTRUCTION |  |
| Works specifications | - Applicable SANS 1200 standards Specification. - Attached Project Particular Specifications will also apply. |
| Plant and materials | - The Employer will not provide any plant or material. - The Contractor shall inform the Employer’s Agent in good time, to inspect and approve the plant and materials that will be used before construction commences or on arrival of material on site. |
| Construction equipment | - The Employer will not provide any equipment. - The Contractor shall provide all suitable construction equipment necessary to complete the project. |
| Existing services | Care should be taken by the contractor not to damage any existing services. The Employer’s Agent shall indicate, in the form of a drawing, the position of all existing infrastructure both above ground and below ground to the Contractor. Contractor to ensure that no excavation shall commence without consent of the Employer’s Agent. |
| Site establishment | - The Employer will not provide any facilities on site. - The Contractor shall establish fully as per the applicable standard specification. |
| Site usage | The Contractor shall not utilize the site for any other purpose than the construction of the agreed works. |
| Permits and way leaves | The Employer will furnish the contractor with all permits and way leaves that will be required to execute the works. |
| Survey control and setting out works | The Contractor will be responsible for the survey and setting out of all construction levels. After setting out the levels the Contractor will inform the Employer’s Agent to inspect the levels before any excavation work or construction work may commence. |
| MANAGEMENT |  |
| Management of works | - Applicable SANS 1200, SANS 10400 standards will apply. - Attached generic standards will apply. - Drawings and specifications will be provided by the Employer’s Agent and shall be the only acceptable drawings for the agreed works. - The Contractor shall submit an inspection request to the Employer’s Agent for the inspection of work done in writing and allow adequate time for travelling. - The Contractor will submit payment Interim payment certificates for payment, based on work done approved by the Employer’s gent, as per the exercise mentioned in point No.4 above. - The practical completion of the construction work implies that the work is complete enough for the beneficiaries to utilize the infrastructure, while the contractor is attending to snags. - At the practical completion stage, 50% will be released to the contractor, at the discretion of the Employer’s Agent. - The Contractor shall provide the Employer’s Agent with proof that Insurance has been obtained for the contract period. - The Contractor shall keep a site diary where they will document: - The weather condition of the day - Work carried for the day - Resources onsite for the day - Record any incidents taken place onsite - And any other relevant information. - Communications between the Employer and Contractor will be through the Employer’s Agent writing. - The Contractor shall be responsible for testing the works after completion to ensure compliance with the Employer’s requirements. - The Contractor shall attend to all defects, due to poor workmanship and inadequate material used, during the defects liability period. |
| Health and safety | - Attached Generic Occupational Health and Safety Specifications will apply. - Applicable SANS 1200, SANS 10400 and 10142 standards will apply. - Occupational Health and Safety Act (Act No. 85 of 1993) will apply. - The Contractor shall provide a comprehensive CV, for approval, of the person they contemplate appointing for the role of OH&S Officer to the Employer’s Agent. This person must also be trained in First Aid and must have a comprehensive First Aid Kit on site. - The Contractor shall be responsible to design and apply measures to prevent accidents or injury to any person or property during construction. |

C 3.2

Specifications

PARTICULAR / GENERIC SPECIFICATIONS

BID FOR THE REFURBISHMENT OF RIPPLEMEAD PACKHOUSE (PHASE 1)

SCOPE

# PS	SCOPE

THIS BID FOR BID FOR THE REFURBISHMENT OF RIPPLEMEAD PACKHOUSE (PHASE 1).

  - PS 1	DISCLAIMER

The information regarding subsurface conditions, materials on site and site information supplied, is provided in good faith for the contractor’s convenience as an indication of conditions likely to be encountered. No responsibility will be accepted for, and there is no guarantee of the information being representative of the whole area of the works or materials.

The information provided will not be regarded as in way limiting. The contractor will be held to have satisfied himself of all conditions to be encountered on site and to allow accordingly in his tendered rates.

  - PS 2	APPLICABLE STANDARD SPECIFICATION

The South African Bureau of Standards, Standard Specifications for Civil Engineering Construction (SABS 1200).

It shall however be noted that reference is made in certain of the specifications to other standardized specifications which may or may not be included in this document.  Where such specifications are not included, they shall however be deemed to be included in the Contract documents.

The Contractor shall have available for reference on site at all times a full set of the above specifications, together with any other to which they refer.  These specifications shall remain the property of the Contractor but shall be made available to the Employer’s Agent whenever required throughout the duration of the Contract.

The South African Bureau of Standards, Standard Specifications for Civil Engineering Construction (SABS 1200) shall apply to this Contract together with additional amendments as set out herein:

SABS 1200A: PRELIMINARIES AND GENRAL

- SCOPE

As per the specification.

- INTERPRETATIONS

As per the specification.

- Measurement and payment

PSA 8.5.3	Community Liaison Officer (CLO) remuneration………………………. Unit: Prov. Sum

a) Charge by Contractor on Item PSA 8.5.3………………………………… Unit: %

PSA 8.6		Prime Cost Sums

i) Testing of materials and workmanship…………………………………Unit: PC Sum

ii) Charge by contractor on item i) above…………………………………Unit: %

8.7	Dayworks

Add the following paragraph “The unit for dayworks for:

- Labour and plant will be hour (hr)

- For material will be Provisional sum (Prov. Sum).

- For extra on the material will be (%)”

PSA C2.1	Occupational Health and Safety

Add the following paragraph “Unit for the list under this item will be sum”.

SABS 1200MF: BASE

- Scope

As per the standard specification.

- Interpretation

As per the standard specification

- Measurement and payment

As per the standard specification

SABS 1200G: CONCRETE (STRUCTURAL)

- Scope

As per the standard specification.

- Interpretation

As per the standard specification

- Measurement and payment

As per the standard specification

SABS 1200H: STRUCTURAL STEELWORK

- Scope

As per the standard specification.

- Interpretation

As per the standard specification

- Measurement and payment

PSH 8.3.1.3 Cladding

Add the following paragraph “Unit for this item will be m2 and the specification to be followed will be as per the construction drawings”

PSH 8.3.1.4 Door

Add the following paragraph “Unit for this item will be No. and the specification to be followed will be as per the construction drawings”

SABS 1200HC: STRUCTURAL STEELWORK

- Scope

As per the standard specification.

- Interpretation

As per the standard specification

- Measurement and payment

PSHC 8.2.2	Miscellaneous details

Add the following paragraph “Unit for this item will be t and the specification to be followed will be as per the construction drawings”

PSHC 8.2.3	Demolishing ramp

Add the following paragraph “Unit for this item will be m3 and the specification to be followed will be as per the construction drawings”

SABS 1200A: PROVISIONAL SUMS

- Scope

As per the standard specification.

- Interpretation

As per the standard specification

- Measurement and payment

8.5	Sum Stated Provisionally by the Engineer

b) 1) For work to be executed by the Employer or nominated subcontractor.

Add the following paragraph “work to be executed by subcontractor as per their own specifications”.

PS 3	MANAGEMENT

PS 3.1	Management of the Works

PS 3.1.1	Applicable SANS Standards

The applicable standards are listed in clause PPS 2.

PS 3.1.2	Particular / Generic Specifications

Particular or generic specifications are included for all parts of the work.

PS 3.1.3	Planning and Programming

Within 14 days of the Commencement Date the Contractor must prepare and submit to the Employer’s Agent for approval a fully detailed programme showing:

•	the sequence and duration of all activities required to undertake the scheduled work.

•	the linkage between activities deemed to be on the critical path.

•	critical dates for receipt of information and drawings.

•	milestone date for Completion of different sections of the work.

Whenever the work deviates significantly from the proposed programme for whatever reason, the Contractor must, following a request from the Employer’s Agent, prepare a revised programme that shows how the work will be re-scheduled so as to achieve the original Completion Date.

PS 3.1.4	Sequence of the Works

The sequence of work must be carried out strictly in accordance with the approved programme as detailed above.

PS 3.1.5	Methods and Procedures

Prior to the commencement of any work on the Site the Contractor must submit method statements for each separate construction activity that he is required to undertake. The method statements must be submitted to the Employer’s Agent for approval at least 10 days prior to the scheduled start of the activity. The method statements must set out the technical procedures to be followed in carrying out the activity and must include details of compliance with both Occupational Health and Safety and Environmental aspects.

The Contractor must ensure that his staff and workers are properly trained in the safe and effective use of any equipment, plant or materials necessary to undertake the work.

PS 3.1.6	Quality Control

The Contractor must provide whatever samples of materials are required for approval prior to commencement, together with the applicable test results to prove compliance with the relevant specification. He must undertake all necessary tests that are stipulated in terms of the applicable specification to ensure that his workmanship meets the required standard.

PS 3.1.7	Environment

The Contractor must ensure that he is fully aware of the requirements of the CEMP and that he understands his responsibilities regarding both his management of the project and the actual construction activities on Site.

PS 3.1.8	Accommodation of Traffic

The Contractor is responsible for the safety of all vehicular and pedestrian traffic affected by his work and must provide all the necessary warning signs, barricading and lighting as necessary, to safe guard people and vehicles entering the premises.

PS 3.1.9	Other Contractors

The Contractor will have to accommodate the subcontractor that will be installing the machine.

PS 3.1.10	Testing, Completion, Commissioning

Each aspect of the work included in the Contract must be fully tested in accordance with the requirements of the relevant standard specification, as amended by the Specification Data as applicable, prior to completion of the works as a whole. All outstanding work must be completed, and substandard work must be corrected prior to completion taking place.

PS 3.1.11	Recording of weather

The Contractor is required to keep a detailed record of daily weather conditions on the Site.  The information must include rainfall, wind speed and direction, cloud cover and temperature. The format and extent of detail required must be agreed with the Employer’s Agent prior to commencement. (Refer to clause PS 3.1.17) below). A summary of inclement weather shall be recorded in the minutes of site meetings.

PS 3.1.12	Format of Communications

All communication of whatever nature is through the Employer’s Agent. Only under circumstances that relate to health and safety can the Contractor act on instructions issued by any other party. These instructions must then be immediately communicated to the Employer’s Agent with a request for confirmation of the instruction.

The Contractor is required to provide a suitable triplicate book which is used for communication between the Employer’s Agent or his representative and the Contractor.  The book may be used for the request for information and inspections, or merely to record aspects of contractual importance.

PS 3.1.13	Key Personnel

Within 14 days of the Commencement Date and prior to commencement of any operations on site, the Contractor shall submit to the Employer’s Agent detailed CV’s of his key personnel together with their relevant contact details.  Should the key personnel not be the same as those included in the tender submission, then the Contractor shall be required to provide personnel with equivalent or better qualifications and experience.

The Contractor keeps a competent Construction Manager to administer and control the works continuously in the Working Areas during the execution of the works. The Contractor informs the Employer’s Agent of the name of the Construction Manager, and any instruction given to the Construction Manager by the Employer’s Agent is deemed to be given to the Contractor.

PS 3.1.14	Management Meetings

The Contractor is required to attend a monthly site meeting during which all aspects relating to the progress, scope, expenditure, OHS, environmental and general administration of the Contract is discussed. The Contractor must ensure that his representative at the meeting has the necessary understanding and authority to make decisions regarding these issues.

In addition, technical meetings are held on monthly, during which time aspects of a more technical nature relating to the actual construction process and quality of the work are addressed.

PS 3.1.15	Forms for Contract administration

The Contractor will keep all records as stated below as well as the following:

•	EPWP forms to be submitted together with all Payment Certificates.

•	Report on progress and labour at site meetings.

•	Revised programme of works and cashflow.

PS 3.1.16	Payments

All payments to the Contractor are by means of direct electronic transfer and the Contractor must provide his banking details to the Employer’s Agent together with the initial payment claim.

PS 3.1.17	Daily Records

The Contractor is required to maintain a daily record of all construction activities taking place on Site which includes details of plant, personnel, and visitors as well as other events such as weather conditions or any circumstances that may have a bearing on the nature and progress of his operations.

The Contractor is required to provide a detailed report at each site meeting.  The report must be in a format to be agreed with the Employer’s Agent and contain the following:

•	Details of actual progress versus programme for each construction activity.

•	A daily record of rainfall and other weather events that could affect the work.

•	Details of any delays that have occurred due to weather or any other cause.

•	A record of resources (people, plant and equipment) present on Site.

•	Details of any accidents or lost time incidents that have occurred.

•	A list of information required.

PS 3.1.18	Payment Certificates

Payment Certificates shall be drawn up in an agreed format based on the bills of quantities and any variation orders authorised.  The date for submission of each payment claim shall be agreed with the Employer’s Agent.  The procedure for preparation of Payment Certificates shall be as follows:

•	The actual quantity for each item shall be agreed with the Employer’s Agent or his representative based on the cumulative total of the previous monthly quantity and the additional work carried out during the month.

•	The Contractor shall draw up and submit his claim using the agreed quantities.

•	The Employer’s Agent shall check the claim and confirm the amount to be paid.

•	The Contractor shall provide a VAT invoice to the Employer’s Agent for the agreed amount.

•	The Employer’s Agent shall prepare the payment certificate and submit the claim, accompanied by the VAT invoice.

PS 3.1.19	Proof of Compliance with the Law

The Contractor is required to comply with all regulations and laws of whatever nature which are applicable to his operations throughout the duration of the Contract, and produce documentary evidence when requested for all aspects, including, but not limited to:

•	Valid proof of registration with the Compensation Commissioner.

•	Proof of registration for income tax and VAT.

•	Compliance with the Occupational Health and Safety Act and Construction Regulations.

•	Security in accordance with clause 8.6 of GCC 2015 3rd edition.

PS 3.2	Health and Safety

The Contractor must comply with all relevant aspects of the Occupational Health and Safety Act together with the Regulations referred to therein, as applicable to the scope of his activities.

Particular attention must be paid to the issuing of the relevant Notices, appointment of responsible people, undertaking Hazard Identification and Risk Assessments, and preparation of a Health and Safety Plan. All necessary documentation must be prepared and submitted for comment and approval immediately after the Contract award.

Specific Health and Safety considerations applicable to this project are detailed in the Occupational Health and Safety Specification, attached to this document.

Method statements submitted for the Contractor’s construction activities include details of compliance with Occupational Health and Safety and must be submitted immediately after the Contract award and prior to commencement with any work on Site.

The Contractor must provide the necessary personal protective equipment and clothing to all staff as relevant for the type of work being carried out.

Whenever the Contractor’s staff are subjected to hazardous substances, excessive dust or noise, he must arrange for pre- and post-employment medical examinations on the affected employees.

No member of the Contractor’s staff is allowed on Site while under the influence of alcohol or drugs. Any member of his staff who exhibit signs of alcohol or drug usage must be immediately removed from the premises.

The Contractor is responsible for the protection of the public in the areas in which he is working and must provide barricades and lighting as necessary to ensure their safety. He is also responsible for the safe control of traffic wherever his works impact on the existing roadways.

BID FOR THE REFURBISHMENT OF RIPPLEMEAD PACKHOUSE (PHASE 1)

ENVIRONMENTAL MANAGEMENT PLAN

# PEM	ENVIRONMENTAL MANAGEMENT PLAN

  - PEM.1	PURPOSE

The purpose of the EMP is to encourage good management practices through planning and commitment with respect to environmental issues, and to provide rational and practical environmental guidelines to minimise disturbance of the natural environment.

  - PEM.2	RESPONSIBILITIES FOR ENVIRONMENTAL MANAGEMENT

The contractor will be responsible for environmental control on site during construction and the maintenance period.  The construction activities will be monitored by an independent environmental specialist and audited against the EMP.

  - PEM.3	TRAINING AND INDUCTION OF EMPLOYEES

The contractor has a responsibility to ensure that all those people involved in the project are aware of and familiar with the environmental requirements for the project (this includes sub-contractors, casual labour, etc.).

  - PEM.4	COMPLAINTS REGISTER AND ENVIRONMENTAL INCIDENT BOOK

Any complaints received by the project team from the community will be recorded. The complaint will be brought to the attention of the site manager.

All complaints received will be investigated and a response given to the complainant within 28 days.

All environmental incidents occurring on the site will also be recorded.

  - PEM.5	ENVIRONMENTAL SAFETY

The management of impacts associated with various categories of concern is discussed as separate topics, indicated below.

    - PEM.5.1 Air

- Speed limits must be implemented in all areas, including public roads and private property to limit the levels of dust pollution.

- Dust must be suppressed on access roads and construction sites during dry periods by the regular application of water or a biodegradable soil stabilisation agent.  Water used for this purpose must be used in quantities that must not result in the generation of run-off.

- The site-specific investigation will quantify the impact of dust on nearby wetlands, rivers and dams in terms of sedimentation.  Mitigation measures identified during the site-specific study must be implemented.

- The Contractor must notify the Principal of all schools within 50m of the site of proposed activities.  The Principal must in turn ensure that children with allergies and respiratory ailments take the necessary precautionary measures during the construction period.  The Contractor must ensure that construction activities do not disturb school activities e.g. dust clouds may reduce visibility affecting sports activities.

- Waste must be disposed of, as soon as possible at a municipal transfer station, skip or on a permitted landfill site.  Waste must not be allowed to stand on site to decay, resulting in malodours.

- Noise control measures must be implemented. All noise levels must be controlled at the source. All employees must be given the necessary ear protection gear. IAP’s must be informed of the excessive noise factors.

- The Contractor must inform all adjacent landowners of any after-hour construction activities and any other activity that could cause a nuisance e.g. the application of chemicals to the work surface. Normal working hours must be clearly indicated to adjacent landowners.

- No loud music is allowed on site and in construction camps.

- No fires are allowed if smoke from such fires will cause a nuisance to IAP's.

    - PEM.5.2 Social and Cultural

- Access by non-construction people onto any construction sites must be restricted. The Contractors activities and movement of staff must be restricted to designated construction areas only.

- The Contractors crew must be easily identifiable due to clothing, identification cards or other methods.

- Rapid migration of job seekers could lead to squatting and social conflict with resident communities and increase in social pathologies if not properly addressed. The Contractor must ensure that signs indicating the availability of jobs are installed.

- Criteria for selection and appointment (by the Contractor) of construction labour must be established to allow for preferential employment of local communities.  The Local Authority must be actively involved in the process of appointing temporary labourers.

- Sub-Contractors and their employees must comply with all the requirements of this document and supporting documents e.g. the Contract document that applies to the Contractor. Absence of specific reference to the sub-contractor in any specification does not imply that the sub-contractor is not bound by this document.

- No member of the construction workforce is allowed to wander around private property, except within the immediate surroundings of the site.

- The Contractor must provide suitable sanitation facilities for site staff.  Sanitation provided during the construction phase should be managed so that it does not cause environmental health problems.  The use of the surrounding fields or grounds for toilet purposes is not permitted under any circumstance.

- The Contractor must arrange for all his employees and those of his sub-contractors to be informed of the findings of the environmental report before the commencement of construction to ensure:

- A basic understanding of the key environmental features of the work site and environments, and

- Familiarity with the requirements of this document and the site-specific report.

- Supervisory staff of the Contractor or his sub-contractors must not direct any person to undertake any activities which would place such person in contravention of the specifications of this document endanger his/her life or cause him/her to damage the environment.

- The demand for construction materials and supplies will have an effect on the local economy. This impact can be optimised by sourcing and purchasing materials locally and regionally wherever possible, insofar as the material complies with the design specification.

- The Contractor must maintain a detailed complaints register. This must be forwarded, together with solutions, to the authorities when requested.

    - PEM.5.3 Infrastructure

- The relevant authorities must be notified of any interruptions of services, especially the District Municipality, Local Municipality, National Road Agency, Spoornet, TELKOM and ESKOM. In addition, care must be taken to avoid damaging major and minor pipelines and other services.

- The integrity of property fences must be maintained.

- No telephone lines must be dropped during the construction operations, except were prior agreement by relevant parties is obtained. All crossings must be protected, raised or relocated as necessary.

- All complaints and/or problems related to impacts on man-made facilities and activities must be promptly addressed by the Contractor and documented.

- Storage Facilities

- Proper storage facilities should be provided for the storage of oils, grease, fuels, chemicals and hazardous materials.

- The Contractor must ensure that accidental spillage does not pollute soil and water resources.

- Fuel stock reconciliation must be done on all underground tanks to ensure no loss of oil, which could pollute groundwater resources.

- Cement must be stored and mixed on an impermeable substratum.

- Traffic Control

All reasonable precautions must be taken during construction to avoid severely interrupting the traffic flow on existing roads, especially during peak periods.

Before any work can start the Local Traffic, Department must be consulted about measures to be taken regarding pedestrian and vehicular traffic control.

- Access Roads

The Contractor and the affected landowner must collaborate on the planning and construction of new access routes and the repair or upgrading of existing routes.

Access to the site must be controlled such that only vehicles and persons directly associated with the work gains access to the site.

Temporary access roads must not be opened until required and must be restored to its former state as soon as the road is no longer needed.

- Batching Plants

Concrete must be mixed only in an area demarcated for this purpose. All concrete spilled outside this area, must be promptly removed by the Contractor and taken to a permitted waste disposal site. After all concrete mixing has been completed, all waste concrete must be removed from the batching area and disposed of at an approved dumpsite. Storm water must not be allowed to flow through the batching area. Water laden with cement must be collected in a retention area for evaporation and not allowed to escape the batching area. Operators must wear suitable safety clothing.

- Chemical toilet facilities should be managed and serviced by a qualified company.  No disposal or leakage of sewerage should occur on or near the site.

- Blasting

Blasting must not endanger public or private property.

Noise mufflers and/or soft explosives must be used to minimize the impact on animals.

All the provisions of the Explosives Act, 26 of 1956 and the Minerals Act, 50 of 1991 must be complied with.

The Contractor must take measures to limit fly rock.

    - PEM.5.4 Safety

- Measures must be taken to prevent any interference that could result in flashover of power lines due to breaching of clearances or the collapse of power lines due to collisions by vehicles and equipment.

- Measures must be taken during thunderstorms to protect workers and equipment from lightning strikes.

- All tall structures must be properly earthed and protected against lightning strikes.

- The process of excavation and back filling must be carried out as a sequential process following one another as quickly as possible. Excavations must only remain open for a minimum period of time and during this time they must be clearly demarcated. If excavations place the public at risk these sites must be fenced.

- The residents directly affected by open trenches must be notified of the dangers. This will be done during the site-specific phase.

    - PEM.5.5 Waste

## PEM 5.5.1 Solid Waste

- Littering on site and the surrounding areas is prohibited.

- Clearly marked litterbins must be provided on site.  The Contractor must monitor the presence of litter on the work sites as well as the construction campsite.

- All bins must be cleaned of litter regularly.

- All waste removed from site must be disposed at a municipal/permitted waste disposal site.

- Excess concrete, building rubble or other material must be disposed of in areas designated specifically for this purpose and not indiscriminately over the construction site.

- The entire works area and all construction sites must be swept of all pieces of wire, metal, wood or other material foreign to the natural environment.

- Contaminated soil must be treated and disposed of at a permitted waste disposal site or be removed and the area rehabilitated immediately.

- Waste must be recycled wherever possible.

## PEM 5.5.2 Liquid Waste

- The Contractor must maintain mobile toilets on site.

- The Contractor must provide adequate and approved facilities for the storage and recycling of used oil and contaminated hydrocarbons.  Such facilities must be designed and sited with the intention of preventing pollution of the surrounding area and environment.

- All vehicles must be regularly serviced in designated area within the Contractors camp such that they do not drip oil.

- All chemical spills must be contained and cleaned up by the supplier or professional pollution control personnel.  Run-off from wash bays must be intercepted.

## PEM 5.5.3 Hazardous Waste

- No hazardous materials must be disposed of in the field or anyplace other than a registered landfill for hazardous material. Hazardous waste must be stored in containers with tight lids that must be sealed and must be disposed at an appropriately permitted hazardous waste disposal site. Such containers must not be used for purposes other than those originally designed for.

- The Contractor must maintain a hazardous material register.

## PEM.5.6 Rehabilitation and Site clearance

- When all major construction activities are completed, the site must be inspected to determine site-specific rehabilitation measures. This may be considered as unplanned work e.g. soil rehabilitation due to oil spills.

- All temporary buildings and foundations, equipment, lumber, refuse, surplus materials, waste, construction rubble fencing and other materials foreign to the area must be removed.

- If waste products cannot be recycled, they must be disposed of at a permitted landfill site.

- All drainage deficiencies including abandoned pit latrines and waste pits must be corrected.

- Cut and fill areas must be restored and re-shaped.

- The area must be restored to its natural vegetation condition using indigenous trees, shrubs and grasses as directed by a grassland and/or rehabilitation expert.

- Borrow pits must be re-shaped into even slopes and surfaces to blend with the natural terrain and topsoil must be replaced.

- The grass mix, shrubs and trees used for rehabilitation must be compatible with the species identified in the site-specific investigation.

- Areas compacted by vehicles during construction must be scarified to allow penetration of plant roots and the regrowth of natural vegetation.

  - PEM.6	MEASUREMENTS AND PAYMENT

No additional payment will be made to the Contractor to comply with the above actions as it will be deemed to be included in the rates tendered.

PART C4 – SITE INFORMATION

EASTERN CAPE GOVERNMENT

DEPARTMENT OF AGRICULTURE

BID FOR THE REFURBISHMENT OF RIPPLEMEAD PACKHOUSE (PHASE 1)

C4 Site Information

| ITEM | DESCRIPTION |
| --- | --- |
| Site Location | Ripplemead Citrus Packhouse, Peddie, Eastern Cape |
| GPS co ordinates | The general locality of the site is: 31⁰42′18.2696″S, 28⁰05′56.3046″E |
| General geography | Farmland |
| Road conditions | Rough gravel road |
| Site extent | 1ha |
| Site clearance required | No |
| Site soil properties | Unknown, contractor to inspect and verify the suitability |
| Site vegetation | Grass |
| Site fenced | Yes. |
| Site access | Community / Employees of DRDAR / Animals |
| Accommodation | Provide own |
| Labour | Negotiate local labour with the community |
| Storage of materials | Provide own |
| Security | Provide own |
| Construction difficulty | Medium difficulty |
| Plant required | - Water tanks - Scaffolding - 6 - 10m3 Tipper Trucks - TLB |
| Equipment / tools required for | Contractor to identify specific tools for various tasks |
| Transport required | For all materials For all plant, equipment and tools For contractor’s personnel |
| Testing of works | Concrete test cubes for testing of concrete strength; Laboratory testing of compacted area Employer’s Agent to oversee testing of the completed Works |
| Commissioning of works | Contractor to commission and test. |

the power, by one person or a group of persons holding the majority of the equity of an enterprise, alternatively, the person/s having the deciding vote or power to influence or to direct the course and decisions of the enterprise.

Joint venture or Consortium means an association of persons for the purpose of combining their expertise, property, capital, efforts, skill and knowledge in an activity for the execution of a contract.